## Annexure-A
INDIAN INSTITUTE OF TECHNOLOGY KANPUR
NIT No. 19/Civil/D2/2020-21/02
Name of Work:-Civil work for renovation of WL-108.
SCHEDULE OF QUANTITY
Item.No | Description of Items | Qty | Unit | Rate in Figures in Rupees | Amount
1 | REINFORCED CEMENT CONCRETE
1.1 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.3 | cum | 8560.98 | 19690
1.2 | Centering and shuttering including strutting, propping etc. and removal of form for
1.2.1 | Suspended floors, roofs, landings, balconies and access platform | 4.26 | sqm | 607.67 | 2589
1.2.2 | Shelves (Cast in situ) | 27 | sqm | 607.67 | 16407
1.2.3 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 1.18 | sqm | 484.04 | 571
1.2.4 | Columns, Pillars, Piers, Abutments, Posts and Struts | 4.66 | sqm | 643.31 | 2998
1.3 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
1.3.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 180 | kg | 73.21 | 13178
2 | MASONRY WORK
2.1 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
2.1.1 | Cement mortar 1:4 (1 cement :4 coarse sand) | 17.5 | sqm | 817.27 | 14302
3 | CLADDING WORK
3.1 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
3.1.1 | Granite of any colour and shade
3.1.1.1 | Area of slab over 0.50 sqm | 11.3 | sqm | 3513.94 | 39708
3.2 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 2 | each | 644.05 | 1288
3.3 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 18 | sqm | 903.37 | 16261
4 | WOOD AND PVC WORK
4.1 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).
4.1.1 | Second class teak wood | 0.1 | cum | 114145.59 | 11415
4.2 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:
4.2.1 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 2.1 | sqm | 1654.27 | 3474
4.3 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | 2.1 | sqm | 82.11 | 172
4.4 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 2 | each | 879.87 | 1760
4.5 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
4.5.1 | 300x16 mm | 1 | each | 225.47 | 225
4.6 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
4.6.1 | 250x10 mm | 2 | each | 90.79 | 182
4.7 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
4.7.1 | 125 mm | 4 | each | 52.3 | 209
4.8 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
4.8.1 | Twin rubber stopper | 2 | each | 54.4 | 109
4.9 | Providing and fixing plain lining with necessary screws/nuts & bolts/ nails, including a coat of approved primer on one face, and fixed on wooden /steel frame work, complete as per direction of Engineer-in- charge (Frame work shall be paid for separately).
4.9.1 | 12mm thick commercial ply conforming to IS : 1328 BWR type | 11.5 | sqm | 912.58 | 10495
5 | STEEL WORK
5.1 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer.
5.1.1 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | 22 | kg | 93.33 | 2053
6 | FINISHING
6.1 | 12 mm cement plaster of mix :
6.1.1 | 1:6 (1 cement: 6 coarse sand) | 20 | sqm | 231.08 | 4622
6.2 | 15 mm cement plaster on rough side of single or half brick wall of mix:
6.2.1 | 1:6 (1 cement: 6 coarse sand) | 22 | sqm | 266.46 | 5862
6.3 | 6 mm cement plaster of mix :
6.3.1 | 1:3 (1 cement : 3 fine sand) | 35 | sqm | 199.34 | 6977
6.4 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
6.4.1 | Two or more coats on new work | 300 | sqm | 76.41 | 22923
6.5 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
6.5.1 | Two or more coats on new work | 22.25 | sqm | 106.57 | 2371
6.6 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 300 | sqm | 100.96 | 30288
6.7 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 223.32 | sqm | 16 | 3573
7 | REPAIRS TO BUILDING
7.1 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty:
7.1.1 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | 3.48 | sqm | 780.79 | 2717
8 | DISMANTLING AND DEMOLISHING
8.1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
8.1.1 | In cement mortar | 0.25 | cum | 1288.82 | 322
8.2 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
8.2.1 | Of area 3 sq. metres and below | 1 | each | 240.68 | 241
8.3 | Dismantling wood work in frames, trusses, purlins and rafters up to 10 metres span and 5 metres height including stacking the material within 50 metres lead :
8.3.1 | Of sectional area below 40 square centimetres | 87.2 | metre | 11.74 | 1024
8.4 | Dismantling cement asbestos or other hard board ceiling or partition walls including stacking of serviceable materials and disposal of unserviceable materials within 50 metres lead. | 50 | sqm | 36.82 | 1841
8.5 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead :
8.5.1 | 100 mm dia pipe | 4.15 | metre | 48.79 | 202
8.6 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 7.5 | sqm | 34.19 | 256
8.7 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 3 | cum | 121.74 | 365
9 | SANITARY INSTALLATIONS
9.1 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings :
9.1.1 | Size 600x450x200 mm | 2 | each | 3052.95 | 6106
9.2 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
9.2.1 | Flexible pipe
9.2.1.1 | 32 mm dia | 2 | each | 88.64 | 177
10 | WATER SUPPLY
10.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
10.1.1 | 15 mm dia nominal bore | 5 | metre | 249.8 | 1249
10.1.2 | 20 mm dia nominal bore | 5 | metre | 301.7 | 1509
10.1.3 | 32 mm dia nominal bore | 2 | metre | 464.44 | 929
10.2 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
10.2.1 | 25 to 40 mm nominal bore | 1 | each | 590.48 | 590
10.3 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
10.3.1 | 20 mm nominal bore | 1 | each | 403.5 | 404
10.4 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
10.4.1 | 15 mm nominal bore | 2 | each | 484.3 | 969
10.5 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 12.9 | metre | 135.16 | 1744
11 | MINOR CIVIL MAINTENANCE WORK:
11.1 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | 56 | Sqm | 42.26 | 2367
11.2 | P/F Homogeneous polyvinyl cloride sheet 1.5 mm thick in flooring and skirting approved pattern on a smooth and damp proof base using rubber base adhesive of approved quility and manufacturer like Dunlop S758, Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer-in-charge in approved colour & shade. | 56 | Sqm | 459.5 | 25732
| Total Estimated cost without GST put to tender |  |  |  | 282446