## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SE IWD IIT KANPUR
Name of Work: Providing, Installation Testing and commissioning of online grid 200 Kw roof top Solar PV Plant on the terrace of New Core Lab Building at IIT, Kanpur.
Contract No: 30/SOLAR/2021/1313 Dated 31.03.2021
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | PART - A | A1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Solar PV Modules: Supply, installation,testing and Commissioning of Solar PV module (300-400Wp) monocrystalline or higher specifications with efficiency higher than 19.5% under standard test conditions. All modules provided with their flash sheets giving test reports of all the important parameters. Requisite certification of conversion efficiency after statistical sample testing by an MNRE approved/TUV/NISE certifying agency have to be provided by the lowest bidder.The PV modules will conform to IEC62109 Part 1 and 2 for testing, for safety qualification or equivalent.Warranty of solar PV modules for performance of 90% at 10 years, 80% at 25 years and 25 years for structures shall be covered under the contract. Junction boxes with appropriate bypass diodes for each panel and cable entry will be IP65 compatible,including AJB (Array Junction Box ) 3_In/1_out . The price also includes the cost towards lightning arrestors with associated earthing and necessary earthing of panels and inverters for 200 kW rating on the rooftop of the building, ACDB panels and associated cabling (supplying & laying) 4cx 16sqmm copper conductor cable upto ACDB panels from inverters and from solar pv module to inverter by 2c x 6sqmm size or as per the specification. (Note:- 1_ The system shall be capable to withstand the wind load of 170kmph. The wind speed analysis report have to be submitted by the bidder. 2_ The over all loading on the terrace have not to be increased by more than 100kg/m² due to solar installation) 3_ The lowest bidder shall submit the detailed design report for the solar panel civil foundation(STAND)/MSGI Structure for approval by IIT Kanpur THE DEFECT LIABILITY PERIOD SHALL BE of 3-YEARS. | A2 | 200 | KWp | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Grid Tie String Inverter: | A3 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.01 | Supply, installation, testing & commissioning of 20 kW, 415V , Three phase grid tie Inverter Dual MPPT (each with unit of 5 kW) of 20kW capacity, IP 65 (Power Conditioning Unit) with In-build dual MPPT, capable of operating in grid feeding mode and capable of creating islanded microgrid, depending on the availability of grid. Capable for monitoring of parameters such as solar PV power, ac power, mode of operation, PV voltage, current, grid voltage, current, frequency, power factor, etc. through Institute SCADA as per tender specifications. Capable of operating at 50 °C ambient & inverter efficiency of 98% or higher is required. THE DEFECT LIABILITY PERIOD SHALL BE of 3-YEARS. | A4 | 10 | No. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Structure for Solar Panel modules for installation on roof Design, Supply & installation of Module Mounting Structure (MMS) for 200 kWp with GI 250_grade (stands) and GI (cross arms) of 350_grade material with minimum height of 2100 mm. This will include the PCC foundation (M30 grade concrete)/ bolted GI structure on beam or columns of the buildings and GI framework for moounting the solar panels as per the detailed specifications. The bidder shall provide the STAAD report for mounting arrangement suitable to sustain 170 KMPH wind speed. THE DEFECT LIABILITY PEIOD SHALL BE 3-YEARS | A5 | 1 | Set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Three Phase LTCT meter with CTs Supply, installation, testing & commissioning of Energy meter (3P), of following specs…. • Type- 3 phase 4 wire LTCT operated smart energy meter • Accuracy class- 0.5s • Energy parameter- import & export energy (Bi-directional) • Operating voltage- 3x 240V single phase, +/- 10% • Operating current- 5A • Frequency- 50Hz, +/- 5% • Communication Protocol- DLMS compliance as per IS 15959, IS16444, IPv6 • Communication Options- Optical Port/ RS485/ RS232/ Ethernet/ Wi-Fi/ GSM, compatibility for SCADA and AMI integration • Internal battery- yes: for power fail mode display operation • Standards- As per IS 16444, IEC 62052-11, IEC 62053-22, 62053-24, 62052-31, IEC 60060-1 • Power consumption, accuracy limit, impulse voltage, construction requirements, resistance to heat & fire, climatic influence, electromagnetic compatibility (EMC)- As per above mentioned Standards • Security Policy- data access: as per DLMS/ COSEM server DEFECT LIABILITY PERIOD SHALL BE 3-YEARS. | A6 | 4 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | PART - B | A7 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | Supplying, laying,testing & commissioning of one no. XLPE/PVC inslated & PVC sheathed power cable (Heavy class) aluminium conductor, steel armoured of size 4x120 sqmm 1.1 KV grade in following manners as required. | A8 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.01 | ground | A9 | 5 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.02 | surface | A10 | 50 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.03 | pipe | A11 | 10 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.04 | open duct | A12 | 100 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.05 | Additional In ground | A13 | 5 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | A14 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.01 | 4 X 120 sq. mm (62mm) | A15 | 8 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8 | Pyranometer: SITC of Pyranometers (Operatig Temp:-40 to 80 deg Celsius) Spectral Response:0.31 to 2.8 microns,Sensitivity:7-14 microvolt/w/Sq.m Time response(95%):max 15sec Non linearity: ±0.5% Tilt Error: ±0.5% Input power:230VAC Non stability: Max ±0.8% | A16 | 1 | set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. | A17 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.01 | 100 mm width X 50 mm depth X 1.6 mm thickness | A18 | 200 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.02 | 150 mm width X 50 mm depth X 1.6 mm thickness | A19 | 250 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | A20 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.01 | 200 A, 25 KA,TPMCCB | A21 | 2 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Providing and fixing accessorie (i.e._rotary handle / incomming/outgoing spreader link-(set of 4)) for MCCB up to DPX 250 in existing cubicle panel board i/c drilling holes in cubicle panel, making connections, etc. as reqd. | A22 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.01 | Rotary handle (Direct type) | A23 | 1 | set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.02 | Rotary handle (Vary Depth) | A24 | 1 | set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.03 | Spreader link (set of 4 )DPX 250 | A25 | 2 | sets | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Supply & Laying of HDPE pipe of size 32 mm inner dia, 2mm thick I/c cartage, loading & unloading etc. as reqd. (ISI mark) | A26 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.01 | Laying direct in ground (Including excavation,sand cushioning,brick protection ,refilling trench and ramming in layer compleete as required.) | A27 | 10 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12.02 | Laying direct in pipe | A28 | 10 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
12.03 | Laying direct in open duct | A29 | 50 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12.04 | Laying on surface | A30 | 100 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Supply & Laying of HDPE pipe of size 50 mm inner dia, 2mm thick I/c cartage, loading & unloading etc. as reqd. (ISI mark) | A31 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.01 | Laying direct in ground (Including excavation,sand cushioning,brick protection ,refilling trench and ramming in layer compleete as required.) | A32 | 10 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13.02 | Laying direct in pipe | A33 | 10 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.03 | Laying direct in open duct | A34 | 50 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.04 | Laying on surface | A35 | 100 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information