## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Reduction in depth from 20 ft to 8 ft. in deep area, making the overflow system, replacement of the damaged MS ladder with SS ladder & the concrete starting block with ready available SS block and Fixing of SS railing arround the existing Swimming pool.
Contract No: 41/C/D3/2021-22
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CARRIAGE OF MATERIALS | [53 empty] | 1 | CARRIAGE OF MATERIALS
1.01 | By Mechanical Transport including loading,unloading and stacking | [53 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking
1.02 | Bricks Lead - 2 km |  | 445000 | 1000 Nos | 381.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Bricks Lead - 2 km | 445000 | 1000 Nos
2 | EARTH WORK | [53 empty] | 2 | EARTH WORK
2.01 | Earthwork in excavation by mechanical means (Hydrailic/manual) means in foudation trenches or drains | [53 empty] | 2.01 | Earthwork in excavation by mechanical means (Hydrailic/manual) means in foudation trenches or drains
2.02 | All kind of soil |  | 15 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.02 | All kind of soil | 15 | cum
2.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 2.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
2.04 | All kinds of soil | [53 empty] | 2.04 | All kinds of soil
2.05 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia |  | 65 | metre | 365.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.05 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 65 | metre
2.06 | Extra for excavating trenches for pipes, cables etc. in all kinds of soil for depth exceeding 1.5 m, but not exceeding 3 m. (Rate is over corresponding basic item for depth upto 1.5 metre). |  | 65 | metre | 111.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.06 | Extra for excavating trenches for pipes, cables etc. in all kinds of soil for depth exceeding 1.5 m, but not exceeding 3 m. (Rate is over corresponding basic item for depth upto 1.5 metre). | 65 | metre
2.07 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. |  | 200 | cum | 1894.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.07 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 200 | cum
3 | CONCRETE WORK | [53 empty] | 3 | CONCRETE WORK
3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 50 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 50 | cum
3.03 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). |  | 200 | cum | 5546.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.03 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | 200 | cum
3.04 | Extra providing and mixing water proofing material in cement concrete work |  | 320 | kg. | 50.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.04 | Extra providing and mixing water proofing material in cement concrete work | 320 | kg.
4 | REINFORCED CEMENT CONCRETE | [53 empty] | 4 | REINFORCED CEMENT CONCRETE
4.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | [53 empty] | 4.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement
4.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 10 | cum | 8930.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 10 | cum
4.03 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 4.03 | Centering and shuttering including strutting, propping etc. and removal of form for
4.04 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. |  | 100 | sqm | 587.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.04 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 100 | sqm
4.05 | Lintels, beams, plinth beams, girders, bressumers and cantilevers |  | 70 | sqm | 533.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.05 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | 70 | sqm
4.06 | Providing, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete in shelves, including setting in cement mortar 1:3 (1cement : 3 coarse sand), cost of required centering, shuttering and finishing with neat cement punning on exposed surfaces but , excluding the cost of reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 5 | cum | 16347.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.06 | Providing, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete in shelves, including setting in cement mortar 1:3 (1cement : 3 coarse sand), cost of required centering, shuttering and finishing with neat cement punning on exposed surfaces but , excluding the cost of reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 5 | cum
4.07 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | [53 empty] | 4.07 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
4.08 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 22000 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.08 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 22000 | kg
4.09 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | [53 empty] | 4.09 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.
4.1 | All works upto plinth level | [53 empty] | 4.1 | All works upto plinth level
4.11 | Concrete of M30 grade with minimum cement content of 350 kg/cum |  | 220 | cum | 7539.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.11 | Concrete of M30 grade with minimum cement content of 350 kg/cum | 220 | cum
4.12 | Add for using extra cement in the items of design mix over and above the specified cement content therein. |  | 200 | quintal | 603.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.12 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 200 | quintal
4.13 | Extra for R.C.C./ B.M.C/ R.M.C. work above floor V level for each four floors or part thereof. |  | 1 | cum | 346.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 4.13 | Extra for R.C.C./ B.M.C/ R.M.C. work above floor V level for each four floors or part thereof. | 1 | cum
5 | MASONRY WORK | [53 empty] | 5 | MASONRY WORK
5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 35 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 35 | cum
5.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | [53 empty] | 5.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in :
5.04 | cement mortar 1:4 (1 cement : 4 coarse sand) |  | 170 | sqm | 734.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5.04 | cement mortar 1:4 (1 cement : 4 coarse sand) | 170 | sqm
6 | STEEL WORK | [53 empty] | 6 | STEEL WORK
6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. |  | 50 | kg | 89.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 50 | kg
6.02 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). |  | 1000 | kg | 536.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.02 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 1000 | kg
6.03 | FLOORING | [53 empty] | 6.03 | FLOORING
6.04 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. |  | 10 | cum | 6978.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.04 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | 10 | cum
6.05 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. |  | 10 | sqm | 644.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.05 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 10 | sqm
6.06 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. |  | 10 | sqm | 555.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 6.06 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. | 10 | sqm
7 | FINISHING | [53 empty] | 7 | FINISHING
7.01 | 12 mm cement plaster of mix : | [53 empty] | 7.01 | 12 mm cement plaster of mix :
7.02 | 1:6 (1 cement: 6 coarse sand) |  | 10 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.02 | 1:6 (1 cement: 6 coarse sand) | 10 | sqm
7.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 7.03 | 15 mm cement plaster on rough side of single or half brick wall of mix:
7.04 | 1:6 (1 cement: 6 coarse sand) |  | 10 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.04 | 1:6 (1 cement: 6 coarse sand) | 10 | sqm
7.05 | Painting with synthetic enamel of approved brand and manufacturer of required colour to give an even shade | [53 empty] | 7.05 | Painting with synthetic enamel of approved brand and manufacturer of required colour to give an even shade
7.06 | One or more coat on old works |  | 50 | sqm. | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.06 | One or more coat on old works | 50 | sqm.
7.07 | Finishing walls with premium acrylic smooth exterior paint with silicon additives of required shapes | [53 empty] | 7.07 | Finishing walls with premium acrylic smooth exterior paint with silicon additives of required shapes
7.08 | Old works (tow or more coats applied @ 1.43 ltr /10 sqm.) |  | 100 | sqm. | 95.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 7.08 | Old works (tow or more coats applied @ 1.43 ltr /10 sqm.) | 100 | sqm.
8 | REPAIRS TO BUILDING | [53 empty] | 8 | REPAIRS TO BUILDING
8.01 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. |  | 50 | sqm | 249.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.01 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 50 | sqm
8.02 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. |  | 1000 | sqm | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8.02 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 1000 | sqm
9 | DISMANTLING AND DEMOLISHING | [53 empty] | 9 | DISMANTLING AND DEMOLISHING
9.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 9.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
9.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 95 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 95 | cum
9.03 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 30 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.03 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 30 | cum
9.04 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer-in-charge. |  | 5 | sqm | 830.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.04 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer-in-charge. | 5 | sqm
9.05 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | [53 empty] | 9.05 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
9.06 | For thickness of tiles 10 mm to 25 mm |  | 500 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.06 | For thickness of tiles 10 mm to 25 mm | 500 | sqm
9.07 | Dismantling precast concrete or stone slabs in walls, partition walls etc. including stacking within 50 metres lead : | [53 empty] | 9.07 | Dismantling precast concrete or stone slabs in walls, partition walls etc. including stacking within 50 metres lead :
9.08 | Thickness above 40 mm up to 75 mm |  | 50 | sqm | 313.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.08 | Thickness above 40 mm up to 75 mm | 50 | sqm
9.09 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 10 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 9.09 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 10 | cum
10 | WATER SUPPLY | [53 empty] | 10 | WATER SUPPLY
10.01 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 : | [53 empty] | 10.01 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 :
10.02 | 300 mm dia pipe |  | 1 | metre | 4758.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.02 | 300 mm dia pipe | 1 | metre
10.03 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead : | [53 empty] | 10.03 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead :
10.04 | 300 mm diameter pipe |  | 1 | each | 1079.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.04 | 300 mm diameter pipe | 1 | each
10.05 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. |  | 5 | each | 330.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10.05 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | 5 | each
11 | DRAINAGE | [53 empty] | 11 | DRAINAGE
11.01 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | [53 empty] | 11.01 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
11.02 | 250 mm dia. R.C.C. pipe |  | 30 | metre | 711.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.02 | 250 mm dia. R.C.C. pipe | 30 | metre
11.03 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (Zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 11.03 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (Zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :
11.04 | Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (heavy duty) 560 mm internal diameter, total weight of cover and frame to be not less than 208 kg (weight of cover 108 kg and weight of frame 100 kg) : | [53 empty] | 11.04 | Inside size 120x90 cm and 90 cm deep including C.I. cover with frame (heavy duty) 560 mm internal diameter, total weight of cover and frame to be not less than 208 kg (weight of cover 108 kg and weight of frame 100 kg) :
11.05 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 3 | each | 26477.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.05 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 3 | each
11.06 | Extra for depth for manholes : | [53 empty] | 11.06 | Extra for depth for manholes :
11.07 | Size 120x90 cm | [53 empty] | 11.07 | Size 120x90 cm
11.08 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 3 | metre | 8543.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.08 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 3 | metre
11.09 | Providing orange colour safety foot rest of minimum 6 mm thick plastic encapsulated as per IS : 10910, on 12 mm dia steel bar conforming to IS: 1786, having minimum cross section as 23 mmx25 mm and over all minimum length 263 mm and width as 165 mm with minimum 112 mm space between protruded legs having 2 mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufacture's permanent identification mark to be visible even after fixing, including fixing in manholes with 30x20x15 cm cement concrete block 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) complete as per design. |  | 16 | each | 427.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.09 | Providing orange colour safety foot rest of minimum 6 mm thick plastic encapsulated as per IS : 10910, on 12 mm dia steel bar conforming to IS: 1786, having minimum cross section as 23 mmx25 mm and over all minimum length 263 mm and width as 165 mm with minimum 112 mm space between protruded legs having 2 mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufacture's permanent identification mark to be visible even after fixing, including fixing in manholes with 30x20x15 cm cement concrete block 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) complete as per design. | 16 | each
11.1 | New Technologies and Materials | [53 empty] | 11.1 | New Technologies and Materials
11.11 | Providing mixing and applying bonding coat of approved adhesive on chipped portion on RCC as per specs and EIC | [53 empty] | 11.11 | Providing mixing and applying bonding coat of approved adhesive on chipped portion on RCC as per specs and EIC
11.12 | SBR polymer (@ 10 % of cement weight) |  | 10 | sqm. | 103.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.12 | SBR polymer (@ 10 % of cement weight) | 10 | sqm.
11.13 | Providing mixing and applying SBR polymer ( of approved make) modified cement in proportion of 1:4 with polymer min 2 % | [53 empty] | 11.13 | Providing mixing and applying SBR polymer ( of approved make) modified cement in proportion of 1:4 with polymer min 2 %
11.14 | 12 mm avg. thickeness |  | 10 | sqm. | 291.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11.14 | 12 mm avg. thickeness | 10 | sqm.
12 | MINOR CIVIL MAINTENANCE WORK: | [53 empty] | 12 | MINOR CIVIL MAINTENANCE WORK:
12.01 | "Providing and fixing C.P waste 50 mm nominal bore in precast slab |  | 150 | Each | 362.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.01 | "Providing and fixing C.P waste 50 mm nominal bore in precast slab | 150 | Each
12.02 | Providing & fixing Kota Stone Strips with CM 1:4 in CC Road i/c cutting the kota in strips. |  | 100 | Rm | 21.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.02 | Providing & fixing Kota Stone Strips with CM 1:4 in CC Road i/c cutting the kota in strips. | 100 | Rm
12.03 | Preparing holes & fixing Steel reinforcement in exiting RCC structure by drilling, cleaning & steel bar (any Dia of bar) fixing with Epoxy grouting etc. as Directed by Engineer-In-Cherge. |  | 2000 | Each | 15.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.03 | Preparing holes & fixing Steel reinforcement in exiting RCC structure by drilling, cleaning & steel bar (any Dia of bar) fixing with Epoxy grouting etc. as Directed by Engineer-In-Cherge. | 2000 | Each
12.04 | ADJUSTABLE STARTING BLOCK – 400 MM- Fibre moulded with Stainless steel 304 reinforcement with ADJUSTABLE KICK STARTER and top handle. ( fixing anchors - concealed model ) Franco make FINA Standard - Non corrosive – twin coloured- Non injurable - box type – fixing anchors concealed model- fibre moulded with stainless steel AISI304 reinforcement - Starting Block with Adjustable Kick Starter on three points ( 330/415/500 mm ) having heavy thick fibre glass - Polyster top with AISI 304 reinforcement- Non skid button provision with designed stainless steel AISI 304 back stroke arrangement handle with Track Nos displayed in needed colour on all sides , as per the following specification SPECIFICATION Non corrosive model at any condition Measurements : Top Platform Size : 600 x 700 x 40 mm ( with 500 x 500 mm non skid) Height : 400 mm on pool side. Bottom Base Size : 435 x 450 mm , moulded. Adjustable kick starter shape/size : Butterfly type In 35 degree triangular shape /560x180 x 240mm MATERIAL : Top & Bottom, Adjustable starter: Moulded Fibre Reinforced plastic with heavy stainless steel AISI 304 reinforcement.. Back stroke Handle : Stainless steel AISI 304, Top Handle : Stainless steel AISI 304, 500 mm , Special Shaped type with cross bar. Colour : White – Blue combined with LOGO Sticker. Finishing : With Epoxy colouring. Anchoring Fixers : ½” SS AISI304 x 4 Nos Chemical grouting : Fosroc’s fixing adhesive. Make : Franco Pools , Chennai MODEL : SBSSFGM400AdKS |  | 16 | No. | 34013.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.04 | ADJUSTABLE STARTING BLOCK – 400 MM- Fibre moulded with Stainless steel 304 reinforcement with ADJUSTABLE KICK STARTER and top handle. ( fixing anchors - concealed model ) Franco make FINA Standard - Non corrosive – twin coloured- Non injurable - box type – fixing anchors concealed model- fibre moulded with stainless steel AISI304 reinforcement - Starting Block with Adjustable Kick Starter on three points ( 330/415/500 mm ) having heavy thick fibre glass - Polyster top with AISI 304 reinforcement- Non skid button provision with designed stainless steel AISI 304 back stroke arrangement handle with Track Nos displayed in needed colour on all sides , as per the following specification SPECIFICATION Non corrosive model at any condition Measurements : Top Platform Size : 600 x 700 x 40 mm ( with 500 x 500 mm non skid) Height : 400 mm on pool side. Bottom Base Size : 435 x 450 mm , moulded. Adjustable kick starter shape/size : Butterfly type In 35 degree triangular shape /560x180 x 240mm MATERIAL : Top & Bottom, Adjustable starter: Moulded Fibre Reinforced plastic with heavy stainless steel AISI 304 reinforcement.. Back stroke Handle : Stainless steel AISI 304, Top Handle : Stainless steel AISI 304, 500 mm , Special Shaped type with cross bar. Colour : White – Blue combined with LOGO Sticker. Finishing : With Epoxy colouring. Anchoring Fixers : ½” SS AISI304 x 4 Nos Chemical grouting : Fosroc’s fixing adhesive. Make : Franco Pools , Chennai MODEL : SBSSFGM400AdKS | 16 | No.
12.05 | Pool over flow grating Manufacture and supply - Fully fibre moulded- Non slippery – Non corrosive - Anti skid - Strong – Heavy – Stainless steel rod reinforcement - double side finish - Blue colour, - over flow gutter gratings for swimming pool SPECIFICATION Size : 300 (W) x 500 (L) x 25 mm Thk in one piece. TYPE : SINGLE PIECE, NON SKID, Top side finishing with non skid button provision. - Reinforced with Stainless steel 304 rod on inside, duly filled and finished with fibre based isothalic resin paste for placement on gutter trench.., Double side finish Colour : Blue Weight : 4.8 Kgs Make : Franco Pools , Chennai |  | 105 | Mtr. | 6143.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.05 | Pool over flow grating Manufacture and supply - Fully fibre moulded- Non slippery – Non corrosive - Anti skid - Strong – Heavy – Stainless steel rod reinforcement - double side finish - Blue colour, - over flow gutter gratings for swimming pool SPECIFICATION Size : 300 (W) x 500 (L) x 25 mm Thk in one piece. TYPE : SINGLE PIECE, NON SKID, Top side finishing with non skid button provision. - Reinforced with Stainless steel 304 rod on inside, duly filled and finished with fibre based isothalic resin paste for placement on gutter trench.., Double side finish Colour : Blue Weight : 4.8 Kgs Make : Franco Pools , Chennai | 105 | Mtr.
12.06 | SS LADDER FOR SWIMMING POOL. Stainless steel ladder of SS-304 Grade in 48 mm Dia x 3 mm thickness piping with 600 mm length – orange coloured= fibre moulded steps. Franco make, removable type, designed Stainless steel pool ladder with SS304 hand grip piping of 48mm x 3 mm thk, having 600 mm length x150 mm width x 70 mm thick – Anti skid-Button model – Non sharp edged, concealed box type – Strong in 3.5 Kgs Weight , quality - Fibre moulded ladder steps in orange colour and ½” stainless steel 304 stud on through out with Dhoom nuts on both the ends. 2 Nos each - Fibre moulded foundation anchor cup with cover for top grouting and wall resting rubber bushes on bottom. - complete. Ladder having 3 steps |  | 4 | No. | 26724.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 12.06 | SS LADDER FOR SWIMMING POOL. Stainless steel ladder of SS-304 Grade in 48 mm Dia x 3 mm thickness piping with 600 mm length – orange coloured= fibre moulded steps. Franco make, removable type, designed Stainless steel pool ladder with SS304 hand grip piping of 48mm x 3 mm thk, having 600 mm length x150 mm width x 70 mm thick – Anti skid-Button model – Non sharp edged, concealed box type – Strong in 3.5 Kgs Weight , quality - Fibre moulded ladder steps in orange colour and ½” stainless steel 304 stud on through out with Dhoom nuts on both the ends. 2 Nos each - Fibre moulded foundation anchor cup with cover for top grouting and wall resting rubber bushes on bottom. - complete. Ladder having 3 steps | 4 | No.
13 | SS LADDER FOR SWIMMING POOL. Stainless steel ladder of SS-304 Grade in 48 mm Dia x 3 mm thickness piping with 600 mm length – orange coloured= fibre moulded steps. Franco make, removable type, designed Stainless steel pool ladder with SS304 hand grip piping of 48mm x 3 mm thk, having 600 mm length x150 mm width x 70 mm thick – Anti skid-Button model – Non sharp edged, concealed box type – Strong in 3.5 Kgs Weight , quality - Fibre moulded ladder steps in orange colour and ½” stainless steel 304 stud on through out with Dhoom nuts on both the ends. 2 Nos each - Fibre moulded foundation anchor cup with cover for top grouting and wall resting rubber bushes on bottom. - complete. Ladder having 4 steps |  | 4 | No. | 32191.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13 | SS LADDER FOR SWIMMING POOL. Stainless steel ladder of SS-304 Grade in 48 mm Dia x 3 mm thickness piping with 600 mm length – orange coloured= fibre moulded steps. Franco make, removable type, designed Stainless steel pool ladder with SS304 hand grip piping of 48mm x 3 mm thk, having 600 mm length x150 mm width x 70 mm thick – Anti skid-Button model – Non sharp edged, concealed box type – Strong in 3.5 Kgs Weight , quality - Fibre moulded ladder steps in orange colour and ½” stainless steel 304 stud on through out with Dhoom nuts on both the ends. 2 Nos each - Fibre moulded foundation anchor cup with cover for top grouting and wall resting rubber bushes on bottom. - complete. Ladder having 4 steps | 4 | No.
13.01 | Providing and fixing DN315mm PN6 PE100 SDR21 HDPE pipes confirming to IS:4984:2016 (ISI) wall thickness (15-16.6mm) inclusive of pipe jointing as per IS code. |  | 100 | Mtr | 2767.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.01 | Providing and fixing DN315mm PN6 PE100 SDR21 HDPE pipes confirming to IS:4984:2016 (ISI) wall thickness (15-16.6mm) inclusive of pipe jointing as per IS code. | 100 | Mtr
13.02 | Core Cutting the hole of 320mm dia in RCC walls inclusive of Finishing the hole area and making the holes leak proof |  | 2 | No. | 3873.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.02 | Core Cutting the hole of 320mm dia in RCC walls inclusive of Finishing the hole area and making the holes leak proof | 2 | No.
13.03 | Providing and laying machine mixed brick concrete in 1:5:10 (1 cement :5 Fine Sand : 10 brick aggregate 40 mm and down size) for specified thickness, in deep area, including breaking in required sizes, centering and shuttering if required , laying spreading , ramming, consolidating (thickness of each layer must not exceed 200 mm ) as per requirement and curing etc. complete as directed by Engineer-in-Charge. |  | 1000 | cum | 3275.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.03 | Providing and laying machine mixed brick concrete in 1:5:10 (1 cement :5 Fine Sand : 10 brick aggregate 40 mm and down size) for specified thickness, in deep area, including breaking in required sizes, centering and shuttering if required , laying spreading , ramming, consolidating (thickness of each layer must not exceed 200 mm ) as per requirement and curing etc. complete as directed by Engineer-in-Charge. | 1000 | cum
13.04 | Providing and laying machine mixed brick concrete with available bricks in 1:5:10 (1 cement :5 Fine Sand : 10 brick aggregate 40 mm and down size) for specified thickness, in deep area, including breaking in required sizes, centering and shuttering if required , laying spreading , ramming, consolidating (thickness of each layer must not exceed 200 mm ) as per requirement and curing etc. complete as directed by Engineer-in-Charge. |  | 800 | cum | 2536.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.04 | Providing and laying machine mixed brick concrete with available bricks in 1:5:10 (1 cement :5 Fine Sand : 10 brick aggregate 40 mm and down size) for specified thickness, in deep area, including breaking in required sizes, centering and shuttering if required , laying spreading , ramming, consolidating (thickness of each layer must not exceed 200 mm ) as per requirement and curing etc. complete as directed by Engineer-in-Charge. | 800 | cum
13.05 | Providing and laying 247mmX122mmx8mm swimming pool tiles confirming to IS1360 & ISO 10545 of Johnson Endura or equivalent with same specifications with with cement based high polymer modified quick-set tile adhesive (Water based) of johnson endura conforming to IS: 15477, in average 3mm thickness and grouting/jonting with epoxy of endura epoxy grout or euivalant. |  | 1650 | Sqm. | 1492 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.05 | Providing and laying 247mmX122mmx8mm swimming pool tiles confirming to IS1360 & ISO 10545 of Johnson Endura or equivalent with same specifications with with cement based high polymer modified quick-set tile adhesive (Water based) of johnson endura conforming to IS: 15477, in average 3mm thickness and grouting/jonting with epoxy of endura epoxy grout or euivalant. | 1650 | Sqm.
13.06 | Providing and laying 300X300X10mm antiskid swimming pool tiles of Johnson Endura or equivalent with same specifications with adhesive of Johnson endura (Water based) conforming to IS: 15477, in average 3 mm thickness and grouting/jonting with epoxy of endura epoxy grout. |  | 200 | Sqm. | 1361.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 13.06 | Providing and laying 300X300X10mm antiskid swimming pool tiles of Johnson Endura or equivalent with same specifications with adhesive of Johnson endura (Water based) conforming to IS: 15477, in average 3 mm thickness and grouting/jonting with epoxy of endura epoxy grout. | 200 | Sqm.
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information