## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Dean of Infrastructure and Planning, IIT Kanpur
Name of Work: Various External and internal electrical works In various zones of campus. SH: Supply and laying of HT/LT cable, cable repair and rerouting works , replacment of Obsolate LT Panel,Providing electrical points with all allied works in the passage way of C-block ground-floor PG lab Pre-Fab building, providing power points at CESE 229 and other associated works in IIT Kanpur
NIT No: Electrical/09/05/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.1 | [52 empty] | 1.01 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 3 x 6 Sq.mm.. | item no.2 | 300 | Mtr. | 314.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | 3 x 6 Sq.mm.. | item no.2 | 300 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required | item no.3 | [52 empty] | 1.03 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required | item no.3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 125 Amp, 36KA FPMCCB | item no.4 | 2 | Nos. | 8493.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.04 | 125 Amp, 36KA FPMCCB | item no.4 | 2 | Nos.
1.05 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item no.5 | [52 empty] | 1.05 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item no.5
1.06 | 12-way , Double door | item no.6 | 12 | Nos. | 2395.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.06 | 12-way , Double door | item no.6 | 12 | Nos.
1.07 | Supplying and fixing following rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item no.7 | [52 empty] | 1.07 | Supplying and fixing following rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item no.7
1.08 | Single Pole (5 amps to 32 amps) | item no.8 | 144 | Nos. | 264.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.08 | Single Pole (5 amps to 32 amps) | item no.8 | 144 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | Single Pole (40 amps to 63 amps) | item no.9 | 12 | Nos. | 768.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.09 | Single Pole (40 amps to 63 amps) | item no.9 | 12 | Nos.
1.1 | Supplying and fixing single pole blanking plates in existing MCB DB complete etc. as required. | item no.10 | 6 | Nos. | 13.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | Supplying and fixing single pole blanking plates in existing MCB DB complete etc. as required. | item no.10 | 6 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.11 | Supplying and fixing following rating double pole (single phase & neutral) 240 volts RCCB (ELCB), having sensivity current up to 300 mA in the existing MCB DB complete with connection,testing & commissioning etc as reqd. | item no.11 | [52 empty] | 1.11 | Supplying and fixing following rating double pole (single phase & neutral) 240 volts RCCB (ELCB), having sensivity current up to 300 mA in the existing MCB DB complete with connection,testing & commissioning etc as reqd. | item no.11 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.12 | 40 Amp | item no.12 | 12 | Nos. | 2733.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.12 | 40 Amp | item no.12 | 12 | Nos.
1.13 | Providing & fixing 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item no.13 | 75 | Mtr. | 72.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.13 | Providing & fixing 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item no.13 | 75 | Mtr. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.14 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item no.14 | [52 empty] | 1.14 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item no.14
1.15 | 3½x 70 sq.mm. | item no.15 | 2 | Nos. | 484.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.15 | 3½x 70 sq.mm. | item no.15 | 2 | Nos.
1.16 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.16 | [52 empty] | 1.16 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.16
1.17 | 80 mm | item no.17 | 118 | Mtr. | 950.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.17 | 80 mm | item no.17 | 118 | Mtr.
1.18 | Supplying and Laying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3½x70 sq.mm. in following manners. | item no.18 | [52 empty] | 1.18 | Supplying and Laying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3½x70 sq.mm. in following manners. | item no.18
1.19 | In Ground including excavation, sand cushioning brick protecting covering and refilling the trench etc. as reqd. | item no.19 | 35 | Mtr. | 889.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.19 | In Ground including excavation, sand cushioning brick protecting covering and refilling the trench etc. as reqd. | item no.19 | 35 | Mtr.
1.2 | In open duct | item no.20 | 5 | Mtr. | 503.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.2 | In open duct | item no.20 | 5 | Mtr.
1.21 | On surface with MS clamp | item no.21 | 35 | Mtr. | 592.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.21 | On surface with MS clamp | item no.21 | 35 | Mtr.
1.22 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item no.22 | [52 empty] | 1.22 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item no.22
1.23 | 25 x 16 mm | item no.23 | 80 | Mtr. | 96.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.23 | 25 x 16 mm | item no.23 | 80 | Mtr.
1.24 | S & F following size of steel flexible pipe alongwith the accessories on surface etc as required. | item no.24 | [52 empty] | 1.24 | S & F following size of steel flexible pipe alongwith the accessories on surface etc as required. | item no.24
1.25 | 32 mm | item no.25 | 10 | Mtr. | 118.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.25 | 32 mm | item no.25 | 10 | Mtr.
1.26 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN distribution board IP 43 with metal door with provision 4pole MCCB upto 160A as incomer with three phase and single phase (TP/SP) outgoings, completed with insulated busbar arrangement as required . | item no.26 | [52 empty] | 1.26 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN distribution board IP 43 with metal door with provision 4pole MCCB upto 160A as incomer with three phase and single phase (TP/SP) outgoings, completed with insulated busbar arrangement as required . | item no.26
1.27 | 6 way (160A Tmax XT1+18), Double door | item no.27 | 1 | Nos. | 17096.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.27 | 6 way (160A Tmax XT1+18), Double door | item no.27 | 1 | Nos.
1.28 | Supplying, fixing, connecting, testing & commissioning following 50 hz, digital LCD type electronic kWH electronic meter i/c sealing the same (sealing material will be supplied by the dept.) Gurantee car having serial no. of the meter to be submitted in the dept. etc. as reqd. | item no.28 | [52 empty] | 1.28 | Supplying, fixing, connecting, testing & commissioning following 50 hz, digital LCD type electronic kWH electronic meter i/c sealing the same (sealing material will be supplied by the dept.) Gurantee car having serial no. of the meter to be submitted in the dept. etc. as reqd. | item no.28
1.29 | 10-60A, single phase, 230 V | item no.29 | 5 | Nos. | 2363.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.29 | 10-60A, single phase, 230 V | item no.29 | 5 | Nos.
1.3 | Fabricating, supplying & fixing of box of required size made out of 2mm thick CRCA sheet duly powder coated & openable FRLSom top - bottom or FRLSont as required & fixing the same complete as required. | item no.30 | 30 | Kg | 284.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.3 | Fabricating, supplying & fixing of box of required size made out of 2mm thick CRCA sheet duly powder coated & openable FRLSom top - bottom or FRLSont as required & fixing the same complete as required. | item no.30 | 30 | Kg
1.31 | S/F grouting in recess/surface MS box made of 16 gauge sheet for fixing of 3ph/1 ph energy meter almirah type hinged door cover front openable locking arrangement 5"x5" glass window and MS grill for meter reading purpose, suitable size of bakelite sheet 6mm thick shall also be provided in the MS box for fixing of energy meter i/c earthing stud & painting etc. as reqd. | item no.31 | 12 | Nos. | 2027.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.31 | S/F grouting in recess/surface MS box made of 16 gauge sheet for fixing of 3ph/1 ph energy meter almirah type hinged door cover front openable locking arrangement 5"x5" glass window and MS grill for meter reading purpose, suitable size of bakelite sheet 6mm thick shall also be provided in the MS box for fixing of energy meter i/c earthing stud & painting etc. as reqd. | item no.31 | 12 | Nos.
1.32 | S & F bakelite sheet 6 mm thick complete with required nuts & bolts as reqd. | item no.32 | 2500 | sq.cm. | 1.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.32 | S & F bakelite sheet 6 mm thick complete with required nuts & bolts as reqd. | item no.32 | 2500 | sq.cm.
1.33 | Dismantling conciled & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the store repairing the damages as reqd complete. | item no.33 | 13 | Nos. | 236.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.33 | Dismantling conciled & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the store repairing the damages as reqd complete. | item no.33 | 13 | Nos.
1.34 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.34 | [52 empty] | 1.34 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.34
1.35 | Upto 120sq.mm | item no.35 | 750 | Mtr. | 543.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.35 | Upto 120sq.mm | item no.35 | 750 | Mtr.
1.36 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item no.36 | [52 empty] | 1.36 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item no.36
1.37 | Upto 120sq.mm | item no.37 | 100 | Mtr. | 79.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.37 | Upto 120sq.mm | item no.37 | 100 | Mtr.
1.38 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing masonry open duct as required. | item no.38 | [52 empty] | 1.38 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11 KV grade of following size in the existing masonry open duct as required. | item no.38
1.39 | Upto 120sq.mm | item no.39 | 100 | Mtr. | 65.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.39 | Upto 120sq.mm | item no.39 | 100 | Mtr.
1.4 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.40 | 20 | Each | 525.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.4 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.40 | 20 | Each
1.41 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.41 | [52 empty] | 1.41 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.41
1.42 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.42 | 1 | Cum | 6901.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.42 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.42 | 1 | Cum
1.43 | Brick work with common burnt clay bricks of class designation 7.5 in mud mortar | item no.43 | 2 | Cum | 5897.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.43 | Brick work with common burnt clay bricks of class designation 7.5 in mud mortar | item no.43 | 2 | Cum
1.44 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item no.44 | 10 | Sqm | 351.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.44 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item no.44 | 10 | Sqm
1.45 | Supplying and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required | item no.45 | [52 empty] | 1.45 | Supplying and making straight through cable jointing with heat shrinkable jointing kit complete with all accessories including ferrules suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required | item no.45
1.46 | 95sqmm to 185 sq. mm | item no.46 | 3 | Each | 39401.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.46 | 95sqmm to 185 sq. mm | item no.46 | 3 | Each
1.47 | supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : | item no.47 | [52 empty] | 1.47 | supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 KV grade as required : | item no.47
1.48 | 95sqmm to 120 sq. mm | item no.48 | 2 | Each | 15486.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.48 | 95sqmm to 120 sq. mm | item no.48 | 2 | Each
1.49 | Supply of one no. XLPE cable aluminium conductor steel armoured cable of size 3 x 95sqmm, grade , 11kV(E) grade as required | item no.49 | 950 | Mtr. | 1051.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.49 | Supply of one no. XLPE cable aluminium conductor steel armoured cable of size 3 x 95sqmm, grade , 11kV(E) grade as required | item no.49 | 950 | Mtr.
1.5 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching(75 cm deep)and re-filling etc as required | item no.50 | [52 empty] | 1.5 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching(75 cm deep)and re-filling etc as required | item no.50
1.51 | 100 mm dia | item no.51 | 40 | Mtr. | 1868.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.51 | 100 mm dia | item no.51 | 40 | Mtr.
1.52 | Supplying and laying of one No. PVC insulated/PVC sheathed 6.6 KV(UE) 11kV(E) grade XLPE HT power cables size 3x185sqmm (heavy duty) aluminium conductor, steel armoured cable as per , IS:7098 (Part-II/2011) as reqd. | item no.52 | [52 empty] | 1.52 | Supplying and laying of one No. PVC insulated/PVC sheathed 6.6 KV(UE) 11kV(E) grade XLPE HT power cables size 3x185sqmm (heavy duty) aluminium conductor, steel armoured cable as per , IS:7098 (Part-II/2011) as reqd. | item no.52
1.53 | in girect ground | item no.53 | 50 | Mtr. | 2251.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.53 | in girect ground | item no.53 | 50 | Mtr.
1.54 | in pipe | item no.54 | 10 | Mtr. | 1794.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.54 | in pipe | item no.54 | 10 | Mtr.
1.55 | Digging cable trench, lifting brick and cable for locating fault and relaying the cable I/c refilling the trench for extra sand if required shall be including in the item of size 120 sq.mm upto 185 sq.mm. as reqd. | item no.55 | 10 | Mtr. | 278.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.55 | Digging cable trench, lifting brick and cable for locating fault and relaying the cable I/c refilling the trench for extra sand if required shall be including in the item of size 120 sq.mm upto 185 sq.mm. as reqd. | item no.55 | 10 | Mtr.
1.56 | Locating fault of by using fault locating machine for 11KV cable ( HT cable ) in the cable lines meggaring etc and rectifying removing & restoring the same and making good the damages 11KV cable etc as directed by the Engineer Incharge. | item no.56 | 2 | Nos. | 15845.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.56 | Locating fault of by using fault locating machine for 11KV cable ( HT cable ) in the cable lines meggaring etc and rectifying removing & restoring the same and making good the damages 11KV cable etc as directed by the Engineer Incharge. | item no.56 | 2 | Nos.
1.57 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item no.57 | [52 empty] | 1.57 | Supplying and making indoor end termination with brass compression gland, aluminum lugs for following size of PVC insulated & PVC sheathed/XLPE aluminum cable of 1.1kV grade as reqd. | item no.57
1.58 | 3½x 185 sq.mm. (57 mm.) | item no.58 | 2 | Nos. | 905.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.58 | 3½x 185 sq.mm. (57 mm.) | item no.58 | 2 | Nos.
1.59 | Supplying and Laying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3½x185 sq.mm. in following manners. | item no.59 | [52 empty] | 1.59 | Supplying and Laying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of size 3½x185 sq.mm. in following manners. | item no.59
1.6 | In Ground including excavation, sand cushioning brick protecting covering and refilling the trench etc. as reqd. | item no.60 | 330 | Mtr. | 1548.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.6 | In Ground including excavation, sand cushioning brick protecting covering and refilling the trench etc. as reqd. | item no.60 | 330 | Mtr.
1.61 | In pipe | item no.61 | 15 | Mtr. | 1226.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.61 | In pipe | item no.61 | 15 | Mtr.
1.62 | In open duct | item no.62 | 10 | Mtr. | 1212.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.62 | In open duct | item no.62 | 10 | Mtr.
1.63 | On surface with MS clamp | item no.63 | 10 | Mtr. | 1288.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.63 | On surface with MS clamp | item no.63 | 10 | Mtr.
1.64 | Supply and laying of one no. PVC insulated and PVC sheathed XLPE copper conductor round wire armoured controle cable of size 4 X 10 sq. mm 1.1 kV in following manners. | item no.64 | [52 empty] | 1.64 | Supply and laying of one no. PVC insulated and PVC sheathed XLPE copper conductor round wire armoured controle cable of size 4 X 10 sq. mm 1.1 kV in following manners. | item no.64
1.65 | In open duct | item no.65 | 10 | Mtr. | 600.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.65 | In open duct | item no.65 | 10 | Mtr.
1.66 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.66 | [52 empty] | 1.66 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.66
1.67 | Mini- trunking | item no.67 | 10 | Mtr. | 258.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.67 | Mini- trunking | item no.67 | 10 | Mtr.
1.68 | End cap left or right | item no.68 | 2 | Nos. | 169.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.68 | End cap left or right | item no.68 | 2 | Nos.
1.69 | Internal/ external angle | item no.69 | 1 | Nos. | 163.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.69 | Internal/ external angle | item no.69 | 1 | Nos.
1.7 | Flat angle | item no.70 | 1 | Nos. | 138.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.7 | Flat angle | item no.70 | 1 | Nos.
1.71 | Flat junction | item no.71 | 1 | Nos. | 161.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.71 | Flat junction | item no.71 | 1 | Nos.
1.72 | Supplying &Fixing metal enclosure suitable for XT1 TP/FP MCCB 63 to 250ER as reqd. | item no.72 | 1 | Nos. | 2801.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.72 | Supplying &Fixing metal enclosure suitable for XT1 TP/FP MCCB 63 to 250ER as reqd. | item no.72 | 1 | Nos.
1.73 | Supplying of one no. XLPE sheathed aluminum conductor steel armoured power cable of size 3½ X 400 sq.mm. 1.1kV grade as required. | item no.73 | 60 | Mtr. | 1907.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.73 | Supplying of one no. XLPE sheathed aluminum conductor steel armoured power cable of size 3½ X 400 sq.mm. 1.1kV grade as required. | item no.73 | 60 | Mtr.
1.74 | Laying of one no. PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.74 | [52 empty] | 1.74 | Laying of one no. PVC insulated and PVC sheathed /XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.74
1.75 | Above 185 sq.mm and upto 400 sq.mm | item no.75 | 55 | Mtr. | 490.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.75 | Above 185 sq.mm and upto 400 sq.mm | item no.75 | 55 | Mtr.
1.76 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as reqd. | item no.76 | [52 empty] | 1.76 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as reqd. | item no.76
1.77 | Above 185 sq.mm and upto 400 sq.mm | item no.77 | 245 | Mtr. | 368.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.77 | Above 185 sq.mm and upto 400 sq.mm | item no.77 | 245 | Mtr.
1.78 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC / HUME / METAL pipe as reqd. | item no.78 | [52 empty] | 1.78 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC / HUME / METAL pipe as reqd. | item no.78
1.79 | Above 185 sq.mm and upto 400 sq.mm | item no.79 | 30 | Mtr. | 138.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.79 | Above 185 sq.mm and upto 400 sq.mm | item no.79 | 30 | Mtr.
1.8 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.80 | [52 empty] | 1.8 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.80
1.81 | 3½ X 400 sq. mm | item no.81 | 12 | Nos. | 8241.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.81 | 3½ X 400 sq. mm | item no.81 | 12 | Nos.
1.82 | Digging trench for taking out cable upto 400 Sq.mm. and refilling , watering ,ramming the same after taking out cable as reqd complete. | item no.82 | 95 | Mtr. | 190.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.82 | Digging trench for taking out cable upto 400 Sq.mm. and refilling , watering ,ramming the same after taking out cable as reqd complete. | item no.82 | 95 | Mtr.
1.83 | Lifting removing cable of above 185 upto 400 Sq.mm. size from trench/clamps, making roll & depositing the same in store I/c cartage. | item no.83 | 270 | Mtr. | 146.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.83 | Lifting removing cable of above 185 upto 400 Sq.mm. size from trench/clamps, making roll & depositing the same in store I/c cartage. | item no.83 | 270 | Mtr.
1.84 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required. | item no.84 | [52 empty] | 1.84 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel conduit including dismantling as required. | item no.84
1.85 | Group 'C' | item no.85 | 6 | Points | 924.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.85 | Group 'C' | item no.85 | 6 | Points
1.86 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.86 | [52 empty] | 1.86 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.86
1.87 | 1 x 1.5 Sq.mm.. | item no.87 | 20 | Mtr. | 46.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.87 | 1 x 1.5 Sq.mm.. | item no.87 | 20 | Mtr.
1.88 | 3 x 1.5 Sq.mm.. | item no.88 | 135 | Mtr. | 98.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.88 | 3 x 1.5 Sq.mm.. | item no.88 | 135 | Mtr.
1.89 | 3 x 2.5 sq. mm | item no.89 | 255 | Mtr. | 141.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.89 | 3 x 2.5 sq. mm | item no.89 | 255 | Mtr.
1.9 | 3 x 4 Sq.mm.. | item no.90 | 220 | Mtr. | 213.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.9 | 3 x 4 Sq.mm.. | item no.90 | 220 | Mtr.
1.91 | 4 x 6 Sq.mm.. | item no.91 | 45 | Mtr. | 415.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.91 | 4 x 6 Sq.mm.. | item no.91 | 45 | Mtr.
1.92 | Supplying and drawing telephone cable of 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.92 | [52 empty] | 1.92 | Supplying and drawing telephone cable of 2 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.92
1.93 | 2 Pair | item no.93 | 15 | Mtr. | 39.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.93 | 2 Pair | item no.93 | 15 | Mtr.
1.94 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item no.94 | [52 empty] | 1.94 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item no.94
1.95 | 5/6 Amp switch | item no.95 | 4 | Nos. | 106.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.95 | 5/6 Amp switch | item no.95 | 4 | Nos.
1.96 | 2 way 5/6 amps switch | item no.96 | 1 | Nos. | 153.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.96 | 2 way 5/6 amps switch | item no.96 | 1 | Nos.
1.97 | 15/16 Amp. switch | item no.97 | 1 | Nos. | 161.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.97 | 15/16 Amp. switch | item no.97 | 1 | Nos.
1.98 | 3 Pin 5/6 Amp. socket outlet | item no.98 | 1 | Nos. | 126.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.98 | 3 Pin 5/6 Amp. socket outlet | item no.98 | 1 | Nos.
1.99 | 6 Pin 15/16 Amp. socket outlet. | item no.99 | 1 | Nos. | 203.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.99 | 6 Pin 15/16 Amp. socket outlet. | item no.99 | 1 | Nos.
2 | Telephone socket outlet | item no.100 | 1 | Nos. | 153.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Telephone socket outlet | item no.100 | 1 | Nos.
2.01 | Fan regulator socket type rotary step | item no.101 | 1 | Nos. | 381.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.01 | Fan regulator socket type rotary step | item no.101 | 1 | Nos.
2.02 | Blanking plate | item no.102 | 20 | Nos. | 41.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.02 | Blanking plate | item no.102 | 20 | Nos.
2.03 | S/F following modular base & cover plate on existing modular metal boxes etc. as reqd. | item no.103 | [52 empty] | 2.03 | S/F following modular base & cover plate on existing modular metal boxes etc. as reqd. | item no.103
2.04 | 1 or 2 module | item no.104 | 4 | Nos. | 137.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.04 | 1 or 2 module | item no.104 | 4 | Nos.
2.05 | 3 module | item no.105 | 1 | Nos. | 156.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.05 | 3 module | item no.105 | 1 | Nos.
2.06 | 4 module | item no.106 | 1 | Nos. | 163.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.06 | 4 module | item no.106 | 1 | Nos.
2.07 | 6 module | item no.107 | 1 | Nos. | 188.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.07 | 6 module | item no.107 | 1 | Nos.
2.08 | 8 module | item no.108 | 1 | Nos. | 218.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.08 | 8 module | item no.108 | 1 | Nos.
2.09 | 12 module | item no.109 | 1 | Nos. | 281.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.09 | 12 module | item no.109 | 1 | Nos.
2.1 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | item no.110 | 2 | Nos. | 1209.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.1 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/32 A 240 V "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | item no.110 | 2 | Nos.
2.11 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32 A 415 V "C" curve TP MCB complete with connections, testing and commissioning etc. as required. | item no.111 | 1 | Nos. | 1647.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.11 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32 A 415 V "C" curve TP MCB complete with connections, testing and commissioning etc. as required. | item no.111 | 1 | Nos.
2.12 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth metal enclosed plug top along with 20 amps ' C ' series SP, MCB, in the sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | item no.112 | 2 | Nos. | 1677.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.12 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth metal enclosed plug top along with 20 amps ' C ' series SP, MCB, in the sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required. | item no.112 | 2 | Nos.
2.13 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.113 | [52 empty] | 2.13 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.113
2.14 | 12 way (4 + 36), Double door | item no.114 | 2 | Nos. | 13277.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.14 | 12 way (4 + 36), Double door | item no.114 | 2 | Nos.
2.15 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item no.115 | [52 empty] | 2.15 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item no.115
2.16 | Single Pole | item no.116 | 72 | Nos. | 264.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.16 | Single Pole | item no.116 | 72 | Nos.
2.17 | Single Pole & Neutral | item no.117 | 2 | Nos. | 619.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.17 | Single Pole & Neutral | item no.117 | 2 | Nos.
2.18 | Triple Pole | item no.118 | 1 | Nos. | 1041.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.18 | Triple Pole | item no.118 | 1 | Nos.
2.19 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral,sheet steel,MCB distribution board,415 Volts,on surface/ recess,complete with testing and commissioning etc.as required. | item no.119 | [52 empty] | 2.19 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following triple pole and neutral,sheet steel,MCB distribution board,415 Volts,on surface/ recess,complete with testing and commissioning etc.as required. | item no.119
2.2 | For 4 way,Double door TPN MCBDB | item no.120 | 2 | Each | 1117.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.2 | For 4 way,Double door TPN MCBDB | item no.120 | 2 | Each
2.21 | Providing and fixing M.V. danger notice plate of 200 mm X 200 mm,made of mild steel,at least 2 mm thick, and vitreous enameled white on both sides,and with inscription in single red colour on front side as required. | item no.121 | 2 | Each | 278.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.21 | Providing and fixing M.V. danger notice plate of 200 mm X 200 mm,made of mild steel,at least 2 mm thick, and vitreous enameled white on both sides,and with inscription in single red colour on front side as required. | item no.121 | 2 | Each
2.22 | Providing & Fixing 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item no.122 | 10 | Mtr. | 72.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.22 | Providing & Fixing 6 SWG dia GI wire on surface or in recess for loop earthing as reqd. | item no.122 | 10 | Mtr.
2.23 | S & F 40 amp to 63 amp rating 240 volts 'C' curve 10 kA MCB of following pole in the existing MCB DB complete with connection, testing & commissioning etc as reqd. | item no.123 | [52 empty] | 2.23 | S & F 40 amp to 63 amp rating 240 volts 'C' curve 10 kA MCB of following pole in the existing MCB DB complete with connection, testing & commissioning etc as reqd. | item no.123
2.24 | Four Pole | item no.124 | 2 | Nos. | 3214.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.24 | Four Pole | item no.124 | 2 | Nos.
2.25 | Supply, fixing, connecting and commissioning of DP/FP MCB enclosure box on surface or recessed etc as requred.. | item no.125 | 2 | Nos. | 1012.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.25 | Supply, fixing, connecting and commissioning of DP/FP MCB enclosure box on surface or recessed etc as requred.. | item no.125 | 2 | Nos.
2.26 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. | item no.126 | 500 | Sq.cm | 0.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.26 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. | item no.126 | 500 | Sq.cm
2.27 | Supplying and fixing following size /modules plastic box for modular switches in recess etc as required. | item no.127 | [52 empty] | 2.27 | Supplying and fixing following size /modules plastic box for modular switches in recess etc as required. | item no.127
2.28 | 1 or 2 module | item no.128 | 4 | Nos. | 276.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.28 | 1 or 2 module | item no.128 | 4 | Nos.
2.29 | 3 module | item no.129 | 1 | Nos. | 289.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.29 | 3 module | item no.129 | 1 | Nos.
2.3 | 4 module | item no.130 | 1 | Nos. | 302.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.3 | 4 module | item no.130 | 1 | Nos.
2.31 | 6 module | item no.131 | 1 | Nos. | 334.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.31 | 6 module | item no.131 | 1 | Nos.
2.32 | 8 module | item no.132 | 1 | Nos. | 349.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.32 | 8 module | item no.132 | 1 | Nos.
2.33 | 12 module | item no.133 | 1 | Nos. | 399.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.33 | 12 module | item no.133 | 1 | Nos.
2.34 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.134 | 280 | Mtr. | 19.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.34 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.134 | 280 | Mtr.
2.35 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.135 | 32 | Nos. | 82.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.35 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.135 | 32 | Nos.
2.36 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.136 | [52 empty] | 2.36 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.136
2.37 | 4 x 10 Sq.mm.. | item no.137 | 1 | Mtr. | 775.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.37 | 4 x 10 Sq.mm.. | item no.137 | 1 | Mtr.
2.38 | 4 x 16 Sq.mm.. | item no.138 | 1 | Mtr. | 1186.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.38 | 4 x 16 Sq.mm.. | item no.138 | 1 | Mtr.
2.39 | 4 x 25 Sq.mm.. | item no.139 | 30 | Mtr. | 1844.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.39 | 4 x 25 Sq.mm.. | item no.139 | 30 | Mtr.
2.4 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm without cover on surface as reqd. | item no.140 | 70 | Mtr. | 1100.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.4 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm without cover on surface as reqd. | item no.140 | 70 | Mtr.
2.41 | Providing and fixing 85 mm width flexible cover of DLP plastic trunking. (size 105 mm x 50 mm.) | item no.141 | 70 | Mtr. | 487.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.41 | Providing and fixing 85 mm width flexible cover of DLP plastic trunking. (size 105 mm x 50 mm.) | item no.141 | 70 | Mtr.
2.42 | Supply and fixing of following items for plastic trunking accessories suitable for size 105 mm x 50 mm. | item no.142 | [52 empty] | 2.42 | Supply and fixing of following items for plastic trunking accessories suitable for size 105 mm x 50 mm. | item no.142
2.43 | End cap | item no.143 | 17 | Nos. | 218.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.43 | End cap | item no.143 | 17 | Nos.
2.44 | Internal angle. | item no.144 | 9 | Nos. | 602.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.44 | Internal angle. | item no.144 | 9 | Nos.
2.45 | External angle. | item no.145 | 10 | Nos. | 613.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.45 | External angle. | item no.145 | 10 | Nos.
2.46 | Flat Junction | item no.146 | 10 | Nos. | 853.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.46 | Flat Junction | item no.146 | 10 | Nos.
2.47 | Base joint | item no.147 | 20 | Nos. | 253.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.47 | Base joint | item no.147 | 20 | Nos.
2.48 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.148 | [52 empty] | 2.48 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.148
2.49 | Mini- trunking | item no.149 | 20 | Mtr. | 252.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.49 | Mini- trunking | item no.149 | 20 | Mtr.
2.5 | End cap left or right | item no.150 | 2 | Nos. | 158.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.5 | End cap left or right | item no.150 | 2 | Nos.
2.51 | Internal/ external angle | item no.151 | 1 | Nos. | 162.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.51 | Internal/ external angle | item no.151 | 1 | Nos.
2.52 | Flat angle | item no.152 | 2 | Nos. | 137.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.52 | Flat angle | item no.152 | 2 | Nos.
2.53 | Flat junction | item no.153 | 1 | Nos. | 160.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.53 | Flat junction | item no.153 | 1 | Nos.
2.54 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.154 | [52 empty] | 2.54 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item no.154
2.55 | 10,16 mm | item no.155 | 4 | Nos. | 34.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.55 | 10,16 mm | item no.155 | 4 | Nos.
2.56 | 25 mm | item no.156 | 4 | Nos. | 49.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.56 | 25 mm | item no.156 | 4 | Nos.
2.57 | Supplying and fixing of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mmx50mmetc as required to complete | item no.157 | [52 empty] | 2.57 | Supplying and fixing of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mmx50mmetc as required to complete | item no.157
2.58 | 1 or 2 module | item no.158 | 32 | Nos. | 254.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.58 | 1 or 2 module | item no.158 | 32 | Nos.
2.59 | 3 module | item no.159 | 40 | Nos. | 337.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.59 | 3 module | item no.159 | 40 | Nos.
2.6 | 6 module | item no.160 | 42 | Nos. | 452.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.6 | 6 module | item no.160 | 42 | Nos.
2.61 | Supplying and fixing of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mmx50mm unit of 2 modules can be fitted togather to create 4/6/8 module supports as required to complete | item no.161 | 32 | Nos. | 618.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.61 | Supplying and fixing of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mmx50mm unit of 2 modules can be fitted togather to create 4/6/8 module supports as required to complete | item no.161 | 32 | Nos.
2.62 | Supplying and fixing of following modular switch/sockets on the existing Clip-on 85mm cover of 105mmx50mm DLP plastic trunking including connection etc as required complete. | item no.162 | [52 empty] | 2.62 | Supplying and fixing of following modular switch/sockets on the existing Clip-on 85mm cover of 105mmx50mm DLP plastic trunking including connection etc as required complete. | item no.162
2.63 | 6 Amp switch | item no.163 | 84 | Nos. | 278.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.63 | 6 Amp switch | item no.163 | 84 | Nos.
2.64 | 20 Amp. switch | item no.164 | 40 | Nos. | 481.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.64 | 20 Amp. switch | item no.164 | 40 | Nos.
2.65 | 6 Amp. 2/3 pin socket outlet | item no.165 | 84 | Nos. | 458.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.65 | 6 Amp. 2/3 pin socket outlet | item no.165 | 84 | Nos.
2.66 | 6/16 Amp. three pin two module socket outlet. | item no.166 | 40 | Nos. | 617.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.66 | 6/16 Amp. three pin two module socket outlet. | item no.166 | 40 | Nos.
2.67 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.167 | [52 empty] | 2.67 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.167
2.68 | 36 watt recess mounting LED light fixture 600 x 600 mm | item no.168 | 3 | Nos. | 4681.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.68 | 36 watt recess mounting LED light fixture 600 x 600 mm | item no.168 | 3 | Nos.
2.69 | Dismantling, disconnecting old damaged unservicable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item no.169 | 4 | Nos. | 108.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.69 | Dismantling, disconnecting old damaged unservicable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item no.169 | 4 | Nos.
2.7 | Supplying, fixing, painting of 15mm dia GI heavy class pipe down rod for ceiling fan etc as required complete. | item no.170 | 1 | Meter | 355.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.7 | Supplying, fixing, painting of 15mm dia GI heavy class pipe down rod for ceiling fan etc as required complete. | item no.170 | 1 | Meter
2.71 | Extra for cutting and drilling hole in down rod of 15mm dia GI pipe for ceiling fan etc. as required complete. | item no.171 | 1 | Nos. | 83.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.71 | Extra for cutting and drilling hole in down rod of 15mm dia GI pipe for ceiling fan etc. as required complete. | item no.171 | 1 | Nos.
2.72 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.172 | 18 | Nos. | 1107.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.72 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.172 | 18 | Nos.
2.73 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.173 | [52 empty] | 2.73 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.173
2.74 | 85 mm flexible cover | item no.174 | 17 | Nos. | 487.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.74 | 85 mm flexible cover | item no.174 | 17 | Nos.
2.75 | base joints | item no.175 | 22 | Nos. | 101.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.75 | base joints | item no.175 | 22 | Nos.
2.76 | Joints for 85 mm width cover | item no.176 | 12 | Nos. | 253.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.76 | Joints for 85 mm width cover | item no.176 | 12 | Nos.
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information