## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Dean, Infrastructure & Planning, IIT Kanpur
Name of Work: Construction of additional classroom and extension of administrative space at Campus School, IIT Kanpur (SH: Civil and Electrical work)
NIT No: Building/03/06/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | item no.1 | [52 empty] | 1 | EARTH WORK | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.2 | [52 empty] | 1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | All kinds of soil. | item no.3 | 30 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.02 | All kinds of soil. | item no.3 | 30 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.4 | 15 | cum | 1894.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.03 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.4 | 15 | cum
1.04 | CEMENT CONCRETE (CAST IN SITU) | item no.5 | [52 empty] | 1.04 | CEMENT CONCRETE (CAST IN SITU) | item no.5
1.05 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.6 | [52 empty] | 1.05 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.6
1.06 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.7 | 2.5 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.06 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.7 | 2.5 | cum
1.07 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | item no.8 | 12 | sqm | 325.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.07 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | item no.8 | 12 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.9 | 4 | per 50kg cement | 50.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.08 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.9 | 4 | per 50kg cement
1.09 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.10 | 12 | sqm | 99.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.09 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.10 | 12 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.11 | 25 | sqm | 597.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.1 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.11 | 25 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.11 | REINFORCED CEMENT CONCRETE | item no.12 | [52 empty] | 1.11 | REINFORCED CEMENT CONCRETE | item no.12
1.12 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.13 | [52 empty] | 1.12 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.13 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.13 | Suspended floors, roofs, landings, balconies and access platform | item no.14 | 175 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.13 | Suspended floors, roofs, landings, balconies and access platform | item no.14 | 175 | sqm
1.14 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.15 | 30 | sqm | 533.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.14 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.15 | 30 | sqm
1.15 | Edges of slabs and breaks in floors and walls | item no.16 | [52 empty] | 1.15 | Edges of slabs and breaks in floors and walls | item no.16
1.16 | Under 20 cm wide | item no.17 | 50 | metre | 159.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.16 | Under 20 cm wide | item no.17 | 50 | metre
1.17 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.18 | [52 empty] | 1.17 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.18
1.18 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.19 | 3150 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.18 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.19 | 3150 | kg
1.19 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | item no.20 | [52 empty] | 1.19 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | item no.20
1.2 | All works above plinth level upto floor V level | item no.21 | [52 empty] | 1.2 | All works above plinth level upto floor V level | item no.21
1.21 | Concrete of M30 grade with minimum cement content of 350 kg /cum | item no.22 | 34 | cum | 8962.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.21 | Concrete of M30 grade with minimum cement content of 350 kg /cum | item no.22 | 34 | cum
1.22 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | item no.23 | 5 | quintal | 603.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.22 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | item no.23 | 5 | quintal
1.23 | Providing and fixing in position Stainless steel Grade 304 plate-1.0 mm thick as per design for expansion joints. | item no.24 | [52 empty] | 1.23 | Providing and fixing in position Stainless steel Grade 304 plate-1.0 mm thick as per design for expansion joints. | item no.24
1.24 | 200 mm wide. | item no.25 | 5 | metre | 655.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.24 | 200 mm wide. | item no.25 | 5 | metre
1.25 | 300 mm wide. | item no.26 | 5 | metre | 923.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.25 | 300 mm wide. | item no.26 | 5 | metre
1.26 | MASONRY WORK | item no.27 | [52 empty] | 1.26 | MASONRY WORK | item no.27
1.27 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.28 | [52 empty] | 1.27 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.28
1.28 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.29 | 15 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.28 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.29 | 15 | cum
1.29 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.30 | [52 empty] | 1.29 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.30
1.3 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.31 | 15 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.3 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.31 | 15 | cum
1.31 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.32 | [52 empty] | 1.31 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.32
1.32 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.33 | 25 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.32 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.33 | 25 | sqm
1.33 | Brick work with common burnt clay selected F.P.S. (non modular) bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand) | item no.34 | [52 empty] | 1.33 | Brick work with common burnt clay selected F.P.S. (non modular) bricks of class designation 7.5 in exposed brick work including making horizontal and vertical grooves 10 mm wide 12 mm deep complete in cement mortar 1:6 (1 cement : 6 coarse sand) | item no.34
1.34 | Above plinth level upto floor V level | item no.35 | 45 | cum | 7510.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.34 | Above plinth level upto floor V level | item no.35 | 45 | cum
1.35 | WOOD AND P. V. C. WORK | item no.36 | [52 empty] | 1.35 | WOOD AND P. V. C. WORK | item no.36
1.36 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | item no.37 | [52 empty] | 1.36 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | item no.37
1.37 | Fixed to steel windows by welding | item no.38 | 130 | kg | 158.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.37 | Fixed to steel windows by welding | item no.38 | 130 | kg
1.38 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.39 | [52 empty] | 1.38 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.39
1.39 | 250x16 mm | item no.40 | 2 | each | 145.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.39 | 250x16 mm | item no.40 | 2 | each
1.4 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.41 | [52 empty] | 1.4 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.41
1.41 | 200x10 mm | item no.42 | 4 | each | 53.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.41 | 200x10 mm | item no.42 | 4 | each
1.42 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.43 | [52 empty] | 1.42 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.43
1.43 | 125 mm | item no.44 | 4 | each | 30.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.43 | 125 mm | item no.44 | 4 | each
1.44 | Providing and fixing bright finished brass 100 mm mortice latch with one dead bolt and a pair of lever handles of approved quality with necessary screws etc. complete. | item no.45 | 8 | each | 529.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.44 | Providing and fixing bright finished brass 100 mm mortice latch with one dead bolt and a pair of lever handles of approved quality with necessary screws etc. complete. | item no.45 | 8 | each
1.45 | STEEL WORK | item no.46 | [52 empty] | 1.45 | STEEL WORK | item no.46
1.46 | Fixing standard steel glazed doors, windows and ventilators in walls, including fixing of float glass panes with glazing clips and special metal- sash putty of approved make, or metal beading with screws, (only steel windows, glass panes cut to size and glazing clips or metal beading with screws, shall be supplied by department free of cost. | item no.47 | [52 empty] | 1.46 | Fixing standard steel glazed doors, windows and ventilators in walls, including fixing of float glass panes with glazing clips and special metal- sash putty of approved make, or metal beading with screws, (only steel windows, glass panes cut to size and glazing clips or metal beading with screws, shall be supplied by department free of cost. | item no.47
1.47 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | item no.48 | 80 | kg | 60.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.47 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | item no.48 | 80 | kg
1.48 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | item no.49 | [52 empty] | 1.48 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | item no.49
1.49 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | item no.50 | 45 | kg | 154.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.49 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | item no.50 | 45 | kg
1.5 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in- charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | item no.51 | 175 | kg | 536.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.5 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in- charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | item no.51 | 175 | kg
1.51 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | item no.52 | [52 empty] | 1.51 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | item no.52
1.52 | 4.0 mm thick glass panes | item no.53 | 7 | sqm | 824.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.52 | 4.0 mm thick glass panes | item no.53 | 7 | sqm
1.53 | FLOORING | item no.54 | [52 empty] | 1.53 | FLOORING | item no.54
1.54 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.55 | [52 empty] | 1.54 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.55
1.55 | 40 mm thick with 20 mm nominal size stone aggregate | item no.56 | 110 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.55 | 40 mm thick with 20 mm nominal size stone aggregate | item no.56 | 110 | sqm
1.56 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.57 | [52 empty] | 1.56 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.57
1.57 | 18 mm thick | item no.58 | 8 | sqm | 500.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.57 | 18 mm thick | item no.58 | 8 | sqm
1.58 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.59 | [52 empty] | 1.58 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.59
1.59 | 40 mm wide and 4 mm thick | item no.60 | 160 | metre | 69.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.59 | 40 mm wide and 4 mm thick | item no.60 | 160 | metre
1.6 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.61 | [52 empty] | 1.6 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.61
1.61 | Size of Tile 500x500 mm | item no.62 | 68 | sqm | 1213.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.61 | Size of Tile 500x500 mm | item no.62 | 68 | sqm
1.62 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | item no.63 | [52 empty] | 1.62 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | item no.63
1.63 | Size of Tile 600x600 mm | item no.64 | 6 | sqm | 1469.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.63 | Size of Tile 600x600 mm | item no.64 | 6 | sqm
1.64 | ROOFING | item no.65 | [52 empty] | 1.64 | ROOFING | item no.65
1.65 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.66 | 5 | each | 233.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.65 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.66 | 5 | each
1.66 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.67 | [52 empty] | 1.66 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.67
1.67 | 110 mm diameter | item no.68 | 40 | metre | 280.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.67 | 110 mm diameter | item no.68 | 40 | metre
1.68 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.69 | [52 empty] | 1.68 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.69
1.69 | Single tee without door | item no.70 | [52 empty] | 1.69 | Single tee without door | item no.70
1.7 | 110x110x110 mm | item no.71 | 7 | each | 167.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.7 | 110x110x110 mm | item no.71 | 7 | each
1.71 | Shoe (Plain) | item no.72 | [52 empty] | 1.71 | Shoe (Plain) | item no.72
1.72 | 110 mm Shoe | item no.73 | 7 | each | 101.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.72 | 110 mm Shoe | item no.73 | 7 | each
1.73 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. | item no.74 | [52 empty] | 1.73 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. | item no.74
1.74 | 110 mm | item no.75 | 19 | each | 271.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.74 | 110 mm | item no.75 | 19 | each
1.75 | FINISHING | item no.76 | [52 empty] | 1.75 | FINISHING | item no.76
1.76 | 12 mm cement plaster of mix : | item no.77 | [52 empty] | 1.76 | 12 mm cement plaster of mix : | item no.77
1.77 | 1:6 (1 cement: 6 coarse sand) | item no.78 | 70 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.77 | 1:6 (1 cement: 6 coarse sand) | item no.78 | 70 | sqm
1.78 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.79 | [52 empty] | 1.78 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.79
1.79 | 1:6 (1 cement: 6 coarse sand) | item no.80 | 300 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.79 | 1:6 (1 cement: 6 coarse sand) | item no.80 | 300 | sqm
1.8 | 15 mm cement plaster 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement on the rough side of single or half brick wall. | item no.81 | 20 | sqm | 382.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.8 | 15 mm cement plaster 1:3 (1 cement: 3 coarse sand) finished with a floating coat of neat cement on the rough side of single or half brick wall. | item no.81 | 20 | sqm
1.81 | 6 mm cement plaster of mix : | item no.82 | [52 empty] | 1.81 | 6 mm cement plaster of mix : | item no.82
1.82 | 1:3 (1 cement : 3 fine sand) | item no.83 | 115 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.82 | 1:3 (1 cement : 3 fine sand) | item no.83 | 115 | sqm
1.83 | 6 mm cement plaster 1:3 (1 cement : 3 fine sand) finished with a floating coat of neat cement and thick coat of Lime wash on top of walls when dry for bearing of R.C.C. slabs and beams. | item no.84 | 75 | sqm | 293.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.83 | 6 mm cement plaster 1:3 (1 cement : 3 fine sand) finished with a floating coat of neat cement and thick coat of Lime wash on top of walls when dry for bearing of R.C.C. slabs and beams. | item no.84 | 75 | sqm
1.84 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | item no.85 | [52 empty] | 1.84 | Pointing on brick work or brick flooring with cement mortar 1:3 (1 cement : 3 fine sand): | item no.85
1.85 | Flush / Ruled/ Struck or weathered pointing | item no.86 | 150 | sqm | 187.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.85 | Flush / Ruled/ Struck or weathered pointing | item no.86 | 150 | sqm
1.86 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.87 | [52 empty] | 1.86 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.87
1.87 | Two or more coats on new work | item no.88 | 280 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.87 | Two or more coats on new work | item no.88 | 280 | sqm
1.88 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.89 | [52 empty] | 1.88 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.89
1.89 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.90 | 220 | sqm | 142.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.89 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.90 | 220 | sqm
1.9 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : | item no.91 | [52 empty] | 1.9 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : | item no.91
1.91 | Two or more coats on new work | item no.92 | 180 | sqm | 120.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.91 | Two or more coats on new work | item no.92 | 180 | sqm
1.92 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.93 | [52 empty] | 1.92 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.93
1.93 | Two or more coats on new work | item no.94 | 15 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.93 | Two or more coats on new work | item no.94 | 15 | sqm
1.94 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.95 | [52 empty] | 1.94 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.95
1.95 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.96 | 25 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.95 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.96 | 25 | sqm
1.96 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.97 | 385 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.96 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.97 | 385 | sqm
1.97 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.98 | 100 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.97 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.98 | 100 | sqm
1.98 | REPAIRS TO BUILDING | item no.99 | [52 empty] | 1.98 | REPAIRS TO BUILDING | item no.99
1.99 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer- in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | item no.100 | 60 | sqm | 249.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 1.99 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer- in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | item no.100 | 60 | sqm
2 | Dismantling and Demolishing | item no.101 | [52 empty] | 2 | Dismantling and Demolishing | item no.101
2.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.102 | [52 empty] | 2.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.102
2.02 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.103 | 5 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.02 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.103 | 5 | cum
2.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.104 | [52 empty] | 2.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.104
2.04 | In cement mortar | item no.105 | 1 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.04 | In cement mortar | item no.105 | 1 | cum
2.05 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.106 | 6 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.05 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.106 | 6 | cum
2.06 | ALUMINIUM WORK | item no.107 | [52 empty] | 2.06 | ALUMINIUM WORK | item no.107
2.07 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.108 | [52 empty] | 2.07 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.108
2.08 | For fixed portion | item no.109 | [52 empty] | 2.08 | For fixed portion | item no.109
2.09 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.110 | 65 | kg | 380.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.09 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.110 | 65 | kg
2.1 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.111 | [52 empty] | 2.1 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.111
2.11 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.112 | 13 | kg | 466.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.11 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.112 | 13 | kg
2.12 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.113 | [52 empty] | 2.12 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.113
2.13 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.114 | 7 | sqm | 1162.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.13 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.114 | 7 | sqm
2.14 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. | item no.115 | [52 empty] | 2.14 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. | item no.115
2.15 | Upto 5mm depth and 5 mm width | item no.116 | 15 | metre | 74.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.15 | Upto 5mm depth and 5 mm width | item no.116 | 15 | metre
2.16 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. | item no.117 | [52 empty] | 2.16 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. | item no.117
2.17 | 255 X 19 mm | item no.118 | 4 | each | 288.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.17 | 255 X 19 mm | item no.118 | 4 | each
2.18 | WATER PROOFING | item no.119 | [52 empty] | 2.18 | WATER PROOFING | item no.119
2.19 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. “All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.120 | [52 empty] | 2.19 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. “All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.120
2.2 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.121 | 80 | sqm | 1335.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.2 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.121 | 80 | sqm
2.21 | NEW TECHNOLOGIES AND MATERIALS | item no.122 | [52 empty] | 2.21 | NEW TECHNOLOGIES AND MATERIALS | item no.122
2.22 | Providing, erecting, maintaining and removing temporary protective screens made out of specified fabric with all necessary fixing arrangement to ensure that it remains in position for the work duration as required by the Engineer-in-charge. | item no.123 | [52 empty] | 2.22 | Providing, erecting, maintaining and removing temporary protective screens made out of specified fabric with all necessary fixing arrangement to ensure that it remains in position for the work duration as required by the Engineer-in-charge. | item no.123
2.23 | Wooven PVC cloth | item no.124 | 120 | sqm | 40.07 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.23 | Wooven PVC cloth | item no.124 | 120 | sqm
2.24 | MINOR CIVIL MAINTENANCE WORK: | item no.125 | [52 empty] | 2.24 | MINOR CIVIL MAINTENANCE WORK: | item no.125
2.25 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.126 | 30 | Cum | 4985.93 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.25 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.126 | 30 | Cum
2.26 | Providing & fixing temporary barricading all round the construction area, made with 24 Gauge G.I. sheet of size 0.90 m ( before corrugation ) x 3.00 m, with vertical ballies and two no. horizontal ballies of 75 mm to 100 mm dia & height upto 2.00 m from ground level incuding necessary excavation in digging holes and refilling earth complete. And barricade shall be braced with inclined ballies at every 10 m. The barricading provided shall be retained in position at site continuously i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work till its completion. Rate include its maintenance for damages, painting, all incidentals, labour materials, equipments and works required to execute the job. The barricading shall not be removed without prior approval of Engineer-in-charge. ( Note : One time payment shall be made for providing barricading from start of work till completion of work i/c shifting. The barricading provided shall remain to be the property of the contractor on completion of the work ). | item no.127 | 75 | Mtr | 1006.58 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.26 | Providing & fixing temporary barricading all round the construction area, made with 24 Gauge G.I. sheet of size 0.90 m ( before corrugation ) x 3.00 m, with vertical ballies and two no. horizontal ballies of 75 mm to 100 mm dia & height upto 2.00 m from ground level incuding necessary excavation in digging holes and refilling earth complete. And barricade shall be braced with inclined ballies at every 10 m. The barricading provided shall be retained in position at site continuously i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work till its completion. Rate include its maintenance for damages, painting, all incidentals, labour materials, equipments and works required to execute the job. The barricading shall not be removed without prior approval of Engineer-in-charge. ( Note : One time payment shall be made for providing barricading from start of work till completion of work i/c shifting. The barricading provided shall remain to be the property of the contractor on completion of the work ). | item no.127 | 75 | Mtr
2.27 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | item no.128 | [52 empty] | 2.27 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | item no.128
2.28 | Group A | item no.129 | 12 | Points | 1090.75 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.28 | Group A | item no.129 | 12 | Points
2.29 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor single core cable in / on the existing surface / recessed, PVC / steel conduit as reqd. | item no.130 | [52 empty] | 2.29 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor single core cable in / on the existing surface / recessed, PVC / steel conduit as reqd. | item no.130
2.3 | 3 x 1.5 Sq.mm.. | item no.131 | 75 | Mtr. | 83.3 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.3 | 3 x 1.5 Sq.mm.. | item no.131 | 75 | Mtr.
2.31 | 3 x 4 Sq.mm.. | item no.132 | 50 | Mtr. | 180.62 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.31 | 3 x 4 Sq.mm.. | item no.132 | 50 | Mtr.
2.32 | S & F of following size of steel conduit along with the accessories in surface/recess I/c painting in case of surface conduit or cutting the wall and making good the same in case of recessed conduit as reqd. | item no.133 | [52 empty] | 2.32 | S & F of following size of steel conduit along with the accessories in surface/recess I/c painting in case of surface conduit or cutting the wall and making good the same in case of recessed conduit as reqd. | item no.133
2.33 | 20 mm 16 SWG | item no.134 | 20 | Mtr. | 195.53 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.33 | 20 mm 16 SWG | item no.134 | 20 | Mtr.
2.34 | 25 mm 16 SWG | item no.135 | 30 | Mtr. | 224.46 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.34 | 25 mm 16 SWG | item no.135 | 30 | Mtr.
2.35 | 32 mm 14 SWG | item no.136 | 5 | Mtr. | 285.84 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.35 | 32 mm 14 SWG | item no.136 | 5 | Mtr.
2.36 | S& F following size/module, GI box along with modular base and cover plate for modular switches in recess as required. | item no.137 | [52 empty] | 2.36 | S& F following size/module, GI box along with modular base and cover plate for modular switches in recess as required. | item no.137
2.37 | 3 module | item no.138 | 1 | Nos. | 286.72 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.37 | 3 module | item no.138 | 1 | Nos.
2.38 | 6 module | item no.139 | 8 | Nos. | 352.48 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.38 | 6 module | item no.139 | 8 | Nos.
2.39 | 12 module | item no.140 | 2 | Nos. | 479.61 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.39 | 12 module | item no.140 | 2 | Nos.
2.4 | Supplyand & fixing following modular switch/ socket on the existing modular plates & switch box including connection but excluding modular plate etc. as reqd. | item no.141 | [52 empty] | 2.4 | Supplyand & fixing following modular switch/ socket on the existing modular plates & switch box including connection but excluding modular plate etc. as reqd. | item no.141
2.41 | 5/6 Amp one way switch | item no.142 | 18 | Nos. | 90.31 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.41 | 5/6 Amp one way switch | item no.142 | 18 | Nos.
2.42 | 15/16 Amp. one way switch | item no.143 | 6 | Nos. | 136.78 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.42 | 15/16 Amp. one way switch | item no.143 | 6 | Nos.
2.43 | 3 Pin 5/6 Amp. socket outlet | item no.144 | 18 | Nos. | 106.97 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.43 | 3 Pin 5/6 Amp. socket outlet | item no.144 | 18 | Nos.
2.44 | 6 Pin 15/16 Amp. socket outlet. | item no.145 | 6 | Nos. | 172.73 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.44 | 6 Pin 15/16 Amp. socket outlet. | item no.145 | 6 | Nos.
2.45 | Modular Type Electronic Fan regulator | item no.146 | 2 | Nos. | 323.54 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.45 | Modular Type Electronic Fan regulator | item no.146 | 2 | Nos.
2.46 | Modular type blanking plate. | item no.147 | 2 | Nos. | 35.07 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.46 | Modular type blanking plate. | item no.147 | 2 | Nos.
2.47 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweeps, alluminium die cast body , copper wound, double bearing, less 70 watts 220 volts 50 Hz without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. ( ISI marked.) | item no.148 | [52 empty] | 2.47 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweeps, alluminium die cast body , copper wound, double bearing, less 70 watts 220 volts 50 Hz without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. ( ISI marked.) | item no.148
2.48 | 1200 mm Make_Bajaj Kassels/or approved Make. | item no.149 | 2 | Nos. | 1930 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.48 | 1200 mm Make_Bajaj Kassels/or approved Make. | item no.149 | 2 | Nos.
2.49 | Supply, Installation,testing and commissioning of exhaust fan of following sizes,1Ǿ AC power supply,50 Hz in the existing opening I/c connection,rag bolts complete as reqd. | item no.150 | [52 empty] | 2.49 | Supply, Installation,testing and commissioning of exhaust fan of following sizes,1Ǿ AC power supply,50 Hz in the existing opening I/c connection,rag bolts complete as reqd. | item no.150
2.5 | 380 mm 6_pole | item no.151 | 2 | Nos. | 3511 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.5 | 380 mm 6_pole | item no.151 | 2 | Nos.
2.51 | Supply and fixing of louver for exhaust fan of following sizes with rag bolts as reqd. | item no.152 | [52 empty] | 2.51 | Supply and fixing of louver for exhaust fan of following sizes with rag bolts as reqd. | item no.152
2.52 | 15" | item no.153 | 2 | Nos. | 861 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.52 | 15" | item no.153 | 2 | Nos.
2.53 | S & F MCB of following pole and rating 240/415 volts 'C' series in the existing MCB DB complete with connection, testing & commissioning etc as reqd. ( legrand) | item no.154 | [52 empty] | 2.53 | S & F MCB of following pole and rating 240/415 volts 'C' series in the existing MCB DB complete with connection, testing & commissioning etc as reqd. ( legrand) | item no.154
2.54 | Single Pole 6 amp to 32 amp | item no.155 | 12 | Nos. | 224.46 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.54 | Single Pole 6 amp to 32 amp | item no.155 | 12 | Nos.
2.55 | Single Pole & Neutral 6 amp to 32 amp | item no.156 | 1 | No. | 525.21 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.55 | Single Pole & Neutral 6 amp to 32 amp | item no.156 | 1 | No.
2.56 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item no.157 | [52 empty] | 2.56 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item no.157
2.57 | 12-way , Double door | item no.158 | 1 | No. | 2029.81 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.57 | 12-way , Double door | item no.158 | 1 | No.
2.58 | Supply,Installation,Testing and commissioning LED light fittings integrated (with lamps) or without lamps including connection,nut bolts,washer and screw etc. after removing old complete as requiired. | item no.159 | [52 empty] | 2.58 | Supply,Installation,Testing and commissioning LED light fittings integrated (with lamps) or without lamps including connection,nut bolts,washer and screw etc. after removing old complete as requiired. | item no.159
2.59 | LED light fittings batten & ceiling type (integrated type) | item no.160 | [52 empty] | 2.59 | LED light fittings batten & ceiling type (integrated type) | item no.160
2.6 | LED Ceiling Light 36 watt,size (1X4) _Make_Philiphs Fullglow (cat No. RC380B LED32S- 6500 G5 L3w12 PSU OD) or approved Make. | item no.161 | 4 | Nos. | 4340 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.6 | LED Ceiling Light 36 watt,size (1X4) _Make_Philiphs Fullglow (cat No. RC380B LED32S- 6500 G5 L3w12 PSU OD) or approved Make. | item no.161 | 4 | Nos.
2.61 | LED Street light fitting 25 watt (Bracket type), =>100lm/w,IP65 Make_Crompton (CatNo.LSTS-25-CDL/NL-M) or approved Make. | item no.162 | 2 | Nos. | 1672 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.61 | LED Street light fitting 25 watt (Bracket type), =>100lm/w,IP65 Make_Crompton (CatNo.LSTS-25-CDL/NL-M) or approved Make. | item no.162 | 2 | Nos.
2.62 | Fixing PVC/MS box of any size /router on surface/recessed including painting, making good with enamel paint etc. As reqd. | item no.163 | 6 | Nos. | 89 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.62 | Fixing PVC/MS box of any size /router on surface/recessed including painting, making good with enamel paint etc. As reqd. | item no.163 | 6 | Nos.
2.63 | Supply and fixing of 32 mm dia x 2.00 mtrss long GI pipe (medium class) bracket for mounting of fluorescent /HPSV/HPMV street light fitting on pole, fincluding bending the pipeto the required shape, 2 nos. 40 mm x 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. complete as required. | item no.164 | 2 | Each | 1295.05 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.63 | Supply and fixing of 32 mm dia x 2.00 mtrss long GI pipe (medium class) bracket for mounting of fluorescent /HPSV/HPMV street light fitting on pole, fincluding bending the pipeto the required shape, 2 nos. 40 mm x 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. complete as required. | item no.164 | 2 | Each
2.64 | Providing & fixing of size 32 mm x 12.5 mm. DLP mini trunking system with independent cover as reqd. | item no.165 | 25 | Mtrs | 140 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.64 | Providing & fixing of size 32 mm x 12.5 mm. DLP mini trunking system with independent cover as reqd. | item no.165 | 25 | Mtrs
2.65 | Providing & fixing accessories for 32 mm x 12.5 mm size of DLP mini trunking system as reqd. | item no.166 | [52 empty] | 2.65 | Providing & fixing accessories for 32 mm x 12.5 mm size of DLP mini trunking system as reqd. | item no.166
2.66 | Flat junction | item no.167 | 5 | Nos. | 96 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.66 | Flat junction | item no.167 | 5 | Nos.
2.67 | Changeable flat angle | item no.168 | 10 | Nos. | 74 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.67 | Changeable flat angle | item no.168 | 10 | Nos.
2.68 | Changeable internal /External angle | item no.169 | 10 | Nos. | 66 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.68 | Changeable internal /External angle | item no.169 | 10 | Nos.
2.69 | End cap left or right | item no.170 | 5 | Nos. | 50 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.69 | End cap left or right | item no.170 | 5 | Nos.
2.7 | Providing & fixing of size 32 mm x 20 mm. DLP mini trunking system with independent cover as reqd. | item no.171 | 75 | Mtrs | 179 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.7 | Providing & fixing of size 32 mm x 20 mm. DLP mini trunking system with independent cover as reqd. | item no.171 | 75 | Mtrs
2.71 | Providing & fixing accessories for 32 mm x 20 mm size of DLP mini trunking system as reqd. | item no.172 | [52 empty] | 2.71 | Providing & fixing accessories for 32 mm x 20 mm size of DLP mini trunking system as reqd. | item no.172
2.72 | Flat junction | item no.173 | 15 | Nos. | 94 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.72 | Flat junction | item no.173 | 15 | Nos.
2.73 | Changeable flat angle | item no.174 | 25 | Nos. | 80 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.73 | Changeable flat angle | item no.174 | 25 | Nos.
2.74 | Changeable internal /External angle | item no.175 | 20 | Nos. | 96 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.74 | Changeable internal /External angle | item no.175 | 20 | Nos.
2.75 | End cap left or right | item no.176 | 5 | Nos. | 100 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.75 | End cap left or right | item no.176 | 5 | Nos.
2.76 | Providing & fixing of 105 mm x 50 mm size of DLP trunking on surface with suitable plug & screws as reqd. | item no.177 | 8 | Mtrs. | 735 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.76 | Providing & fixing of 105 mm x 50 mm size of DLP trunking on surface with suitable plug & screws as reqd. | item no.177 | 8 | Mtrs.
2.77 | Providing & fixing of accessories for 105 mm x 50 mm size of DLP trunking system as reqd. | item no.178 | [52 empty] | 2.77 | Providing & fixing of accessories for 105 mm x 50 mm size of DLP trunking system as reqd. | item no.178
2.78 | Flexible cover for 85 mm width | item no.179 | 8 | Mtr | 334 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.78 | Flexible cover for 85 mm width | item no.179 | 8 | Mtr
2.79 | Partition | item no.180 | 8 | Mtr | 213 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.79 | Partition | item no.180 | 8 | Mtr
2.8 | Flat junction | item no.181 | 2 | Nos. | 397 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.8 | Flat junction | item no.181 | 2 | Nos.
2.81 | Flat angle | item no.182 | 4 | Nos. | 524 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.81 | Flat angle | item no.182 | 4 | Nos.
2.82 | Internal angle adjustable from 80 - 100 | item no.183 | 2 | Nos. | 383 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.82 | Internal angle adjustable from 80 - 100 | item no.183 | 2 | Nos.
2.83 | External angle adjustable from 60 - 120 | item no.184 | 2 | Nos. | 374 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.83 | External angle adjustable from 60 - 120 | item no.184 | 2 | Nos.
2.84 | Base Joint | item no.185 | 16 | Nos. | 78 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.84 | Base Joint | item no.185 | 16 | Nos.
2.85 | cover Joint for 85 mm width | item no.186 | 8 | Nos. | 173 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.85 | cover Joint for 85 mm width | item no.186 | 8 | Nos.
2.86 | End Caps | item no.187 | 2 | Nos. | 151 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.86 | End Caps | item no.187 | 2 | Nos.
2.87 | Drawing of optical/ RG-6 cable / network cable/ wiring cable/ telephone cable in existing surface /concealed conduits reqd. | item no.188 | 400 | Mtrs | 19 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.87 | Drawing of optical/ RG-6 cable / network cable/ wiring cable/ telephone cable in existing surface /concealed conduits reqd. | item no.188 | 400 | Mtrs
2.88 | Providing and fixing circular/ Hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5mm thick M.S. sheet with its top surface hacked for proper bonding,top lid shall be screwed into the cast iron/ M.S. sheet box by means of 3.3 mm dia round headed screws, one lock at the corners. Clamp shallbe made of 12 mm dia M.S. bar bent to shape as per standard drawing. | item no.189 | 2 | Each | 162.38 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #NAME? | #NAME? | #NAME? | 2.88 | Providing and fixing circular/ Hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5mm thick M.S. sheet with its top surface hacked for proper bonding,top lid shall be screwed into the cast iron/ M.S. sheet box by means of 3.3 mm dia round headed screws, one lock at the corners. Clamp shallbe made of 12 mm dia M.S. bar bent to shape as per standard drawing. | item no.189 | 2 | Each
Total in Figures | [51 empty] | #NAME? | #NAME? | #NAME?
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #NAME?
Quoted Rate in Words |  | #NAME?
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K143: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K159: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K161: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K179: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K181: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K183: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K185: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K186: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K188: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K189: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K191: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K192: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K193: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K194: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K195: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K196: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K197: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K198: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K199: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K200: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K201: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information