## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT, Kanpur
Name of Work: Repairing and replacement works of various Air Conditioning works at different locations of IIT Kanpur .
NIT No: EandM/09/06/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | SITC of double skin sheet metal construction Vertical/horizontal type floor mounted air handling units (AHU) of panels consisting of pre plasticized/coated G.I. casing of thickness 0.6 mm outside layer and 0.6 mm inside layer with 46/50 mm thick injected PUF of density not less than 40Kg/CuM. The air handling units shall be complete with manually supply air aluminium damper, Filter-section with 50 mm thick boxes type synthetic fibre washable pre-filter's section (90% down to 10 microns), coil section with 6 Rows Deep chilled water cooper coil & aluminium fins construction , fan section complete with forward curved DIDW centrifugal fan , V-belts, drive package, VFD compatible variable speed squirrel cage induction TEFC motor, IE-3 Motor shall be suitable for 415±10% volts, 50 Hz, 3 phase AC supply. having limit Switch, LED light i/c control wiring, fire retardant flexible connection, 20 G SS-304 stainless steel drain pan having 13 mm Nitrile insulation and V.I. pads all complete as per specifications. AHUs shall be selected for a maximum face velocity of 500 FPM (2.5 MPS), Fan outlet velocity shall not exceed 1910 FPM(10 m/s). | item no.1 | [52 empty] | 1.01 | SITC of double skin sheet metal construction Vertical/horizontal type floor mounted air handling units (AHU) of panels consisting of pre plasticized/coated G.I. casing of thickness 0.6 mm outside layer and 0.6 mm inside layer with 46/50 mm thick injected PUF of density not less than 40Kg/CuM. The air handling units shall be complete with manually supply air aluminium damper, Filter-section with 50 mm thick boxes type synthetic fibre washable pre-filter's section (90% down to 10 microns), coil section with 6 Rows Deep chilled water cooper coil & aluminium fins construction , fan section complete with forward curved DIDW centrifugal fan , V-belts, drive package, VFD compatible variable speed squirrel cage induction TEFC motor, IE-3 Motor shall be suitable for 415±10% volts, 50 Hz, 3 phase AC supply. having limit Switch, LED light i/c control wiring, fire retardant flexible connection, 20 G SS-304 stainless steel drain pan having 13 mm Nitrile insulation and V.I. pads all complete as per specifications. AHUs shall be selected for a maximum face velocity of 500 FPM (2.5 MPS), Fan outlet velocity shall not exceed 1910 FPM(10 m/s). | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 5500 cfm6 Rows, static pressure 50/55 mm wg, FM AHU | item no.2 | 1 | Nos | 301642 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | 5500 cfm6 Rows, static pressure 50/55 mm wg, FM AHU | item no.2 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | SITC of Variable frequency drive(VFD) of model no.FC-102/ Equivalent, with IP20, H2 RFI filter of make Danfoss/equivalent & Resistive Temperature Device (RTD) Make- Omricon/ equivalent along with necessary Control/communication wiring in flexible conduit in suitable wooden board along with necessary, insulated metal cover as req. etc in with following specifications complete as required | item no.3 | [52 empty] | 1.03 | SITC of Variable frequency drive(VFD) of model no.FC-102/ Equivalent, with IP20, H2 RFI filter of make Danfoss/equivalent & Resistive Temperature Device (RTD) Make- Omricon/ equivalent along with necessary Control/communication wiring in flexible conduit in suitable wooden board along with necessary, insulated metal cover as req. etc in with following specifications complete as required | item no.3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 3.75 Kw/Higher | item no.4 | 1 | Nos | 69405 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.04 | 3.75 Kw/Higher | item no.4 | 1 | Nos
1.05 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. | item no.5 | [52 empty] | 1.05 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. | item no.5
1.06 | 0.80 mm (22 G) thick | item no.6 | 16 | Sq.M | 1118 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.06 | 0.80 mm (22 G) thick | item no.6 | 16 | Sq.M
1.07 | 0.63 mm (24 G) thick | item no.7 | 6 | Sq.M | 948 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.07 | 0.63 mm (24 G) thick | item no.7 | 6 | Sq.M
1.08 | Supply, installation, testing and commissioning of GI volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc, as per specifications | item no.8 | 2 | Sq.M | 6219 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.08 | Supply, installation, testing and commissioning of GI volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc, as per specifications | item no.8 | 2 | Sq.M
1.09 | P & F of fire retardant double layer cloth canvass made (up to 300 mm vide) with heavy clothes and suitable frame with G.I washer, nuts & bolts in suitable size. i/c Zip as req. And jointing both sides with suitable gaskets complete as reqd. | item no.9 | 0.5 | Sq.M | 3448 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.09 | P & F of fire retardant double layer cloth canvass made (up to 300 mm vide) with heavy clothes and suitable frame with G.I washer, nuts & bolts in suitable size. i/c Zip as req. And jointing both sides with suitable gaskets complete as reqd. | item no.9 | 0.5 | Sq.M
1.1 | P & F of thermal insulation with aluminium foil faced XLPE Class 'O' insulation sheet of following thickness on existing surface of pipe/duct with dendrite/adhesive etc.The joints shall be sealed with 50 mm wide and self adhesive PVC/Aluminium tape complete as required | item no.10 | [52 empty] | 1.1 | P & F of thermal insulation with aluminium foil faced XLPE Class 'O' insulation sheet of following thickness on existing surface of pipe/duct with dendrite/adhesive etc.The joints shall be sealed with 50 mm wide and self adhesive PVC/Aluminium tape complete as required | item no.10
1.11 | 13 mm | item no.11 | 20 | Sq.M | 301 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.11 | 13 mm | item no.11 | 20 | Sq.M
1.12 | P & F of acoustic insulation with open cell Nitrile rubber sheet(Accosound) super silence of following thickness, on existing surface with adhesive i/c nut, bolt washer as req on duct.etc. complete as required. | item no.12 | [52 empty] | 1.12 | P & F of acoustic insulation with open cell Nitrile rubber sheet(Accosound) super silence of following thickness, on existing surface with adhesive i/c nut, bolt washer as req on duct.etc. complete as required. | item no.12
1.13 | 10 mm | item no.13 | 20 | Sq.M | 979 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.13 | 10 mm | item no.13 | 20 | Sq.M
1.14 | Cutting & Dismantling of condenser / chilled water pipe lines of following size for drain out the water from supply & return pipe line and making good i/c patching/connection re-filling of water in pipe line ,testing & commissioning complete as required. | item no.14 | [52 empty] | 1.14 | Cutting & Dismantling of condenser / chilled water pipe lines of following size for drain out the water from supply & return pipe line and making good i/c patching/connection re-filling of water in pipe line ,testing & commissioning complete as required. | item no.14
1.15 | 20 mm to 100 mm | item no.15 | 1 | Job | 1608 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.15 | 20 mm to 100 mm | item no.15 | 1 | Job
1.16 | Cutting & dismantling of damaged and defective insulation, removing the thermocole , Nitrile, PUF insulation or cladding from chilled water MS pipe line of size mentioned below including hessian cloth, wire mesh, sand, cement, plaster, cleaning of pipe and shifting the waste material outside the premises of I.I.T. K. campus or desired location as reqd. | item no.16 | [52 empty] | 1.16 | Cutting & dismantling of damaged and defective insulation, removing the thermocole , Nitrile, PUF insulation or cladding from chilled water MS pipe line of size mentioned below including hessian cloth, wire mesh, sand, cement, plaster, cleaning of pipe and shifting the waste material outside the premises of I.I.T. K. campus or desired location as reqd. | item no.16
1.17 | 20 mm to 100 mm | item no.17 | 8 | Mtr | 166 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.17 | 20 mm to 100 mm | item no.17 | 8 | Mtr
1.18 | Cutting and dismantling of damaged and defective MS'C' class pipe of size i/c accessories as mentioned below (exposed over the surface/ underground ) i/c shifting the same to sectional store or desired location i/c cartage. | item no.18 | [52 empty] | 1.18 | Cutting and dismantling of damaged and defective MS'C' class pipe of size i/c accessories as mentioned below (exposed over the surface/ underground ) i/c shifting the same to sectional store or desired location i/c cartage. | item no.18
1.19 | 20 mm to 100 mm | item no.19 | 8 | Mtr | 189 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.19 | 20 mm to 100 mm | item no.19 | 8 | Mtr
1.2 | Dismantling and removing of existing old ducts of any size, i/c removing of hangers , flanges , damper, diffuser, grill and depositing in the sectional store complete as reqd | item no.20 | 16 | Sq.M | 149 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.2 | Dismantling and removing of existing old ducts of any size, i/c removing of hangers , flanges , damper, diffuser, grill and depositing in the sectional store complete as reqd | item no.20 | 16 | Sq.M | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.21 | Dismantling & removing of any type Air Handling Unit (floor / ceiling type) with associated parts and disconnecting from CHW line & ducting etc. complete as reqd. | item no.21 | [52 empty] | 1.21 | Dismantling & removing of any type Air Handling Unit (floor / ceiling type) with associated parts and disconnecting from CHW line & ducting etc. complete as reqd. | item no.21 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.22 | 2501 CFM to 6000 CFM | item no.22 | 1 | Job | 5795 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.22 | 2501 CFM to 6000 CFM | item no.22 | 1 | Job | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.23 | P & F testing and commissioning of Butterfly valve CI body with SS Disc Nitrile Rubber Seal & O- Ring PN 16 pressure rating for chilled water with hand lever operated including nut, bolt, flanges, gasket and insulation of valve as kind of existing pipe etc complete as reqd | item no.23 | [52 empty] | 1.23 | P & F testing and commissioning of Butterfly valve CI body with SS Disc Nitrile Rubber Seal & O- Ring PN 16 pressure rating for chilled water with hand lever operated including nut, bolt, flanges, gasket and insulation of valve as kind of existing pipe etc complete as reqd | item no.23
1.24 | 50 mm | item no.24 | 2 | Nos | 3298 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.24 | 50 mm | item no.24 | 2 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.25 | Supplying, fixing, testing and commissioning of following Y - STRAINER of Ductile CI Body flanged ends with stainless steel strainer for chilled / hot water circulation including insulation as specified. | item no.25 | [52 empty] | 1.25 | Supplying, fixing, testing and commissioning of following Y - STRAINER of Ductile CI Body flanged ends with stainless steel strainer for chilled / hot water circulation including insulation as specified. | item no.25
1.26 | 50 mm | item no.26 | 1 | Nos. | 4929 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.26 | 50 mm | item no.26 | 1 | Nos.
1.27 | Providing & fixing of SS ball valve of following size with compatible to proportioning Copper/MS pipe i/c all necessary accessories, support /hangers, including old dismantling if any complete as reqd. | item no.27 | [52 empty] | 1.27 | Providing & fixing of SS ball valve of following size with compatible to proportioning Copper/MS pipe i/c all necessary accessories, support /hangers, including old dismantling if any complete as reqd. | item no.27
1.28 | 20 mm | item no.28 | 2 | Nos | 2222 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.28 | 20 mm | item no.28 | 2 | Nos
1.29 | Providing & fixing of Brass Air-Vent of following size with compatible Copper/MS pipe i/c all necessary accessories & dismantling old if any complete as reqd. | item no.29 | [52 empty] | 1.29 | Providing & fixing of Brass Air-Vent of following size with compatible Copper/MS pipe i/c all necessary accessories & dismantling old if any complete as reqd. | item no.29
1.3 | 20 mm | item no.30 | 2 | Nos | 829 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.3 | 20 mm | item no.30 | 2 | Nos
1.31 | Providing and fixing in position the industrial type pressure gauges with gun metal / brass valve, MS Nipple, socket etc complete as required | item no.31 | 2 | Nos. | 1266 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.31 | Providing and fixing in position the industrial type pressure gauges with gun metal / brass valve, MS Nipple, socket etc complete as required | item no.31 | 2 | Nos.
1.32 | Providing & fixing in position the mercury in glass industrial type thermometers. | item no.32 | 2 | Nos. | 922 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.32 | Providing & fixing in position the mercury in glass industrial type thermometers. | item no.32 | 2 | Nos.
1.33 | Supplying & fixing insulation on existing MS 'C' class pipe over exposed surface/underground of following sizes with 50 mm thick up to 150mm pipe and 75mm thick above 150mm pipe fire retardant thermocole ( polystyrene) moulded pipe section of density 20 kg/cu.m after a thick coat of cold setting adhesive (CPRX compound) , 500g polythene faced hessian cloth, wire mesh, sand-cement plaster & painting two or more coat to give even shade after applying one coat of ordinary paint etc complete as required. | item no.33 | [52 empty] | 1.33 | Supplying & fixing insulation on existing MS 'C' class pipe over exposed surface/underground of following sizes with 50 mm thick up to 150mm pipe and 75mm thick above 150mm pipe fire retardant thermocole ( polystyrene) moulded pipe section of density 20 kg/cu.m after a thick coat of cold setting adhesive (CPRX compound) , 500g polythene faced hessian cloth, wire mesh, sand-cement plaster & painting two or more coat to give even shade after applying one coat of ordinary paint etc complete as required. | item no.33
1.34 | 50 mm | item no.34 | 8 | Mtr | 371 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.34 | 50 mm | item no.34 | 8 | Mtr
1.35 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.(Internal work - Exposed on wall) | item no.35 | [52 empty] | 1.35 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.(Internal work - Exposed on wall) | item no.35
1.36 | 32 mm nominal dia Pipes | item no.36 | 16 | Mtr | 446 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.36 | 32 mm nominal dia Pipes | item no.36 | 16 | Mtr
1.37 | 25 mm nominal dia Pipes | item no.37 | 16 | Mtr | 345 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.37 | 25 mm nominal dia Pipes | item no.37 | 16 | Mtr
1.38 | Providing, laying, testing, and commissioning of following size Un-armoured XLPE insulated Copper conductor power/control cable of following size on surface/recessed complete as required. | item no.38 | [52 empty] | 1.38 | Providing, laying, testing, and commissioning of following size Un-armoured XLPE insulated Copper conductor power/control cable of following size on surface/recessed complete as required. | item no.38
1.39 | 4 Core x 4.0 Sqmm, flexible Un-armoured copper cable | item no.39 | 8 | Mtr | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.39 | 4 Core x 4.0 Sqmm, flexible Un-armoured copper cable | item no.39 | 8 | Mtr
1.4 | Providing, laying, testing, and commissioning of following size FRLSH PVC insulated Copper conductor power/ control single core cable of following size on surface/recessed complete as required. | item no.40 | [52 empty] | 1.4 | Providing, laying, testing, and commissioning of following size FRLSH PVC insulated Copper conductor power/ control single core cable of following size on surface/recessed complete as required. | item no.40
1.41 | 1 Core x 4.0 Sqmm, flexible PVC insulated copper cable | item no.41 | 8 | Mtr | 53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.41 | 1 Core x 4.0 Sqmm, flexible PVC insulated copper cable | item no.41 | 8 | Mtr
1.42 | Supply and installation UPVC mini trunking (casing-capping) & flexible conduit of following size white-system with independent cover- without central part ion etc. as reqd | item no.42 | [52 empty] | 1.42 | Supply and installation UPVC mini trunking (casing-capping) & flexible conduit of following size white-system with independent cover- without central part ion etc. as reqd | item no.42
1.43 | Flexi Conduit 20 mm | item no.43 | 3 | Mtr | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.43 | Flexi Conduit 20 mm | item no.43 | 3 | Mtr
1.44 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | item no.44 | [52 empty] | 1.44 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | item no.44
1.45 | 20 mm | item no.45 | 5 | Mtr | 116 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.45 | 20 mm | item no.45 | 5 | Mtr
1.46 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32amps 415 volts “C” curve TP MCB complete with connections, testing and commissioning etc. as required. | item no.46 | 1 | Nos. | 1404 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.46 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32amps 415 volts “C” curve TP MCB complete with connections, testing and commissioning etc. as required. | item no.46 | 1 | Nos.
1.47 | P & F ,testing and commissioning Three Phase Starter suitable for Motor up to 1.0 -7.5 HP Amp range 1.5 -9.3 A max, built in powder coated MS Box enclosure with Start - Stop push buttons etc complete as required. | item no.47 | [52 empty] | 1.47 | P & F ,testing and commissioning Three Phase Starter suitable for Motor up to 1.0 -7.5 HP Amp range 1.5 -9.3 A max, built in powder coated MS Box enclosure with Start - Stop push buttons etc complete as required. | item no.47
1.48 | 5.0 HP | item no.48 | 1 | Nos | 2698 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.48 | 5.0 HP | item no.48 | 1 | Nos
1.49 | Supplying and fixing of butterfly valves, cast iron body with SS disc. Size 200 mm to 400 mm gear type and below 200 mm hand lever operated including insulation, nut, bolt, flanges, gasket duly painted with synthetic enamel paint as per specification complete as reqd. Make Advance SKG or its equivalent. | item no.49 | [52 empty] | 1.49 | Supplying and fixing of butterfly valves, cast iron body with SS disc. Size 200 mm to 400 mm gear type and below 200 mm hand lever operated including insulation, nut, bolt, flanges, gasket duly painted with synthetic enamel paint as per specification complete as reqd. Make Advance SKG or its equivalent. | item no.49
1.5 | 400mm | item no.50 | 2 | Nos | 68550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.5 | 400mm | item no.50 | 2 | Nos
1.51 | 200 mm | item no.51 | 2 | Nos | 12639.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.51 | 200 mm | item no.51 | 2 | Nos
1.52 | 50 mm | item no.52 | 1 | Nos | 3029.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.52 | 50 mm | item no.52 | 1 | Nos
1.53 | 40 mm | item no.53 | 1 | Nos | 2558.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.53 | 40 mm | item no.53 | 1 | Nos
1.54 | Supplying and fixing of Non-Return Valves (NRV), cast iron body with SG iron disc. Size 200 mm to 400 mm gear type and below 200 mm hand lever operated including insulation, nut, bolt, flanges, gasket duly painted with synthetic enamel paint as per specification complete as reqd. make Honeywell or its equivalent. | item no.54 | [52 empty] | 1.54 | Supplying and fixing of Non-Return Valves (NRV), cast iron body with SG iron disc. Size 200 mm to 400 mm gear type and below 200 mm hand lever operated including insulation, nut, bolt, flanges, gasket duly painted with synthetic enamel paint as per specification complete as reqd. make Honeywell or its equivalent. | item no.54
1.55 | 200 mm | item no.55 | 3 | Nos | 11575.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.55 | 200 mm | item no.55 | 3 | Nos
1.56 | 250 mm | item no.56 | 1 | Nos | 41672 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.56 | 250 mm | item no.56 | 1 | Nos
1.57 | Supplying & laying , testing & commissioning mild steel ' C ' class pipe of size as mentioned below on exposed surface / underground with fabrication of bends, tees, reducers, ( brick masonry block & wooden support for underground / MS angle- clamp & wooden support for exposed surface ) alongwith priming coat of steel primer as per standard specification | item no.57 | [52 empty] | 1.57 | Supplying & laying , testing & commissioning mild steel ' C ' class pipe of size as mentioned below on exposed surface / underground with fabrication of bends, tees, reducers, ( brick masonry block & wooden support for underground / MS angle- clamp & wooden support for exposed surface ) alongwith priming coat of steel primer as per standard specification | item no.57
1.58 | 25 mm | item no.58 | 5 | Mtr | 540 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.58 | 25 mm | item no.58 | 5 | Mtr
1.59 | 32 mm | item no.59 | 5 | Mtr | 686 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.59 | 32 mm | item no.59 | 5 | Mtr
1.6 | 40 mm | item no.60 | 10 | Mtr | 791 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.6 | 40 mm | item no.60 | 10 | Mtr
1.61 | 50 mm | item no.61 | 18 | Mtr | 1118 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.61 | 50 mm | item no.61 | 18 | Mtr
1.62 | SITC of brass ball valves of following size ISI marked with socket, nipple and necessary supports complete as required. | item no.62 | [52 empty] | 1.62 | SITC of brass ball valves of following size ISI marked with socket, nipple and necessary supports complete as required. | item no.62
1.63 | 25 mm | item no.63 | 2 | Nos | 909 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.63 | 25 mm | item no.63 | 2 | Nos
1.64 | Supply and fixing of temperature sensor with Pluggable connectors including programming required for trane make chiller of capacity 400 TR. | item no.64 | 4 | Nos. | 25310 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.64 | Supply and fixing of temperature sensor with Pluggable connectors including programming required for trane make chiller of capacity 400 TR. | item no.64 | 4 | Nos.
1.65 | Supply & fixing of vertical type gear box for induced draft cooling tower (Mihir Make and Model-SBC-195/2.88/350-42) of capacity 450 TR and motor rating 20 H.p, including dismantling of existing gear box and fixing new one with all accessories. | item no.65 | 1 | Set | 182994 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.65 | Supply & fixing of vertical type gear box for induced draft cooling tower (Mihir Make and Model-SBC-195/2.88/350-42) of capacity 450 TR and motor rating 20 H.p, including dismantling of existing gear box and fixing new one with all accessories. | item no.65 | 1 | Set
1.66 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. | item no.66 | [52 empty] | 1.66 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. | item no.66
1.67 | 40 mm nominal outer dia Pipes | item no.67 | 10 | Mtr | 600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.67 | 40 mm nominal outer dia Pipes | item no.67 | 10 | Mtr
1.68 | Providing and placing (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | item no.68 | [52 empty] | 1.68 | Providing and placing (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | item no.68
1.69 | 500 ltr | item no.69 | 500 | Ltr | 8.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.69 | 500 ltr | item no.69 | 500 | Ltr
1.7 | Providing and fixing rectangular high density polyethylene water storage tank with cover, conforming to ISI : 12701, colour of opaque hite or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixtures for tank shall be paid separately. | item no.70 | [52 empty] | 1.7 | Providing and fixing rectangular high density polyethylene water storage tank with cover, conforming to ISI : 12701, colour of opaque hite or as approved by Engineer-in-charge. The rate includes making necessary holes for inlet, outlet & over flow pipes. The base support i/c fittings & fixtures for tank shall be paid separately. | item no.70
1.71 | 200 ltr | item no.71 | 200 | Ltr | 8.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.71 | 200 ltr | item no.71 | 200 | Ltr
1.72 | SITC of open well submersible type pump of capacity 1 HP, Complete with connection header and Bypass arrangement and electrical starter panel. Make :Lubi/Shakti/Kirlosker/Crompton/Grundfoss. | item no.72 | 1 | set | 20686 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.72 | SITC of open well submersible type pump of capacity 1 HP, Complete with connection header and Bypass arrangement and electrical starter panel. Make :Lubi/Shakti/Kirlosker/Crompton/Grundfoss. | item no.72 | 1 | set
1.73 | Supplying and fixing of MS Nipple/Socket of size of following size length etc. complete as reqd. | item no.73 | [52 empty] | 1.73 | Supplying and fixing of MS Nipple/Socket of size of following size length etc. complete as reqd. | item no.73
1.74 | Size 25 mm up to 2" length | item no.74 | 1 | Nos | 181 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.74 | Size 25 mm up to 2" length | item no.74 | 1 | Nos
1.75 | Size 32 mm up to 2" length | item no.75 | 1 | Nos | 194 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.75 | Size 32 mm up to 2" length | item no.75 | 1 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information