## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: SITC of chilled water line and associated works for the construction of Faculty Annexe building.
NIT No: EandM/23/06/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled/condenser water piping i/c fabrication of bends / elbows, tees, reducers etc) inside the building on surface / underground (with necessary clamps, vibration isolators PUF/wooden block and fittings but excluding valves, strainers, gauges etc) with brick masonry support for underground and MS angle/channel support for exposed surface with adequately supported on rigid supports duly painted/buried in ground excavation and refilling etc as per specifications and as required complete in all respect. Note:- The Pipes of sizes 150mm & below shall be M.S. ‘C’ class as per IS : 1239 and pipes size above 150mm shall be welded black steel pipe heavy class as per IS: 3589, from minimum 6.35mm thick M.S. Sheet for pipes upto 350 mm dia. and from minimum 7.0mm thick MS sheet for pipes of 400 mm dia and above complete as required. | item no.1 | [52 empty] | 1.01 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled/condenser water piping i/c fabrication of bends / elbows, tees, reducers etc) inside the building on surface / underground (with necessary clamps, vibration isolators PUF/wooden block and fittings but excluding valves, strainers, gauges etc) with brick masonry support for underground and MS angle/channel support for exposed surface with adequately supported on rigid supports duly painted/buried in ground excavation and refilling etc as per specifications and as required complete in all respect. Note:- The Pipes of sizes 150mm & below shall be M.S. ‘C’ class as per IS : 1239 and pipes size above 150mm shall be welded black steel pipe heavy class as per IS: 3589, from minimum 6.35mm thick M.S. Sheet for pipes upto 350 mm dia. and from minimum 7.0mm thick MS sheet for pipes of 400 mm dia and above complete as required. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 150 mm | item no.2 | 45 | Mtr | 3163 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | 150 mm | item no.2 | 45 | Mtr | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | 200 mm | item no.3 | 2 | Mtr | 4823 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.03 | 200 mm | item no.3 | 2 | Mtr | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 250 mm | item no.4 | 174 | Mtr | 5871 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.04 | 250 mm | item no.4 | 174 | Mtr
1.05 | 350 mm | item no.5 | 6 | Mtr | 7884 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.05 | 350 mm | item no.5 | 6 | Mtr
1.06 | Supplying, fixing, testing and commissioning of following BUTTERFLY VALVE (MANUAL) with C I body SS Disc, Nitrile Rubber Seal & O Ring PN 16 pressure rating with hand lever operated upto 150mm and gear operated above 200 mm for chilled water/hot eater circulation as specified duly insulated to the same (Thermocole/PUF/XLPE etc) as existing specifications as the connected piping and adequately supported as per specifications complete as required. | item no.6 | [52 empty] | 1.06 | Supplying, fixing, testing and commissioning of following BUTTERFLY VALVE (MANUAL) with C I body SS Disc, Nitrile Rubber Seal & O Ring PN 16 pressure rating with hand lever operated upto 150mm and gear operated above 200 mm for chilled water/hot eater circulation as specified duly insulated to the same (Thermocole/PUF/XLPE etc) as existing specifications as the connected piping and adequately supported as per specifications complete as required. | item no.6
1.07 | 150 mm | item no.7 | 4 | Nos | 7876 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.07 | 150 mm | item no.7 | 4 | Nos
1.08 | 250 mm | item no.8 | 2 | Nos | 31271 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.08 | 250 mm | item no.8 | 2 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | Supplying & fixing insulation on existing MS 'C' class pipe over exposed surface/underground of following sizes with 50 mm thick upto 150mm pipe and 75mm thick above 150mm pipe fire retardant thermocole ( polystrene) moulded pipe section of density 20 kg/cu.m after a thick coat of cold setting adhesive (CPRX compound) , 500g polythene faced hessain cloth, wiremesh, sand-cement plaster & painting two or more coat to give even shade after applying one coat of ordinary paint etc complete as required. | item no.9 | [52 empty] | 1.09 | Supplying & fixing insulation on existing MS 'C' class pipe over exposed surface/underground of following sizes with 50 mm thick upto 150mm pipe and 75mm thick above 150mm pipe fire retardant thermocole ( polystrene) moulded pipe section of density 20 kg/cu.m after a thick coat of cold setting adhesive (CPRX compound) , 500g polythene faced hessain cloth, wiremesh, sand-cement plaster & painting two or more coat to give even shade after applying one coat of ordinary paint etc complete as required. | item no.9 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | 150 mm (50 mm thick insulation) | item no.10 | 45 | Mtr | 633 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | 150 mm (50 mm thick insulation) | item no.10 | 45 | Mtr | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.11 | 200 mm (75 mm thick insulation) | item no.11 | 2 | Mtr | 1333 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.11 | 200 mm (75 mm thick insulation) | item no.11 | 2 | Mtr
1.12 | 250 mm (75 mm thick insulation) | item no.12 | 174 | Mtr | 1565 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.12 | 250 mm (75 mm thick insulation) | item no.12 | 174 | Mtr
1.13 | 350 mm (75 mm thick insulation) | item no.13 | 6 | Mtr | 2174 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.13 | 350 mm (75 mm thick insulation) | item no.13 | 6 | Mtr
1.14 | Cutting and dismantling of damaged and defective MS'C' class pipe of size as mentioned below (exposed over the surface/ underground ) i/c shifting the same to sectional store or desired location i/c cartage complete as equired.. | item no.14 | [52 empty] | 1.14 | Cutting and dismantling of damaged and defective MS'C' class pipe of size as mentioned below (exposed over the surface/ underground ) i/c shifting the same to sectional store or desired location i/c cartage complete as equired.. | item no.14
1.15 | 125 mm to 200 mm dia | item no.15 | 4 | Mtr | 260 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.15 | 125 mm to 200 mm dia | item no.15 | 4 | Mtr
1.16 | Cutting & dismantling of damaged and defective insulation, removing the thermocole , nitrile, PUF insulation or cladding from chilled water MS pipe line of size mentioned below including hessian cloth, wire mesh, sand, cement, plaster, cleaning of pipe and shifting the waste material outside the premises of I.I.T. K. campus or desired location as reqd.. | item no.16 | [52 empty] | 1.16 | Cutting & dismantling of damaged and defective insulation, removing the thermocole , nitrile, PUF insulation or cladding from chilled water MS pipe line of size mentioned below including hessian cloth, wire mesh, sand, cement, plaster, cleaning of pipe and shifting the waste material outside the premises of I.I.T. K. campus or desired location as reqd.. | item no.16
1.17 | 125 mm to 200 mm dia | item no.17 | 4 | Mtr | 318 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.17 | 125 mm to 200 mm dia | item no.17 | 4 | Mtr
1.18 | 250 mm to 400 mm dia. | item no.18 | 2 | Mtr | 393 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.18 | 250 mm to 400 mm dia. | item no.18 | 2 | Mtr
1.19 | Cutting & dismantling of condenser / chilled water pipe line with grinder/welding machine/gas cutter for drain out the water from supply and return pipe line and making good after leakage repairing i/c re-filling of water in pipe line size from 20 mm to 400 mm dia including isolation of defective pipeline, valve operation, testing & commissioning etc as required. | item no.19 | [52 empty] | 1.19 | Cutting & dismantling of condenser / chilled water pipe line with grinder/welding machine/gas cutter for drain out the water from supply and return pipe line and making good after leakage repairing i/c re-filling of water in pipe line size from 20 mm to 400 mm dia including isolation of defective pipeline, valve operation, testing & commissioning etc as required. | item no.19
1.2 | 125 mm to 200 mm dia | item no.20 | 1 | Job | 2427 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.2 | 125 mm to 200 mm dia | item no.20 | 1 | Job
1.21 | 250 mm to 400 mm dia. | item no.21 | 1 | Job | 4342 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.21 | 250 mm to 400 mm dia. | item no.21 | 1 | Job
1.22 | Providing and fixing in position the industrial type pressure gauges with gun metal / brass valve, MS Nipple, socket etc complete as required. | item no.22 | 4 | Nos | 1266 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.22 | Providing and fixing in position the industrial type pressure gauges with gun metal / brass valve, MS Nipple, socket etc complete as required. | item no.22 | 4 | Nos
1.23 | Providing & fixing in position the mercury in glass industrial type thermometers complete as required. | item no.23 | 4 | Nos | 922 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.23 | Providing & fixing in position the mercury in glass industrial type thermometers complete as required. | item no.23 | 4 | Nos
1.24 | Providing & fixing in position of SS ball valve of following size with compatible to proportioning Copper/MS pipe i/c all necessary accessories, support /hangers, including old dismantling if any complete as reqd. | item no.24 | [52 empty] | 1.24 | Providing & fixing in position of SS ball valve of following size with compatible to proportioning Copper/MS pipe i/c all necessary accessories, support /hangers, including old dismantling if any complete as reqd. | item no.24
1.25 | 20 mm | item no.25 | 2 | Nos | 2222 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.25 | 20 mm | item no.25 | 2 | Nos
1.26 | 25 mm | item no.26 | 2 | Nos | 3087 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.26 | 25 mm | item no.26 | 2 | Nos
1.27 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required,in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m. | item no.27 | [52 empty] | 1.27 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required,in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m. | item no.27
1.28 | Pipes, cables, etc exceeding 300 mm dia.but not exceeding 600 mm dia. | item no.28 | 120 | Mtr | 606 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.28 | Pipes, cables, etc exceeding 300 mm dia.but not exceeding 600 mm dia. | item no.28 | 120 | Mtr
1.29 | Extra for excavating trenches for pipes, cables etc. in all kinds of soil for depth exceeding 1.5 m, but not exceeding 3 m. (Rate is over corresponding basic item for depth upto 1.5 metre). | item no.29 | 39.75 | Mtr | 128 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.29 | Extra for excavating trenches for pipes, cables etc. in all kinds of soil for depth exceeding 1.5 m, but not exceeding 3 m. (Rate is over corresponding basic item for depth upto 1.5 metre). | item no.29 | 39.75 | Mtr
1.3 | Brick on edge flooring with bricks of class designation 75 i/c cement slurry etc complete in cement mortar with F.P.S bricks 1:6 (1 cement:6 coarse sand.) | item no.30 | 30 | sqm | 807 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.3 | Brick on edge flooring with bricks of class designation 75 i/c cement slurry etc complete in cement mortar with F.P.S bricks 1:6 (1 cement:6 coarse sand.) | item no.30 | 30 | sqm
1.31 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.31 | [52 empty] | 1.31 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.31
1.32 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.32 | 8 | cum | 5993 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.32 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.32 | 8 | cum
1.33 | Demolishing brick work i/c stacking of serviceable mat. within 50 mtrs lead. In cement mortar. | item no.33 | 8 | Cum | 1604 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.33 | Demolishing brick work i/c stacking of serviceable mat. within 50 mtrs lead. In cement mortar. | item no.33 | 8 | Cum
1.34 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | item no.34 | [52 empty] | 1.34 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | item no.34
1.35 | Cement mortar 1:4 (1 cement : 4 coarse sand) | item no.35 | 25 | sqm | 498 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.35 | Cement mortar 1:4 (1 cement : 4 coarse sand) | item no.35 | 25 | sqm
1.36 | 20 mm cement plaster on rough side of single or half brick wall of mix | item no.36 | [52 empty] | 1.36 | 20 mm cement plaster on rough side of single or half brick wall of mix | item no.36
1.37 | Cement mortar 1:4 (1 cement : 4 coarse sand) | item no.37 | 9 | sqm | 385 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.37 | Cement mortar 1:4 (1 cement : 4 coarse sand) | item no.37 | 9 | sqm
1.38 | Cutting road and making good the same i/c supply of extra quantities of materials i.e. egg., mooram screening, red bajri and labour req.Bituminious portion. | item no.38 | 7 | Cum | 2212 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.38 | Cutting road and making good the same i/c supply of extra quantities of materials i.e. egg., mooram screening, red bajri and labour req.Bituminious portion. | item no.38 | 7 | Cum
1.39 | Making a brick masonry chambers following size in side with first class designation brick work in cement mortar 1:6 coarse sand duly plastered with frame of angle iron 35x35 x5 mm & top cover with 2 mm thick ms sheet fixed with handle i/c two coat painting as specified design complete as required. | item no.39 | [52 empty] | 1.39 | Making a brick masonry chambers following size in side with first class designation brick work in cement mortar 1:6 coarse sand duly plastered with frame of angle iron 35x35 x5 mm & top cover with 2 mm thick ms sheet fixed with handle i/c two coat painting as specified design complete as required. | item no.39
1.4 | 1500 x1000x 1200 mm | item no.40 | 1 | Job | 23024 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.4 | 1500 x1000x 1200 mm | item no.40 | 1 | Job
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information