## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Construction of faculty offices and lab space by creating mezzanine floor in MSE workshop (SH: Civil and Electrical)
NIT No: Composite/04/08/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component |  |  |  | 1 | Component
1.01 | Carriage of Materials | item no.1 | [52 empty] | 1.01 | Supply installation testing and commissioning of cubical type LT panel-01 (IEC 61439 ) suitable for 4000Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.1 |  |  | 1.01 | Carriage of Materials | item no.1
1.02 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 1.02 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter (on all incomer and outgoing feeders) to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.2 |  |  | 1.02 | By Mechanical Transport including loading,unloading and stacking | item no.2
1.03 | Earth Lead - 5 km | item no.3 | 13.19 | cum | 238 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.03 | Incoming | item no.3 |  |  | 1.03 | Earth Lead - 5 km | item no.3 | 13.19 | cum
1.04 | EARTH WORK | item no.4 | [52 empty] | 1.04 | 2 No's 4000A, FP, EDO,50KA, ACB with microprocessor release (O/L, S/C & E/F protention) saftey shutter,SCM, CC, 4NO+4NC Aux. Contacts, interlock, shunt Trip contact T&C. etc. suitable to connect with the bus duct and through cables. ABB-Emax2/ Schneider MTZ/Siemens 3VA | item no.4 |  |  | 1.04 | EARTH WORK | item no.4
1.05 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.5 | [52 empty] | 1.05 | breaker control switch TNC, Digital voltmeter/Ammeter Cl-1.0 with selector switch, Electronic KWH meter Cl-1.0, CT-4000/5A, Cl1.0, 15KVA cast rasin for metering, protection CTs 4000/5A, Cl-5P10, 15VA cast rasin IDMT relay , Trip circuit supervision relay , Phase indicating Lamp LED Type"Red, Tellow, Blue" Auto / Amnual selector switch Auxiliary contactors with 2NO+2NC , 2A SP MCB 10KA for cont. CKT. | item no.5 |  |  | 1.05 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.5
1.06 | All kinds of soil. | item no.6 | 36.5 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.06 | Both Incomer shall have class-b SPD of DEHN make. With 50KA 40A MPCB Protection. | item no.6 |  |  | 1.06 | All kinds of soil. | item no.6 | 36.5 | cum
1.07 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.7 | 23.31 | cum | 222.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.07 | Bus bar: 1 No.4000 A, 50HZ, FP, Aliminium Bus Bar | item no.7 |  |  | 1.07 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.7 | 23.31 | cum
1.08 | CEMENT CONCRETE (CAST IN SITU) | item no.8 | [52 empty] | 1.08 | OutGoing: | item no.8 |  |  | 1.08 | CEMENT CONCRETE (CAST IN SITU) | item no.8
1.09 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.9 | [52 empty] | 1.09 | 2 nos.2500 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.9 |  |  | 1.09 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.9
1.1 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.10 | 1.63 | cum | 6457.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | 2 nos.1600 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.10 |  |  | 1.1 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.10 | 1.63 | cum
1.11 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.11 | 19.15 | cum | 5546.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.11 | 3 nos. 800 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-3Nos, FP Spreader(8x3=24Nos) for MCCB 800A- 3 Nos | item no.11 |  |  | 1.11 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.11 | 19.15 | cum
1.12 | REINFORCED CEMENT CONCRETE | item no.12 | [52 empty] | 1.12 | 2 nos. 630 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-2Nos, FP Spreader(8x2=16Nos) for MCCB 630A- 2Nos | item no.12 |  |  | 1.12 | REINFORCED CEMENT CONCRETE | item no.12
1.13 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.13 | [52 empty] | 1.13 | 4 nos. 400 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-4Nos, FP Spreader(8x4=32Nos) for MCCB 400A- 4 Nos | item no.13 |  |  | 1.13 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.13
1.14 | Foundations, footings, bases of columns, etc. for mass concrete | item no.14 | 6.75 | sqm | 270.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.14 | all out goings with ON.OFF, Trip, Spring charge indication.communicable type Digital multifunction energy meter(RS 485).Digital Amp meter with selector switches etc. | item no.14 |  |  | 1.14 | Foundations, footings, bases of columns, etc. for mass concrete | item no.14 | 6.75 | sqm
1.15 | Suspended floors, roofs, landings, balconies and access platform | item no.15 | 88 | sqm | 672.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.15 | Note : All ACBs and MCCB's aux. contacts for ON/OFF and trip spare contacts to be wired up to terminal block. | item no.15 | 1 | No. | 1.15 | Suspended floors, roofs, landings, balconies and access platform | item no.15 | 88 | sqm
1.16 | Shelves (Cast in situ) | item no.16 | 34 | sqm | 672.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.16 | Supply installation testing and commissioning of cubical type DG set LT panel -2 (IEC 61439), suitable for 1600 Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.16 |  |  | 1.16 | Shelves (Cast in situ) | item no.16 | 34 | sqm
1.17 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.17 | 202 | sqm | 533.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.17 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.17 |  |  | 1.17 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.17 | 202 | sqm
1.18 | Columns, Pillars, Piers, Abutments, Posts and Struts | item no.18 | 37.5 | sqm | 705.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.18 | Incoming | item no.18 |  |  | 1.18 | Columns, Pillars, Piers, Abutments, Posts and Struts | item no.18 | 37.5 | sqm
1.19 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.19 | [52 empty] | 1.19 | 3 No's 1250A, FP, 50KA, 4 pole ACB ( for 3x750 KVA SG sets) with microprocessor release (O/L, S/C & E/F protention) saftey shutter,SCM, CC, 4NO+4NC Aux. Contacts, interlock, shunt Trip contact T&C. etc. with 2 nos. 1250 A bus coupler (DG1 & DG2) (DG2-DG3) with all protections and metering. | item no.19 |  |  | 1.19 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.19
1.2 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.20 | 1000 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.2 | breaker control switch TNC, Digital voltmeter/Ammeter Cl-1.0 with selector switch, Electronic KWH meter Cl-1.0, CT-1250/5A, Cl1.0, 15VA cast rasin for metering, protection CTs 1250/5A, Cl-5P10, 15VA cast rasin IDMT relay , Trip circuit supervision relay , Phase indicating Lamp LED Type"Red, Tellow, Blue" Auto / Amnual selector switch Auxiliary contactors with 2NO+2NC , 2A SP MCB 10KA for cont. CKT. | item no.20 |  |  | 1.2 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.20 | 1000 | kg
1.21 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.21 | [52 empty] | 1.21 | All the Incomer shall have class-b SPD of DEHN make. With 50KA 40A MPCB Protection. | item no.21 |  |  | 1.21 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.21
1.22 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.22 | 2840 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.22 | Bus bar: 1 No.1600 A, 50HZ, FP, Aliminium Bus Bar | item no.22 |  |  | 1.22 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.22 | 2840 | kg
1.23 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | item no.23 | [52 empty] | 1.23 | OutGoing: | item no.23 |  |  | 1.23 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | item no.23
1.24 | All works upto plinth level | item no.24 | [52 empty] | 1.24 | 3 nos. 800 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism- 3Nos, 2A SP MCB for cont. CKT.- 3 Nos | item no.24 |  |  | 1.24 | All works upto plinth level | item no.24
1.25 | Concrete of M25 grade with minimum cement content of 330 kg /cum | item no.25 | 8.46 | cum | 7012.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.25 | 8 nos. 400 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism- 8Nos, 2A SP MCB for cont. CKT.- 8 Nos | item no.25 |  |  | 1.25 | Concrete of M25 grade with minimum cement content of 330 kg /cum | item no.25 | 8.46 | cum
1.26 | All works above plinth level upto floor V level | item no.26 | [52 empty] | 1.26 | 4 nos. 250 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection - 3nos, rotary operated handle mechanism-4Nos, FP Spreader for MCCB 250A- 4 Nos | item no.26 |  |  | 1.26 | All works above plinth level upto floor V level | item no.26
1.27 | Concrete of M25 grade with minimum cement content of 330 kg /cum | item no.27 | 24.16 | cum | 8838.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.27 | all outgoings with ON,OFF,Trip, spring charge indication. Communicable Digital multifunction energy meter(RS 485) . Digital Amp meter with selector switches etc. | item no.27 |  |  | 1.27 | Concrete of M25 grade with minimum cement content of 330 kg /cum | item no.27 | 24.16 | cum
1.28 | MASONRY WORK | item no.28 | [52 empty] | 1.28 | Note : All ACBs and MCCB's aux. contacts for ON/OFF and trip spare contacts to be wired up to terminal block. | item no.28 | 1 | Nos. | 1.28 | MASONRY WORK | item no.28
1.29 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.29 | [52 empty] | 1.29 | S&I, testing & commissioning 4000 amp TPN aluminum bus duct with MS enclosure, as pe r enclosed specifications E-02. | item no.29 | 15 | Mtr. | 1.29 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.29
1.3 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.30 | 215 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.3 | S&I, testing & commissioning 4000amp TPN copper flexible links to connect tranformer LT bus duct as per enclosed specifications E-02. | item no.30 | 1 | Set | 1.3 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.30 | 215 | sqm
1.31 | CLADDING WORK | item no.31 | [52 empty] | 1.31 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | item no.31 | 5 | Nos. | 1.31 | CLADDING WORK | item no.31
1.32 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.32 | [52 empty] | 1.32 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | item no.32 | 100 | Mtr. | 1.32 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.32
1.33 | Granite stone slab colour black, Cherry/Ruby red | item no.33 | [52 empty] | 1.33 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.33 |  |  | 1.33 | Granite stone slab colour black, Cherry/Ruby red | item no.33
1.34 | Area of slab over 0.50 sqm | item no.34 | 30 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.34 | 3½ X 400 sq. mm (82mm) | item no.34 | 50 | Nos. | 1.34 | Area of slab over 0.50 sqm | item no.34 | 30 | sqm
1.35 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.35 | 5 | each | 708.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.35 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.35 |  |  | 1.35 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.35 | 5 | each
1.36 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.36 | 23 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.36 | 3½ X 300 sq. mm | item no.36 | 4 | Nos. | 1.36 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.36 | 23 | sqm
1.37 | WOOD AND P. V. C. WORK | item no.37 | [52 empty] | 1.37 | 3½ X 400 sq. mm | item no.37 | 4 | Nos. | 1.37 | WOOD AND P. V. C. WORK | item no.37
1.38 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.38 | [52 empty] | 1.38 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc. as required | item no.38 |  |  | 1.38 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.38
1.39 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.39 | 7.56 | sqm | 1767.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.39 | 100 mm Dia | item no.39 | 50 | Mtr. | 1.39 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.39 | 7.56 | sqm
1.4 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): | item no.40 | [52 empty] | 1.4 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels | item no.40 | 2 | Cum | 1.4 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): | item no.40
1.41 | Rectangular or square | item no.41 | 7.56 | sqm | 152.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.41 | Providing 15 mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item no.41 | 5 | Sqm | 1.41 | Rectangular or square | item no.41 | 7.56 | sqm
1.42 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.42 | 4 | each | 899.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.42 | Supplying and laying of one no. 4 C x 4.0 sq.mm. XLPE steel armoured copper conductor power cable of grade 1.1 kV as per following details. | item no.42 |  |  | 1.42 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.42 | 4 | each
1.43 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.43 | [52 empty] | 1.43 | Direct in ground including excavation, sand cushioning, protective covering and refilling the trench as reqd. | item no.43 | 30 | Mtr. | 1.43 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.43
1.44 | 250x16 mm | item no.44 | 4 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.44 | In the existing RCC / HUME / STONE WARE / METAL pipe as reqd. | item no.44 | 30 | Mtr. | 1.44 | 250x16 mm | item no.44 | 4 | each
1.45 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.45 | [52 empty] | 1.45 | Direct in the existing masonry open duct as reqd. | item no.45 | 40 | Mtr. | 1.45 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.45
1.46 | 300x10 mm | item no.46 | 8 | each | 103.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.46 | Supplying and laying chequered plate in cut pcs of 6mm thick with handle cutting/ welding as required complete. | item no.46 | 5 | Sqr. Mtr. | 1.46 | 300x10 mm | item no.46 | 8 | each
1.47 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.47 | [52 empty] | 1.47 | Supplying and laying insulating mat "Shock safe" in front of electrcal panels, ISI marked as required. | item no.47 |  |  | 1.47 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.47
1.48 | 125 mm | item no.48 | 8 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.48 | a) 3.0mm thick for upto 3.3KV class A, (1mtr x 2 mtr.) | item no.48 | 15 | Each | 1.48 | 125 mm | item no.48 | 8 | each
1.49 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.49 | [52 empty] | 1.49 | Fabrication, supplying & fixing of box of required size made out of 2mm thick CRCA sheet duly powder coated & openable from top-bottom or front required & fixing the same complete as required. | item no.49 | 50 | Kg. | 1.49 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.49
1.5 | Twin rubber stopper | item no.50 | 4 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.5 | Lifting removing cable exceeding 185 sq.mm. but not exceeding 400sq.mm. size from trench/clamps, making role & depositing the same in store I/c cartage. | item no.50 | 60 | Mtr. | 1.5 | Twin rubber stopper | item no.50 | 4 | each
1.51 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | item no.51 | 4 | each | 648.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.51 | Supply, installation, testing, of Co2 TYPE FIRE EXTINGUISHER type 4.5Kg fire extinguisher complete as required . | item no.51 | 5 | Nos. | 1.51 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | item no.51 | 4 | each
1.52 | STEEL WORK | item no.52 | [52 empty] | 1.52 | S/F fire bucket as required complete. | item no.52 | 6 | Nos. | 1.52 | STEEL WORK | item no.52
1.53 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | item no.53 | [52 empty] | 1.53 | S/F S & F following 35x35x5mm angle iron in required shape and size i/c cutting, welding, painting etc. as reqd. (for making stand for 6 nos fire buckets) | item no.53 | 60 | Mtr. | 1.53 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | item no.53
1.54 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | item no.54 | 102.2 | kg | 100.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.54 | supply of Shock tretment chart | item no.54 | 4 | Each | 1.54 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | item no.54 | 102.2 | kg
1.55 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.55 | [52 empty] | 1.55 | S/F, copper cable lug suitable for following size of conductor. | item no.55 |  |  | 1.55 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.55
1.56 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.56 | 335 | kg | 124.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.56 | up to 10 Sqmm | item no.56 | 30 | Each | 1.56 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.56 | 335 | kg
1.57 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | item no.57 | [52 empty] | 1.57 | Supplying, fixing, testing and commissioning of 2500A, 4pole, 60KA,415V Air circuit breaker microprocessor based release including dismentling of existing defective and damaged Air circuit breaker etc and depositing in the sectional store as required complete make: L&T OMEGA model no. To fix in existing frame LT panel of SS#7. | item no.57 | 1 | Each | 1.57 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | item no.57
1.58 | M.S. tube | item no.58 | 54 | kg | 137.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.58 | Supply of one no. XLPE power cable of following size, aluminum conductor, steel armoured power cable of 1.1kV grade of as per IS: 7098 (Part-1) complete as required. | item no.58 |  |  | 1.58 | M.S. tube | item no.58 | 54 | kg
1.59 | FLOORING | item no.59 | [52 empty] | 1.59 | 3.5x300 Sqmm | item no.59 | 400 | Mtr. | 1.59 | FLOORING | item no.59
1.6 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.60 | [52 empty] | 1.6 | 3.5x400 Sqmm | item no.60 | 6200 | Mtr. | 1.6 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.60
1.61 | Size of Tile 600x600 mm | item no.61 | 196 | sqm | 1242.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.61 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.61 |  |  | 1.61 | Size of Tile 600x600 mm | item no.61 | 196 | sqm
1.62 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.62 | [52 empty] | 1.62 | Above 185 sq. mm and upto 400 sq. mm | item no.62 | 700 | Mtr. | 1.62 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.62
1.63 | Size of Tile 600x600 mm | item no.63 | 15.5 | sqm | 1285.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.63 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.63 |  |  | 1.63 | Size of Tile 600x600 mm | item no.63 | 15.5 | sqm
1.64 | ROOFING | item no.64 | [52 empty] | 1.64 | Above 185 sq. mm and upto 400 sq. mm | item no.64 | 5200 | Mtr. | 1.64 | ROOFING | item no.64
1.65 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.65 | [52 empty] | 1.65 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item no.65 |  |  | 1.65 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.65
1.66 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.66 | 78 | sqm | 1708.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.66 | Above 185 sq. mm and upto 400 sq. mm | item no.66 | 300 | Mtr. | 1.66 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.66 | 78 | sqm
1.67 | FINISHING | item no.67 | [52 empty] | 1.67 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. | item no.67 |  |  | 1.67 | FINISHING | item no.67
1.68 | 12 mm cement plaster of mix : | item no.68 | [52 empty] | 1.68 | Above 185 sq. mm and upto 400 sq. mm | item no.68 | 200 | Mtr. | 1.68 | 12 mm cement plaster of mix : | item no.68
1.69 | 1:6 (1 cement: 6 coarse sand) | item no.69 | 245 | sqm | 258.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.69 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item no.69 |  |  | 1.69 | 1:6 (1 cement: 6 coarse sand) | item no.69 | 245 | sqm
1.7 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.70 | [52 empty] | 1.7 | Above 185 sq. mm and upto 400 sq. mm | item no.70 | 200 | Mtr. | 1.7 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.70
1.71 | 1:6 (1 cement: 6 coarse sand) | item no.71 | 250 | sqm | 297.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.71 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. | item no.71 |  |  | 1.71 | 1:6 (1 cement: 6 coarse sand) | item no.71 | 250 | sqm
1.72 | 6 mm cement plaster of mix : | item no.72 | [52 empty] | 1.72 | Above 185 sq. mm and upto 400 sq. mm (clamped with 25x3mm MS flat clamp) | item no.72 | 50 | Mtr. | 1.72 | 6 mm cement plaster of mix : | item no.72
1.73 | 1:3 (1 cement : 3 fine sand) | item no.73 | 212 | sqm | 221.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.73 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.73 | 15 | Each | 1.73 | 1:3 (1 cement : 3 fine sand) | item no.73 | 212 | sqm
1.74 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.74 | [52 empty] | 1.74 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.74 |  |  | 1.74 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.74
1.75 | Two or more coats on new work | item no.75 | 706 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.75 | 3½ X 300 sq. mm (70mm) | item no.75 | 4 | Nos. | 1.75 | Two or more coats on new work | item no.75 | 706 | sqm
1.76 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.76 | [52 empty] | 1.76 | 3½ X 400 sq. mm (82mm) | item no.76 | 52 | Nos. | 1.76 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.76
1.77 | Two or more coats on new work | item no.77 | 15 | sqm | 115.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.77 | Excavation for cable trenches in soft soil, depth upto 1.2 m including dressing of sides lift upto 1.5 m, including getting out the excavated soil, refilling with sand and or good soil after laying of cable/ pipe etc in layers of 20 cm, ramming, watering and disposal of surplus excavated soil as directed, within a lead of 50 metres. | item no.77 | 20 | Cum | 1.77 | Two or more coats on new work | item no.77 | 15 | sqm
1.78 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.78 | [52 empty] | 1.78 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc as required | item no.78 |  |  | 1.78 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.78
1.79 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.79 | 18.32 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.79 | 100 mm dia | item no.79 | 300 | Mtr. | 1.79 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.79 | 18.32 | sqm
1.8 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.80 | 706 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.8 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item no.80 |  |  | 1.8 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.80 | 706 | sqm
1.81 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.81 | [52 empty] | 1.81 | Group C | item no.81 | 8 | Point | 1.81 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.81
1.82 | Old work (one or more coats) | item no.82 | 66 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.82 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.82 |  |  | 1.82 | Old work (one or more coats) | item no.82 | 66 | sqm
1.83 | Dismantling and Demolishing | item no.83 | [52 empty] | 1.83 | 3 x 1.5 sq. mm | item no.83 | 30 | Mtr. | 1.83 | Dismantling and Demolishing | item no.83
1.84 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.84 | [52 empty] | 1.84 | 3 x 4 sq. mm | item no.84 | 50 | Mtr. | 1.84 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.84
1.85 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.85 | 21.6 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.85 | 3 x 10 sq.mm. | item no.85 | 15 | Mtr. | 1.85 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.85 | 21.6 | cum
1.86 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.86 | 4.4 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.86 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator) | item no.86 |  |  | 1.86 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.86 | 4.4 | cum
1.87 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.87 | [52 empty] | 1.87 | 8 way , Double door | item no.87 | 1 | Nos. | 1.87 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.87
1.88 | Of area 3 sq. metres and below | item no.88 | 1 | each | 265.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.88 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.88 |  |  | 1.88 | Of area 3 sq. metres and below | item no.88 | 1 | each
1.89 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.89 | 48.72 | sqm | 40.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.89 | Single pole 5 A to 32 A | item no.89 | 8 | Nos. | 1.89 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.89 | 48.72 | sqm
1.9 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.90 | 26 | cum | 192.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.9 | Double pole 5 A to 32 A | item no.90 | 1 | Nos. | 1.9 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.90 | 26 | cum
1.91 | SANITARY INSTALLATIONS | item no.91 | [52 empty] | 1.91 | Supplying and fixing brass batten/ angle holder including connection etc. as required. | item no.91 | 6 | Nos. | 1.91 | SANITARY INSTALLATIONS | item no.91
1.92 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | item no.92 | [52 empty] | 1.92 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.92 |  |  | 1.92 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | item no.92
1.93 | Size 600x450x200 mm | item no.93 | 5 | each | 3060.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.93 | 1 X 20W Box type LED tube with fitting | item no.93 | 2 | Nos. | 1.93 | Size 600x450x200 mm | item no.93 | 5 | each
1.94 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.94 | [52 empty] | 1.94 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.94 |  |  | 1.94 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.94
1.95 | Flexible pipe | item no.95 | [52 empty] | 1.95 | 20 mm | item no.95 | 6 | Mtr. | 1.95 | Flexible pipe | item no.95
1.96 | 32 mm dia | item no.96 | 5 | each | 91.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.96 | 25 mm | item no.96 | 30 | Mtr. | 1.96 | 32 mm dia | item no.96 | 5 | each
1.97 | Providing and fixing soil, waste and vent pipes : | item no.97 | [52 empty] | 1.97 | Supplying and fixing following size/ modules, Gl box alongwith modular base & cover plate for modular switches in recess etc. as required. | item no.97 |  |  | 1.97 | Providing and fixing soil, waste and vent pipes : | item no.97
1.98 | 100 mm dia | item no.98 | [52 empty] | 1.98 | 6 Module (200mmX75mm) | item no.98 | 6 | Nos. | 1.98 | 100 mm dia | item no.98
1.99 | Sand cast iron S&S pipe as per IS: 1729 | item no.99 | 33.5 | metre | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.99 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | item no.99 |  |  | 1.99 | Sand cast iron S&S pipe as per IS: 1729 | item no.99 | 33.5 | metre
2 | Providing and fixing plain bend of required degree. | item no.100 | [52 empty] | 2 | 5/6 A switch | item no.100 | 6 | Nos. | 2 | Providing and fixing plain bend of required degree. | item no.100
2.01 | 100 mm dia | item no.101 | [52 empty] | 2.01 | 15/16 A switch | item no.101 | 6 | Nos. | 2.01 | 100 mm dia | item no.101
2.02 | Sand cast iron S&S as per IS - 1729 | item no.102 | 2 | each | 362.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.02 | 3 pin 5/6 A socket outlet | item no.102 | 6 | Nos. | 2.02 | Sand cast iron S&S as per IS - 1729 | item no.102 | 2 | each
2.03 | Providing and fixing single equal plain junction of required degree : | item no.103 | [52 empty] | 2.03 | 6 pin 15/16 A socket outlet | item no.103 | 6 | Nos. | 2.03 | Providing and fixing single equal plain junction of required degree : | item no.103
2.04 | 100x100x100 mm | item no.104 | [52 empty] | 2.04 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.104 |  |  | 2.04 | 100x100x100 mm | item no.104
2.05 | Sand cast iron S&S as per IS - 1729 | item no.105 | 4 | each | 508.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.05 | 3½ X 300 sq. mm (70mm) | item no.105 | 4 | Nos. | 2.05 | Sand cast iron S&S as per IS - 1729 | item no.105 | 4 | each
2.06 | Providing and fixing collar : | item no.106 | [52 empty] | 2.06 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | item no.106 | 2 | Nos. | 2.06 | Providing and fixing collar : | item no.106
2.07 | 100 mm | item no.107 | [52 empty] | 2.07 | Supplying and laying of one no. 3.5 x 185.0 sqmm PVC insulated, XLPE steel armoured aluminium conductor power cable of grade 1.1 kV as required complete in following manners. | item no.107 | 663 | Mtr. | 2.07 | 100 mm | item no.107
2.08 | Sand cast iron S&S as per IS - 1729 | item no.108 | 14 | each | 350.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.08 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.108 |  |  | 2.08 | Sand cast iron S&S as per IS - 1729 | item no.108 | 14 | each
2.09 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.109 | [52 empty] | 2.09 | Above 185 sq. mm and upto 400 sq. mm | item no.109 | 226 | Mtr. | 2.09 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.109
2.1 | 100 mm | item no.110 | 55 | each | 481.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.1 | 100 mm | item no.110 | 55 | each
2.11 | WATER SUPPLY | item no.111 | [57 empty] | 2.11 | WATER SUPPLY | item no.111
2.12 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.112 | [52 empty] | 2.1 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.110 |  |  | 2.12 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.112
2.13 | 15 mm dia nominal bore | item no.113 | 3 | metre | 266.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.13 | 15 mm dia nominal bore | item no.113 | 3 | metre
2.14 | 20 mm dia nominal bore | item no.114 | 27.5 | metre | 327.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.14 | 20 mm dia nominal bore | item no.114 | 27.5 | metre
2.15 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.115 | [57 empty] | 2.15 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.115
2.16 | 25 to 40 mm nominal bore | item no.116 | 1 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.16 | 25 to 40 mm nominal bore | item no.116 | 1 | each
2.17 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.117 | [57 empty] | 2.17 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.117
2.18 | 20 mm nominal bore | item no.118 | 3 | each | 404.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.18 | 20 mm nominal bore | item no.118 | 3 | each
2.19 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.119 | [57 empty] | 2.19 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.119
2.2 | 20 mm nominal bore | item no.120 | 2 | each | 622.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.2 | 20 mm nominal bore | item no.120 | 2 | each
2.21 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.121 | [57 empty] | 2.21 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.121
2.22 | 15 mm nominal bore | item no.122 | 5 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.22 | 15 mm nominal bore | item no.122 | 5 | each
2.23 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.123 | [57 empty] | 2.23 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.123
2.24 | 15 mm nominal bore | item no.124 | 5 | each | 521.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.24 | 15 mm nominal bore | item no.124 | 5 | each
2.25 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.125 | [57 empty] | 2.25 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.125
2.26 | With common burnt clay F.P.S. (non modular) bricks | item no.126 | 2 | each | 317.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.26 | With common burnt clay F.P.S. (non modular) bricks | item no.126 | 2 | each
2.27 | DRAINAGE | item no.127 | [57 empty] | 2.27 | DRAINAGE | item no.127
2.28 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.128 | [57 empty] | 2.28 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.128
2.29 | For pipes 100 to 250 mm diameter | item no.129 | 1 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.29 | For pipes 100 to 250 mm diameter | item no.129 | 1 | each
2.3 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | item no.130 | [57 empty] | 2.3 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | item no.130
2.31 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.131 | 1 | each | 4900.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.31 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.131 | 1 | each
2.32 | ALUMINIUM WORK | item no.132 | [57 empty] | 2.32 | ALUMINIUM WORK | item no.132
2.33 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.133 | [57 empty] | 2.33 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.133
2.34 | For fixed portion | item no.134 | [57 empty] | 2.34 | For fixed portion | item no.134
2.35 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.135 | 26 | kg | 380.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.35 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.135 | 26 | kg
2.36 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.136 | [57 empty] | 2.36 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.136
2.37 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.137 | 3.24 | sqm | 1162.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.37 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.137 | 3.24 | sqm
2.38 | MINOR CIVIL MAINTENANCE WORK: | item no.138 | [57 empty] | 2.38 | MINOR CIVIL MAINTENANCE WORK: | item no.138
2.39 | Fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With available float glass panes of 5.50 mm thickness | item no.139 | 41.86 | Sqm | 509.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.39 | Fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With available float glass panes of 5.50 mm thickness | item no.139 | 41.86 | Sqm
2.4 | Fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge.For fixed portio with old and available materials. | item no.140 | 170.52 | Kg | 153.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.4 | Fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge.For fixed portio with old and available materials. | item no.140 | 170.52 | Kg
2.41 | Providing and fixing CP. Brass Threeway Swanneck Piller Cock of standerd make (L & K or equivalent make) complete. | item no.141 | 5 | Each | 1125.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.41 | Providing and fixing CP. Brass Threeway Swanneck Piller Cock of standerd make (L & K or equivalent make) complete. | item no.141 | 5 | Each
2.42 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item no.142 | [57 empty] | 2.42 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item no.142
2.43 | Group C | item no.143 | 12 | Point | 1617.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.43 | Group C | item no.143 | 12 | Point
2.44 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. | item no.144 | [57 empty] | 2.44 | Rewiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable and 1.5 sq.mm FRLS PVC insulated copper conductor single core cable as earth wire in existing surface/ recessed steel/PVC conduit including dismantling as required. | item no.144
2.45 | Group C | item no.145 | 18 | Point | 783.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.45 | Group C | item no.145 | 18 | Point
2.46 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.146 | [57 empty] | 2.46 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.146
2.47 | 3 x 1.5 sq. mm | item no.147 | 100 | Metre | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.47 | 3 x 1.5 sq. mm | item no.147 | 100 | Metre
2.48 | 3 x 2.5 sq. mm | item no.148 | 150 | Metre | 120.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.48 | 3 x 2.5 sq. mm | item no.148 | 150 | Metre
2.49 | 3 x 4 sq. mm | item no.149 | 300 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.49 | 3 x 4 sq. mm | item no.149 | 300 | Metre
2.5 | 6 x 10 sq.mm. | item no.150 | 10 | Meter | 979.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.5 | 6 x 10 sq.mm. | item no.150 | 10 | Meter
2.51 | 6 x 16 sq.mm. | item no.151 | 20 | Meter | 1523.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.51 | 6 x 16 sq.mm. | item no.151 | 20 | Meter
2.52 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.152 | [57 empty] | 2.52 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | item no.152
2.53 | 25 mm | item no.153 | 80 | Metre | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.53 | 25 mm | item no.153 | 80 | Metre
2.54 | 32 mm | item no.154 | 30 | Metre | 285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.54 | 32 mm | item no.154 | 30 | Metre
2.55 | 40 mm | item no.155 | 15 | Metre | 412.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.55 | 40 mm | item no.155 | 15 | Metre
2.56 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.156 | [57 empty] | 2.56 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | item no.156
2.57 | 25 mm | item no.157 | 10 | Meter | 71.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.57 | 25 mm | item no.157 | 10 | Meter
2.58 | 32 mm | item no.158 | 10 | Meter | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.58 | 32 mm | item no.158 | 10 | Meter
2.59 | Chemical Earthing with GI earth electrode 50 mm dia x 3 Mtr length with full GI strip including earth enhancing compound and RCC precast PIT cover and earthing pit etc as reqd. | item no.159 | 2 | No. | 7051.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.59 | Chemical Earthing with GI earth electrode 50 mm dia x 3 Mtr length with full GI strip including earth enhancing compound and RCC precast PIT cover and earthing pit etc as reqd. | item no.159 | 2 | No.
2.6 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.160 | 30 | Meter | 227.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.6 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.160 | 30 | Meter
2.61 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.161 | [57 empty] | 2.61 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.161
2.62 | End cap | item no.162 | 2 | Nos. | 150.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.62 | End cap | item no.162 | 2 | Nos.
2.63 | internal / external angle | item no.163 | 6 | Nos. | 145.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.63 | internal / external angle | item no.163 | 6 | Nos.
2.64 | changeable flat angle | item no.164 | 4 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.64 | changeable flat angle | item no.164 | 4 | Nos.
2.65 | flat junction | item no.165 | 2 | Nos. | 143.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.65 | flat junction | item no.165 | 2 | Nos.
2.66 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.166 | 100 | Meter | 979.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.66 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.166 | 100 | Meter
2.67 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.167 | [57 empty] | 2.67 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.167
2.68 | 85 mm flexible cover | item no.168 | 80 | Meter | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.68 | 85 mm flexible cover | item no.168 | 80 | Meter
2.69 | End cap | item no.169 | 16 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.69 | End cap | item no.169 | 16 | Nos.
2.7 | Internal angles- adjustable from 80°-100° | item no.170 | 16 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.7 | Internal angles- adjustable from 80°-100° | item no.170 | 16 | Nos.
2.71 | external angles- adjustable from 60°-120° | item no.171 | 12 | Nos. | 550.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.71 | external angles- adjustable from 60°-120° | item no.171 | 12 | Nos.
2.72 | flat junction | item no.172 | 2 | Nos. | 938.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.72 | flat junction | item no.172 | 2 | Nos.
2.73 | flat angles | item no.173 | 4 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.73 | flat angles | item no.173 | 4 | Nos.
2.74 | separation partitions | item no.174 | 70 | Meter | 260.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.74 | separation partitions | item no.174 | 70 | Meter
2.75 | Joints for 85mm width cover | item no.175 | 30 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.75 | Joints for 85mm width cover | item no.175 | 30 | Nos.
2.76 | base joints | item no.176 | 90 | Nos. | 90.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.76 | base joints | item no.176 | 90 | Nos.
2.77 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.177 | [57 empty] | 2.77 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item no.177
2.78 | 3 module | item no.178 | 7 | Nos. | 300.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.78 | 3 module | item no.178 | 7 | Nos.
2.79 | 6 module | item no.179 | 61 | Nos. | 403.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.79 | 6 module | item no.179 | 61 | Nos.
2.8 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.180 | [57 empty] | 2.8 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | item no.180
2.81 | 6 A switch | item no.181 | 77 | No. | 239.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.81 | 6 A switch | item no.181 | 77 | No.
2.82 | 20 A switch | item no.182 | 70 | No. | 426.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.82 | 20 A switch | item no.182 | 70 | No.
2.83 | 6 A pin 2/3 pin socket outlet | item no.183 | 59 | No. | 279.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.83 | 6 A pin 2/3 pin socket outlet | item no.183 | 59 | No.
2.84 | 6/16 A 3 pin socket outlet | item no.184 | 70 | No. | 546.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.84 | 6/16 A 3 pin socket outlet | item no.184 | 70 | No.
2.85 | Blanking Plate | item no.185 | 3 | No. | 35.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.85 | Blanking Plate | item no.185 | 3 | No.
2.86 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.186 | [57 empty] | 2.86 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffuser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item no.186
2.87 | 36 watt recess mounting LED light fixture 600 x 600 mm | item no.187 | 18 | Nos. | 4654.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.87 | 36 watt recess mounting LED light fixture 600 x 600 mm | item no.187 | 18 | Nos.
2.88 | 36 watt surface mounting LED light fixture 300 x 1200 mm | item no.188 | 12 | Nos. | 5991.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.88 | 36 watt surface mounting LED light fixture 300 x 1200 mm | item no.188 | 12 | Nos.
2.89 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.189 | [57 empty] | 2.89 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.189
2.9 | Single pole 5 A to 32 A | item no.190 | 48 | No. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.9 | Single pole 5 A to 32 A | item no.190 | 48 | No.
2.91 | Single Pole (40A-63A) | item no.191 | 12 | Nos. | 719.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.91 | Single Pole (40A-63A) | item no.191 | 12 | Nos.
2.92 | Four Pole (40A-63A) | item no.192 | 1 | Nos. | 3037.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.92 | Four Pole (40A-63A) | item no.192 | 1 | Nos.
2.93 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | item no.193 | [57 empty] | 2.93 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | item no.193
2.94 | 125 A,36KA,FPMCCB | item no.194 | 2 | No. | 7197.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.94 | 125 A,36KA,FPMCCB | item no.194 | 2 | No.
2.95 | Providing and fixing 25 mm X 5 mm G.l. strip in 40 mm dia G.l. pipe from earth electrode including connection with G.l. nut, bolt, spring, washer excavation and re-filling etc. as required. | item no.195 | 10 | Metre | 619.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.95 | Providing and fixing 25 mm X 5 mm G.l. strip in 40 mm dia G.l. pipe from earth electrode including connection with G.l. nut, bolt, spring, washer excavation and re-filling etc. as required. | item no.195 | 10 | Metre
2.96 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item no.196 | 70 | Metre | 213.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.96 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item no.196 | 70 | Metre
2.97 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item no.197 | 12 | Nos. | 94.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.97 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item no.197 | 12 | Nos.
2.98 | Supply and installation of 400mm sweep AC 230/250 volts, 50 Hz wall mounting revolving fan with brackets etc complete. | item no.198 | 2 | Nos. | 2728.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.98 | Supply and installation of 400mm sweep AC 230/250 volts, 50 Hz wall mounting revolving fan with brackets etc complete. | item no.198 | 2 | Nos.
2.99 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required. | item no.199 | 4 | No. | 1010.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 2.99 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required. | item no.199 | 4 | No.
3 | Supplying, installation, testing & commissioning of manual call boxes of MS construction in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | item no.200 | 1 | No. | 415.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 3 | Supplying, installation, testing & commissioning of manual call boxes of MS construction in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | item no.200 | 1 | No.
3.01 | Supplying, installation, testing & commissioning response indicator on surface/recess MS box having two LEDs metallic cover complete with all connections etc. as required. | item no.201 | 2 | No. | 171.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 3.01 | Supplying, installation, testing & commissioning response indicator on surface/recess MS box having two LEDs metallic cover complete with all connections etc. as required. | item no.201 | 2 | No.
3.02 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.202 | 700 | Meter | 18.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 3.02 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.202 | 700 | Meter
3.03 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.203 | 25 | Nos. | 79.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 3.03 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.203 | 25 | Nos.
3.04 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.204 | [57 empty] | 3.04 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.204
3.05 | 8 way (4 + 24), Double door | item no.205 | 1 | No. | 8912.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 3.05 | 8 way (4 + 24), Double door | item no.205 | 1 | No.
3.06 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, incomer TPN MCCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.206 | [57 empty] | 3.06 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, incomer TPN MCCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.206
3.07 | 12 way , Double door | item no.207 | 1 | No. | 29007.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 3.07 | 12 way , Double door | item no.207 | 1 | No.
3.08 | S & F fan hook I/c cutting the slab and fixing with the reinforcement and making damage, painting etc as the same | item no.208 | 4 | Nos. | 288.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | 3.08 | S & F fan hook I/c cutting the slab and fixing with the reinforcement and making damage, painting etc as the same | item no.208 | 4 | Nos.
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | [5 empty] | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE! | [5 empty] | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words | [59 empty] | Quoted Rate in Words |  | INR Zero Only
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information