## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Replacement of defective hot water storage SS tank including descaling and replacement of defective pipe line in riser with associated works in solar hot water system in various Halls of IIT Kanpur.
NIT No: EandM/16/11/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Replacement of solar hot water storage SS tank of 2000 litrs. capacity with SS socket double pacthed for solar hot & raw water supply in and outlet,drain point and heating elements 3nos.(with pocket for thermostat), after removing old cladding & insulation including dismantling from stand, connecting new socket , leak test after installation on stand etc. (as approved drawing) complete as required. | item no.1 | 1 | set | 203277 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Replacement of solar hot water storage SS tank of 2000 litrs. capacity with SS socket double pacthed for solar hot & raw water supply in and outlet,drain point and heating elements 3nos.(with pocket for thermostat), after removing old cladding & insulation including dismantling from stand, connecting new socket , leak test after installation on stand etc. (as approved drawing) complete as required. | item no.1 | 1 | set | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | Replacement of solar hot water storage SS tank of 1000 litrs. capacity with SS socket double pacthed for solar hot & raw water supply in and outlet,drain point and heating elements 3nos.(with pocket for thermostat), after removing old cladding & insulation including dismantling from stand, connecting new socket , leak test after installation on stand etc. (as approved drawing) complete as required. | item no.2 | 2 | set | 139395 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Replacement of solar hot water storage SS tank of 1000 litrs. capacity with SS socket double pacthed for solar hot & raw water supply in and outlet,drain point and heating elements 3nos.(with pocket for thermostat), after removing old cladding & insulation including dismantling from stand, connecting new socket , leak test after installation on stand etc. (as approved drawing) complete as required. | item no.2 | 2 | set | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Descaling of flat Plate solar panel of 100 LPD capacity including dismantling, cleaning, descaling of hot water tubes of solar water heating system with descaling solution & neutralizing the same i/c. replacement of SS nut, bolt,ss washer with EPDM gasket and re-assembling, testing & commissioning etc. complete as reqd. | item no.3 | 120 | Nos. | 718 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.03 | Descaling of flat Plate solar panel of 100 LPD capacity including dismantling, cleaning, descaling of hot water tubes of solar water heating system with descaling solution & neutralizing the same i/c. replacement of SS nut, bolt,ss washer with EPDM gasket and re-assembling, testing & commissioning etc. complete as reqd. | item no.3 | 120 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Painting more than two coat of solar hot water complete system with flat plate collector panel of capacity 100 LPD including collector stand, hot water storage stand and makeup tank stands, pipe sports after cleaning the surface with sand paper/ cloth etc as reqd. | item no.4 | 120 | Nos. | 529 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.04 | Painting more than two coat of solar hot water complete system with flat plate collector panel of capacity 100 LPD including collector stand, hot water storage stand and makeup tank stands, pipe sports after cleaning the surface with sand paper/ cloth etc as reqd. | item no.4 | 120 | Nos.
1.05 | Locating and rectfying leakage of solar panel tubes of 100 LPD capacity including dismantling,removing and refitting the same after leakage repair with cutting/drilling, patching of copper tube and brazing etc. including leak test complete as reqd. | item no.5 | 9 | Nos. | 820 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.05 | Locating and rectfying leakage of solar panel tubes of 100 LPD capacity including dismantling,removing and refitting the same after leakage repair with cutting/drilling, patching of copper tube and brazing etc. including leak test complete as reqd. | item no.5 | 9 | Nos.
1.06 | Providing and fixing of GM gate valve screw type of following size as per specification i/c dismentalling old complete as required. (Make_Sant, Zoloto, leader or approved list). | item no.6 | [52 empty] | 1.06 | Providing and fixing of GM gate valve screw type of following size as per specification i/c dismentalling old complete as required. (Make_Sant, Zoloto, leader or approved list). | item no.6
1.07 | 25 mm nominal bore | item no.7 | 12 | Nos. | 1581 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.07 | 25 mm nominal bore | item no.7 | 12 | Nos.
1.08 | 32 mm nominal bore | item no.8 | 2 | Nos. | 1852 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.08 | 32 mm nominal bore | item no.8 | 2 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | Supply and fixing SS socket of following sizes SS304 fixing in exisiting hole including removing leakage complete as reqd. | item no.9 | [52 empty] | 1.09 | Supply and fixing SS socket of following sizes SS304 fixing in exisiting hole including removing leakage complete as reqd. | item no.9
1.1 | 32 mm | item no.10 | 14 | Nos. | 802 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | 32 mm | item no.10 | 14 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.11 | 25 mm | item no.11 | 3 | Nos. | 595 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.11 | 25 mm | item no.11 | 3 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.12 | Supply and fixing SS nipple 32 mm dia and 150 long grade_304 with tefflon tape etc. complete as required . | item no.12 | 17 | Nos. | 675 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.12 | Supply and fixing SS nipple 32 mm dia and 150 long grade_304 with tefflon tape etc. complete as required . | item no.12 | 17 | Nos.
1.13 | Supply and fixing SS nipple 25 mm dia and 150 long grade_304 with tefflon tape etc. complete as required . | item no.13 | 4 | Nos. | 553 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.13 | Supply and fixing SS nipple 25 mm dia and 150 long grade_304 with tefflon tape etc. complete as required . | item no.13 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.14 | Supply and fixing SS flanged nipple 65 mm OD ,grade_304 with welded SS nipple 25/ 20 mm ID, 100/150mm long, SS nut, bolts, , washers and gasket (EPDM) etc. complete as required. | item no.14 | 8 | Nos. | 1137 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.14 | Supply and fixing SS flanged nipple 65 mm OD ,grade_304 with welded SS nipple 25/ 20 mm ID, 100/150mm long, SS nut, bolts, , washers and gasket (EPDM) etc. complete as required. | item no.14 | 8 | Nos.
1.15 | Supply and fixing SS dead flange 65 mm OD , grade_304 with 4nos. S S nut,bolts, washers and gasket (EPDM) etc. complete as required. | item no.15 | 14 | Nos. | 672 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.15 | Supply and fixing SS dead flange 65 mm OD , grade_304 with 4nos. S S nut,bolts, washers and gasket (EPDM) etc. complete as required. | item no.15 | 14 | Nos.
1.16 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps,i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.16 | [52 empty] | 1.16 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps,i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.16
1.17 | 15 mm dia nominal bore metre | item no.17 | 10 | Mtrs. | 266.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.17 | 15 mm dia nominal bore metre | item no.17 | 10 | Mtrs.
1.18 | 20 mm dia nominal bore metre | item no.18 | 25 | Mtrs. | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.18 | 20 mm dia nominal bore metre | item no.18 | 25 | Mtrs.
1.19 | 25 mm dia nominal bore metre | item no.19 | 55 | Mtrs. | 430.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.19 | 25 mm dia nominal bore metre | item no.19 | 55 | Mtrs.
1.2 | 32 mm dia nominal bore metre | item no.20 | 15 | Mtrs. | 494.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.2 | 32 mm dia nominal bore metre | item no.20 | 15 | Mtrs.
1.21 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.21 | [52 empty] | 1.21 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.21
1.22 | 20 mm nominal bore | item no.22 | 3 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.22 | 20 mm nominal bore | item no.22 | 3 | each
1.23 | 25 mm nominal bore | item no.23 | 8 | each | 323.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.23 | 25 mm nominal bore | item no.23 | 8 | each
1.24 | 32 mm nominal bore | item no.24 | 4 | each | 359.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.24 | 32 mm nominal bore | item no.24 | 4 | each
1.25 | Supply and Fixing thermal insulation on following size hot water pipe line LRB (Glass wool Pad & chicken mesh wire) 50 mm thick 28 Kg/cum with binding material etc. complete as required. | item no.25 | [52 empty] | 1.25 | Supply and Fixing thermal insulation on following size hot water pipe line LRB (Glass wool Pad & chicken mesh wire) 50 mm thick 28 Kg/cum with binding material etc. complete as required. | item no.25
1.26 | 20 mm. | item no.26 | 18 | Mtrs. | 206 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.26 | 20 mm. | item no.26 | 18 | Mtrs.
1.27 | 25 mm. | item no.27 | 55 | Mtrs. | 214 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.27 | 25 mm. | item no.27 | 55 | Mtrs.
1.28 | 32 mm | item no.28 | 12 | Mtrs. | 222 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.28 | 32 mm | item no.28 | 12 | Mtrs.
1.29 | Providing & Fixing aluminium cladding with aluminium sheet 26 swg on existing pipe of 20/25mm dia duly insulated with 50 mm insulation including cutting,shaping and fixing with screws etc. Complete as required.( make-Hindalco or equivalent). | item no.29 | [52 empty] | 1.29 | Providing & Fixing aluminium cladding with aluminium sheet 26 swg on existing pipe of 20/25mm dia duly insulated with 50 mm insulation including cutting,shaping and fixing with screws etc. Complete as required.( make-Hindalco or equivalent). | item no.29
1.3 | 20 mm. | item no.30 | 18 | Mtrs. | 536 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.3 | 20 mm. | item no.30 | 18 | Mtrs.
1.31 | 25 mm. | item no.31 | 55 | Mtrs. | 536 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.31 | 25 mm. | item no.31 | 55 | Mtrs.
1.32 | 32 mm | item no.32 | 12 | Mtrs. | 544 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.32 | 32 mm | item no.32 | 12 | Mtrs.
1.33 | Supply & making of aluminium cladding bend (500 mm OD approx) suitable for 32/25/20 mm insulated G.I pipe including cutting,shaping,screw and washer etc. complete as required.. | item no.33 | 55 | Nos. | 376 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.33 | Supply & making of aluminium cladding bend (500 mm OD approx) suitable for 32/25/20 mm insulated G.I pipe including cutting,shaping,screw and washer etc. complete as required.. | item no.33 | 55 | Nos.
1.34 | Providing & fixing of glass wool insulation on existing pipe duly laminated with chicken mess wire (LRB matress) of 50 mm thick etc. Complete as reqd. | item no.34 | 26 | sqm. | 621 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.34 | Providing & fixing of glass wool insulation on existing pipe duly laminated with chicken mess wire (LRB matress) of 50 mm thick etc. Complete as reqd. | item no.34 | 26 | sqm.
1.35 | Providing & Fixing aluminium cladding on existing pipe insulation with 26 SWG thick aluminium sheet (make-Hindalco) complete as reqd. | item no.35 | 26 | Sqm. | 1110 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.35 | Providing & Fixing aluminium cladding on existing pipe insulation with 26 SWG thick aluminium sheet (make-Hindalco) complete as reqd. | item no.35 | 26 | Sqm.
1.36 | Supplying and fixing electrical back-up 3 Kw with pocket ISI marked including heating element, & with capilary tube thermostate along with S.S. Enclosure fixed on element socket suitable for protection from water etc as reqd. | item no.36 | 9 | Nos. | 850 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.36 | Supplying and fixing electrical back-up 3 Kw with pocket ISI marked including heating element, & with capilary tube thermostate along with S.S. Enclosure fixed on element socket suitable for protection from water etc as reqd. | item no.36 | 9 | Nos.
1.37 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. (a) Internal Work- Exposed on wall | item no.37 | 60 | Mtrs. | 2.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.37 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. (a) Internal Work- Exposed on wall | item no.37 | 60 | Mtrs.
1.38 | Dismantling and refixing of solar hot water pipe line after removing old damage cladding and insulation, providing required fittings etc. up to 32 mm size including depositing the dismentalled material complete as required. | item no.38 | 15 | Mtrs. | 84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.38 | Dismantling and refixing of solar hot water pipe line after removing old damage cladding and insulation, providing required fittings etc. up to 32 mm size including depositing the dismentalled material complete as required. | item no.38 | 15 | Mtrs.
1.39 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.39 | [52 empty] | 1.39 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.39
1.4 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.40 | 0.5 | Cum. | 5991.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.4 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.40 | 0.5 | Cum.
1.41 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete as required. | item no.41 | 270 | Kgs. | 68.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.41 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete as required. | item no.41 | 270 | Kgs.
1.42 | Providing and fixing of float valve (brass) of following size of approved quality, High or low pressure, with plastic floats i/c dismentalling old complete :(Make_ Approved/ ISI mark) | item no.42 | [52 empty] | 1.42 | Providing and fixing of float valve (brass) of following size of approved quality, High or low pressure, with plastic floats i/c dismentalling old complete :(Make_ Approved/ ISI mark) | item no.42
1.43 | 25 mm nominal bore | item no.43 | 2 | Nos. | 1089 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.43 | 25 mm nominal bore | item no.43 | 2 | Nos.
1.44 | Providing and fixing double scaffolding system (cup lock type) on the exterior side of building/structure, upto 25 metre height, above ground level, including additional rows of scaffolding in stepped manner as per requirement of site, made with 40mm dia M.S. tube, placed 1.5 metre centre to centre, horizontal & vertical tubes joint with cup & lock system with M.S. Tubes, M.S. tube challis, M.S. clamps and staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for execution of work of cleaning and/ or pointing and/ or applying chemical and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connecting with the building etc, wherever required, if feasible, for inspection of work at required locations with essential safety features for the workmen etc., complete as per directions and approval of Engineer-in-charge.Note:- (1) The elevational area of the scaffolding shall be measured for payment purpose. (2) The payment will be made once only for execution of all items for such works. | item no.44 | 120 | sqm. | 249.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.44 | Providing and fixing double scaffolding system (cup lock type) on the exterior side of building/structure, upto 25 metre height, above ground level, including additional rows of scaffolding in stepped manner as per requirement of site, made with 40mm dia M.S. tube, placed 1.5 metre centre to centre, horizontal & vertical tubes joint with cup & lock system with M.S. Tubes, M.S. tube challis, M.S. clamps and staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for execution of work of cleaning and/ or pointing and/ or applying chemical and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connecting with the building etc, wherever required, if feasible, for inspection of work at required locations with essential safety features for the workmen etc., complete as per directions and approval of Engineer-in-charge.Note:- (1) The elevational area of the scaffolding shall be measured for payment purpose. (2) The payment will be made once only for execution of all items for such works. | item no.44 | 120 | sqm.
1.45 | Cost of damage ss tank of 1000 & 2000 litrs capacity under buy back |  | 180 | Kgs. | 20 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.45 | Cost of damage ss tank of 1000 & 2000 litrs capacity under buy back |  | 180 | Kgs.
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information