## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Annual Rate Contract for SITC of water coolers for Non-Academic Buildings with its associated works in IIT Kanpur
NIT No: EandM/04/01/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | item no.1 | [52 empty] | 1 | Component | item no.1
1.01 | SITC of Water Cooler units ISI marked of following capacity of approved make fully Stainless steel FSS anti-corrosive body, tank with In-Situ PUF insulation, 02 no's Faucets, Energy efficient Reciprocating/Rotary compressor with Eco-friendly refrigerant, Auto-cut off, over load feature suitable for 230±10% volts, 50 Hz, 1 phase AC supply etc complete with masonry block , VI pad , accessories as required. | item no.2 | [52 empty] | 1.01 | SITC of Water Cooler units ISI marked of following capacity of approved make fully Stainless steel FSS anti-corrosive body, tank with In-Situ PUF insulation, 02 no's Faucets, Energy efficient Reciprocating/Rotary compressor with Eco-friendly refrigerant, Auto-cut off, over load feature suitable for 230±10% volts, 50 Hz, 1 phase AC supply etc complete with masonry block , VI pad , accessories as required. | item no.2
1.02 | 150 LPH Cooling /150 Ltr Storage Capacity | item no.3 | 25 | Nos | 54505 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | 150 LPH Cooling /150 Ltr Storage Capacity | item no.3 | 25 | Nos
1.03 | 60/80 LPH Cooling /120 Ltr Storage Capacity | item no.4 | 25 | Nos | 49337 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.03 | 60/80 LPH Cooling /120 Ltr Storage Capacity | item no.4 | 25 | Nos
1.04 | Supply & fixing of UV water purifier ISI marked of approved make having inbuilt Sediment filter, Carbon filter, UV LED lamp etc for ground, munciple and soft water suitable for 230±10% volts, 50 Hz, 1 phase AC supply etc complete with accessories as required. | item no.5 | [52 empty] | 1.04 | Supply & fixing of UV water purifier ISI marked of approved make having inbuilt Sediment filter, Carbon filter, UV LED lamp etc for ground, munciple and soft water suitable for 230±10% volts, 50 Hz, 1 phase AC supply etc complete with accessories as required. | item no.5
1.05 | Min 60 LPH Purification Capacity | item no.6 | 50 | Nos | 6210 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.05 | Min 60 LPH Purification Capacity | item no.6 | 50 | Nos
1.06 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall | item no.7 | [52 empty] | 1.06 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall | item no.7
1.07 | 20 mm | item no.8 | 50 | Mtr | 276 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.07 | 20 mm | item no.8 | 50 | Mtr
1.08 | 25 mm | item no.9 | 30 | Mtr | 331 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.08 | 25 mm | item no.9 | 30 | Mtr
1.09 | Supply,laying, testing and commessining of approved make FRLS PVC/ XLPE insulated power/control copper cable of on surface/recessed complete as required. | item no.10 | [52 empty] | 1.09 | Supply,laying, testing and commessining of approved make FRLS PVC/ XLPE insulated power/control copper cable of on surface/recessed complete as required. | item no.10
1.1 | 3 Core x 2.5 sq.mm | item no.11 | 110 | RMT | 164 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | 3 Core x 2.5 sq.mm | item no.11 | 110 | RMT
1.11 | Providing and fixing of Single Phase Plug top ISI Marked for AC (FCU) unit etc i/c dismantling old plug top if any complete as required. | item no.12 | [52 empty] | 1.11 | Providing and fixing of Single Phase Plug top ISI Marked for AC (FCU) unit etc i/c dismantling old plug top if any complete as required. | item no.12
1.12 | 3 pin- 6 Amp. (PVC) | item no.13 | 50 | Nos | 113 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.12 | 3 pin- 6 Amp. (PVC) | item no.13 | 50 | Nos
1.13 | 3 pin- 16 Amp. (PVC) | item no.14 | 30 | Nos | 135 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.13 | 3 pin- 16 Amp. (PVC) | item no.14 | 30 | Nos
1.14 | 3 pin- 16 Amp. (Metalic) | item no.15 | 25 | Nos | 209 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.14 | 3 pin- 16 Amp. (Metalic) | item no.15 | 25 | Nos
1.15 | Providing, laying & fixing of rain forced fiber flexible/soft PVC pipe of size given below etc. complete as reqd. | item no.16 | [52 empty] | 1.15 | Providing, laying & fixing of rain forced fiber flexible/soft PVC pipe of size given below etc. complete as reqd. | item no.16
1.16 | 20 mm | item no.17 | 30 | Mtr | 77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.16 | 20 mm | item no.17 | 30 | Mtr
1.17 | 25 mm | item no.18 | 30 | Mtr | 92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.17 | 25 mm | item no.18 | 30 | Mtr
1.18 | Supply and fixing PVC/UPVC mini trunking (casing-caping) & flexible conduit of following size white-system with independent cover etc. as reqd | item no.19 | [52 empty] | 1.18 | Supply and fixing PVC/UPVC mini trunking (casing-caping) & flexible conduit of following size white-system with independent cover etc. as reqd | item no.19
1.19 | Trunking 20mm x 12mm | item no.20 | 30 | Mtr | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.19 | Trunking 20mm x 12mm | item no.20 | 30 | Mtr
1.2 | Flexible Conduit 20 mm | item no.21 | 50 | Mtr | 40 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.2 | Flexible Conduit 20 mm | item no.21 | 50 | Mtr
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information