## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Supplying and laying of power cables for providing DG power supply and associated works from Substation N0. 7 to newly constructed buildings in Academic area, IIT Kanpur.
NIT No: Electrical/21/02/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.1 | [52 empty] | 1.01 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 80 mm | item no.2 | 10 | Mtr. | 805.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | 80 mm | item no.2 | 10 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | 100 mm | item no.3 | 140 | Mtr. | 1583.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.03 | 100 mm | item no.3 | 140 | Mtr. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm without cover on surface as reqd. | item no.4 | 5 | Mtr. | 979.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.04 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm without cover on surface as reqd. | item no.4 | 5 | Mtr.
1.05 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm accessories on surface as reqd. | item no.5 | [52 empty] | 1.05 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm accessories on surface as reqd. | item no.5
1.06 | PVC trunking full cover of size 85 mm size | item no.6 | 5 | Mtr. | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.06 | PVC trunking full cover of size 85 mm size | item no.6 | 5 | Mtr.
1.07 | End cap | item no.7 | 2 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.07 | End cap | item no.7 | 2 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Internal angle. | item no.8 | 1 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.08 | Internal angle. | item no.8 | 1 | Nos.
1.09 | External angle | item no.9 | 1 | Nos. | 550.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.09 | External angle | item no.9 | 1 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | flat angle | item no.10 | 1 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | flat angle | item no.10 | 1 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.11 | cover joint | item no.11 | 2 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.11 | cover joint | item no.11 | 2 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.12 | Base joint | item no.12 | 2 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.12 | Base joint | item no.12 | 2 | Nos.
1.13 | flat junction | item no.13 | 1 | Nos. | 938.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.13 | flat junction | item no.13 | 1 | Nos.
1.14 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.14 | [52 empty] | 1.14 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.14
1.15 | Mini- trunking | item no.15 | 15 | Mtr. | 227.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.15 | Mini- trunking | item no.15 | 15 | Mtr.
1.16 | End cap left or right | item no.16 | 5 | Nos. | 150.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.16 | End cap left or right | item no.16 | 5 | Nos.
1.17 | Internal/ external angle | item no.17 | 2 | Nos. | 145.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.17 | Internal/ external angle | item no.17 | 2 | Nos.
1.18 | Flat angle | item no.18 | 2 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.18 | Flat angle | item no.18 | 2 | Nos.
1.19 | Flat junction | item no.19 | 2 | Nos. | 143.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.19 | Flat junction | item no.19 | 2 | Nos.
1.2 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.20 | [52 empty] | 1.2 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.20
1.21 | 4 x 16 Sq.mm.. | item no.21 | 30 | Mtr. | 845.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.21 | 4 x 16 Sq.mm.. | item no.21 | 30 | Mtr.
1.22 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | item no.22 | [52 empty] | 1.22 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | item no.22
1.23 | 200 A, 36 KA,FPMCCB | item no.23 | 1 | Nos. | 13332.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.23 | 200 A, 36 KA,FPMCCB | item no.23 | 1 | Nos.
1.24 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.24 | [52 empty] | 1.24 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item no.24
1.25 | 8 way (4 + 24), Double door | item no.25 | 1 | Nos. | 8912.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.25 | 8 way (4 + 24), Double door | item no.25 | 1 | Nos.
1.26 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.26 | [52 empty] | 1.26 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.26
1.27 | Single pole | item no.27 | 3 | Each | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.27 | Single pole | item no.27 | 3 | Each
1.28 | Supplying and fixing 40 amps to 63 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.28 | [52 empty] | 1.28 | Supplying and fixing 40 amps to 63 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.28
1.29 | Triple pole | item no.29 | 3 | Nos. | 2427.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.29 | Triple pole | item no.29 | 3 | Nos.
1.3 | Triple pole and neutral | item no.30 | 6 | Nos. | 3037.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.3 | Triple pole and neutral | item no.30 | 6 | Nos.
1.31 | Supplying & Fixing metal enclosure with aluminium busbar including fixing clamp suitable for XT1 TP/FP MCCB 63 to 250ER as reqd. | item no.31 | 1 | Nos. | 6252.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.31 | Supplying & Fixing metal enclosure with aluminium busbar including fixing clamp suitable for XT1 TP/FP MCCB 63 to 250ER as reqd. | item no.31 | 1 | Nos.
1.32 | Supplying and fixing metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.32 | 3 | Nos. | 585.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.32 | Supplying and fixing metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item no.32 | 3 | Nos.
1.33 | Supplying & fixing copper lugs suitable for upto 25 mm size copper conductor cable. | item no.33 | 24 | Nos. | 27.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.33 | Supplying & fixing copper lugs suitable for upto 25 mm size copper conductor cable. | item no.33 | 24 | Nos.
1.34 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | item no.34 | 1 | Nos. | 11.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.34 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | item no.34 | 1 | Nos.
1.35 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | item no.35 | 1 | Each | 235.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.35 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | item no.35 | 1 | Each
1.36 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for triple pole and neutral, sheet steel, Vertical MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | item no.36 | 1 | Each | 1025.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.36 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for triple pole and neutral, sheet steel, Vertical MCB distribution board, 415 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | item no.36 | 1 | Each
1.37 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | item no.37 | 2 | Nos. | 6010.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.37 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | item no.37 | 2 | Nos.
1.38 | Providing & fixing GI earth strip of size 25mm x 5mm in ground / surface / existing pipe as per specification. | item no.38 | 15 | Mtr | 213.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.38 | Providing & fixing GI earth strip of size 25mm x 5mm in ground / surface / existing pipe as per specification. | item no.38 | 15 | Mtr
1.39 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.39 | [52 empty] | 1.39 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.39
1.4 | Above 95 sq. mm and upto 185 sq. mm | item no.40 | 120 | Mtr. | 370.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.4 | Above 95 sq. mm and upto 185 sq. mm | item no.40 | 120 | Mtr.
1.41 | Above 185 sq. mm and upto 400 sq. mm | item no.41 | 635 | Mtr. | 415.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.41 | Above 185 sq. mm and upto 400 sq. mm | item no.41 | 635 | Mtr.
1.42 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.42 | [52 empty] | 1.42 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item no.42
1.43 | Above 95 sq. mm and upto 185 sq. mm | item no.43 | 320 | Mtr. | 266.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.43 | Above 95 sq. mm and upto 185 sq. mm | item no.43 | 320 | Mtr.
1.44 | Above 185 sq. mm and upto 400 sq. mm | item no.44 | 860 | Mtr. | 312.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.44 | Above 185 sq. mm and upto 400 sq. mm | item no.44 | 860 | Mtr.
1.45 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item no.45 | [52 empty] | 1.45 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item no.45
1.46 | Above 95 sq. mm and upto 185 sq. mm | item no.46 | 10 | Mtr. | 67.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.46 | Above 95 sq. mm and upto 185 sq. mm | item no.46 | 10 | Mtr.
1.47 | Above 185 sq. mm and upto 400 sq. mm | item no.47 | 140 | Mtr. | 117.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.47 | Above 185 sq. mm and upto 400 sq. mm | item no.47 | 140 | Mtr.
1.48 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. | item no.48 | [52 empty] | 1.48 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. | item no.48
1.49 | Above 95 sq. mm and upto 185 sq. mm | item no.49 | 2 | Mtr. | 55.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.49 | Above 95 sq. mm and upto 185 sq. mm | item no.49 | 2 | Mtr.
1.5 | Above 185 sq. mm and upto 400 sq. mm | item no.50 | 135 | Mtr. | 100.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.5 | Above 185 sq. mm and upto 400 sq. mm | item no.50 | 135 | Mtr.
1.51 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item no.51 | [52 empty] | 1.51 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item no.51
1.52 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | item no.52 | 5 | Mtr. | 134.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.52 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | item no.52 | 5 | Mtr.
1.53 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | item no.53 | 82 | Mtr. | 198.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.53 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | item no.53 | 82 | Mtr.
1.54 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. | item no.54 | [52 empty] | 1.54 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. | item no.54
1.55 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | item no.55 | 2 | Mtr. | 100.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.55 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | item no.55 | 2 | Mtr.
1.56 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | item no.56 | 120 | Mtr. | 162.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.56 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | item no.56 | 120 | Mtr.
1.57 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.57 | 14 | Each | 445.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.57 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.57 | 14 | Each
1.58 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.58 | [52 empty] | 1.58 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.58
1.59 | 3½ X 185 sq. mm (57mm) | item no.59 | 6 | Each | 767.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.59 | 3½ X 185 sq. mm (57mm) | item no.59 | 6 | Each
1.6 | 3½ X 240 sq. mm (62mm) | item no.60 | 4 | Each | 871.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.6 | 3½ X 240 sq. mm (62mm) | item no.60 | 4 | Each
1.61 | 3½ X 300 sq. mm (70mm) | item no.61 | 4 | Each | 1047.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.61 | 3½ X 300 sq. mm (70mm) | item no.61 | 4 | Each
1.62 | 3½ X 400 sq. mm (82mm) | item no.62 | 14 | Each | 1364.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.62 | 3½ X 400 sq. mm (82mm) | item no.62 | 14 | Each
1.63 | Supplying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of following size complete as required and as per instruction by Engineer in-charge of approved makes. | item no.63 | [52 empty] | 1.63 | Supplying of one no. XLPE cable aluminum conductor steel armoured power cable of 1.1kV grade of following size complete as required and as per instruction by Engineer in-charge of approved makes. | item no.63
1.64 | 3½ X 150 sq. mm | item no.64 | 45 | Mtr | 768.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.64 | 3½ X 150 sq. mm | item no.64 | 45 | Mtr
1.65 | 3½ X 185 sq. mm | item no.65 | 480 | Mtr | 973.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.65 | 3½ X 185 sq. mm | item no.65 | 480 | Mtr
1.66 | 3½ X 240 sq. mm | item no.66 | 190 | Mtr | 1174.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.66 | 3½ X 240 sq. mm | item no.66 | 190 | Mtr
1.67 | 3½ X 300 sq. mm | item no.67 | 620 | Mtr | 1507.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.67 | 3½ X 300 sq. mm | item no.67 | 620 | Mtr
1.68 | 3½ X 400 sq. mm | item no.68 | 1180 | Mtr | 1939.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.68 | 3½ X 400 sq. mm | item no.68 | 1180 | Mtr
1.69 | Supplying, fixing, testing, connecting and commissioning of 16 gauge powder coated LT Panel out door mountable (IP-65), lockable door, of suitable complete with bus bars , Ampmeter, Ampmeter selector switch , voltmeter , Voltmeter selector switch ,Digital meter, indicating lamps, CT's , Interconnection with suitable capacity aluminium strips / rods, connection of incoming and outgoing cables with thimbles , stove enamelled painted and having following incoming and outgoing MCCB, switch MBC with complete all as required. | item no.69 | [52 empty] | 1.69 | Supplying, fixing, testing, connecting and commissioning of 16 gauge powder coated LT Panel out door mountable (IP-65), lockable door, of suitable complete with bus bars , Ampmeter, Ampmeter selector switch , voltmeter , Voltmeter selector switch ,Digital meter, indicating lamps, CT's , Interconnection with suitable capacity aluminium strips / rods, connection of incoming and outgoing cables with thimbles , stove enamelled painted and having following incoming and outgoing MCCB, switch MBC with complete all as required. | item no.69
1.7 | Main LT Distribution Panel | item no.70 | [52 empty] | 1.7 | Main LT Distribution Panel | item no.70
1.71 | INCOMING: | item no.71 | [52 empty] | 1.71 | INCOMING: | item no.71
1.72 | 1 Nos. of 400 A 415V, 4 Pole MCCB 50kA MP Based Release (O/C &S/C protection), with Rotary Operated Handle Mechanism, Pole spreader for MCCB 400A, 1 nos. Digital type Multifunction Meter, Digital type Voltmeter CL-1.0 with selector switch.1 nos. Digital type Ammeter CL-1.0 with selector switch with CT's 400/5A CL-1.0, 15VA Cast Resin for metering, ON, OFF & RYB phase indicating lamps , 6 no. 5A SP MCB 10 kA for Cont. Ckt. complete as reqiured. | item no.72 | [52 empty] | 1.72 | 1 Nos. of 400 A 415V, 4 Pole MCCB 50kA MP Based Release (O/C &S/C protection), with Rotary Operated Handle Mechanism, Pole spreader for MCCB 400A, 1 nos. Digital type Multifunction Meter, Digital type Voltmeter CL-1.0 with selector switch.1 nos. Digital type Ammeter CL-1.0 with selector switch with CT's 400/5A CL-1.0, 15VA Cast Resin for metering, ON, OFF & RYB phase indicating lamps , 6 no. 5A SP MCB 10 kA for Cont. Ckt. complete as reqiured. | item no.72
1.73 | BUSBARS: | item no.73 | [52 empty] | 1.73 | BUSBARS: | item no.73
1.74 | 1 Set. 400A 50Hz four pole AL. Busbar. | item no.74 | [52 empty] | 1.74 | 1 Set. 400A 50Hz four pole AL. Busbar. | item no.74
1.75 | OUTGOING: | item no.75 | [52 empty] | 1.75 | OUTGOING: | item no.75
1.76 | 2 Nos. 200A 415V, FP MCCB of 36kA with TM Based Release (O/C &S/C protection), 2 no. Rotary Operated Handle Mechanism, 2 no. 4 Pole spreader for MCCB 200A with Digital type Multifunction Meter at each outgoing etc complete as required. | item no.76 | [52 empty] | 1.76 | 2 Nos. 200A 415V, FP MCCB of 36kA with TM Based Release (O/C &S/C protection), 2 no. Rotary Operated Handle Mechanism, 2 no. 4 Pole spreader for MCCB 200A with Digital type Multifunction Meter at each outgoing etc complete as required. | item no.76
1.77 | 2 Nos. 100A 415V, FP MCCB of 25kA with TM Based Release (O/C &S/C protection), 2 no. Rotary Operated Handle Mechanism, 2 no. 4 Pole spreader for MCCB 100A with Digital type Multifunction Meter at each outgoing etc complete as required. | item no.77 | [52 empty] | 1.77 | 2 Nos. 100A 415V, FP MCCB of 25kA with TM Based Release (O/C &S/C protection), 2 no. Rotary Operated Handle Mechanism, 2 no. 4 Pole spreader for MCCB 100A with Digital type Multifunction Meter at each outgoing etc complete as required. | item no.77
1.78 | Cost of LT panel | item no.78 | 1 | Set | 240056.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.78 | Cost of LT panel | item no.78 | 1 | Set
1.79 | Excavation for foundation in soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres. | item no.79 | 1 | Cum | 459.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.79 | Excavation for foundation in soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres. | item no.79 | 1 | Cum
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information