## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work:Various civil construction and renovation works in CEAF building and NCC building, IIT Kanpur
NIT No: Civil/26/02/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | CEMENT CONCRETE (CAST IN SITU) | item no.1 | [52 empty] | 1.01 | CEMENT CONCRETE (CAST IN SITU) | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.2 | [52 empty] | 1.02 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.3 | 3.2 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.03 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.3 | 3.2 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | REINFORCED CEMENT CONCRETE | item no.4 | [52 empty] | 1.04 | REINFORCED CEMENT CONCRETE | item no.4
1.05 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | item no.5 | [52 empty] | 1.05 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | item no.5
1.06 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size de rived from natural sources) | item no.6 | 0.4 | cum | 6966.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.06 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size de rived from natural sources) | item no.6 | 0.4 | cum
1.07 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.7 | 0.2 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.07 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.7 | 0.2 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.8 | [52 empty] | 1.08 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.8
1.09 | Suspended floors, roofs, landings, balconies and access platform | item no.9 | 6 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.09 | Suspended floors, roofs, landings, balconies and access platform | item no.9 | 6 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Weather shade, Chajjas, corbels etc., including edges | item no.10 | 2.5 | sqm | 714.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | Weather shade, Chajjas, corbels etc., including edges | item no.10 | 2.5 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.11 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.11 | [52 empty] | 1.11 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.11 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.12 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.12 | 30 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.12 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.12 | 30 | kg
1.13 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.13 | [52 empty] | 1.13 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.13
1.14 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.14 | 43 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.14 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.14 | 43 | kg
1.15 | MASONRY WORK | item no.15 | [52 empty] | 1.15 | MASONRY WORK | item no.15
1.16 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.16 | [52 empty] | 1.16 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.16
1.17 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.17 | 0.5 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.17 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.17 | 0.5 | cum
1.18 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.18 | [52 empty] | 1.18 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.18
1.19 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.19 | 8 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.19 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.19 | 8 | sqm
1.2 | CLADDING WORK | item no.20 | [52 empty] | 1.2 | CLADDING WORK | item no.20
1.21 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.21 | [52 empty] | 1.21 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.21
1.22 | Granite stone slab colour black, Cherry/Ruby red | item no.22 | [52 empty] | 1.22 | Granite stone slab colour black, Cherry/Ruby red | item no.22
1.23 | Area of slab over 0.50 sqm | item no.23 | 6.5 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.23 | Area of slab over 0.50 sqm | item no.23 | 6.5 | sqm
1.24 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.24 | [52 empty] | 1.24 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.24
1.25 | Granite work | item no.25 | 20 | metre | 367.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.25 | Granite work | item no.25 | 20 | metre
1.26 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.26 | 8 | each | 708.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.26 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.26 | 8 | each
1.27 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. | item no.27 | [52 empty] | 1.27 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. | item no.27
1.28 | Granite Stone of approved shade | item no.28 | 7 | sqm | 3106.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.28 | Granite Stone of approved shade | item no.28 | 7 | sqm
1.29 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.29 | 152 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.29 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.29 | 152 | sqm
1.3 | WOOD AND P. V. C. WORK | item no.30 | [52 empty] | 1.3 | WOOD AND P. V. C. WORK | item no.30
1.31 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. | item no.31 | [52 empty] | 1.31 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. | item no.31
1.32 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.32 | 7 | sqm | 2705.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.32 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.32 | 7 | sqm
1.33 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.33 | [52 empty] | 1.33 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.33
1.34 | 250x16 mm | item no.34 | 4 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.34 | 250x16 mm | item no.34 | 4 | each
1.35 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.35 | [52 empty] | 1.35 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.35
1.36 | 250x10 mm | item no.36 | 4 | each | 91.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.36 | 250x10 mm | item no.36 | 4 | each
1.37 | 200x10 mm | item no.37 | 4 | each | 79.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.37 | 200x10 mm | item no.37 | 4 | each
1.38 | 150x10 mm | item no.38 | 10 | each | 66.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.38 | 150x10 mm | item no.38 | 10 | each
1.39 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.39 | [52 empty] | 1.39 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.39
1.4 | 125 mm | item no.40 | 8 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.4 | 125 mm | item no.40 | 8 | each
1.41 | 100 mm | item no.41 | 10 | each | 46.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.41 | 100 mm | item no.41 | 10 | each
1.42 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | item no.42 | [52 empty] | 1.42 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | item no.42
1.43 | Extruded section profile size 48x40 mm | item no.43 | 25 | metre | 203.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.43 | Extruded section profile size 48x40 mm | item no.43 | 25 | metre
1.44 | Providing and fixing to existing door frames. | item no.44 | [52 empty] | 1.44 | Providing and fixing to existing door frames. | item no.44
1.45 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | item no.45 | 8 | sqm | 1570.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.45 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | item no.45 | 8 | sqm
1.46 | STEEL WORK | item no.46 | [52 empty] | 1.46 | STEEL WORK | item no.46
1.47 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | item no.47 | [52 empty] | 1.47 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | item no.47
1.48 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | item no.48 | 20 | kg | 100.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.48 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | item no.48 | 20 | kg
1.49 | Sub-Total | item no.49 | [52 empty] | 1.49 | Sub-Total | item no.49
1.5 | FLOORING | item no.50 | [52 empty] | 1.5 | FLOORING | item no.50
1.51 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.51 | 42 | sqm | 820.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.51 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.51 | 42 | sqm
1.52 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.52 | 6 | sqm | 822.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.52 | Providing and fixing 1st quality ceramic glazed floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | item no.52 | 6 | sqm
1.53 | Sub-Total | item no.53 | [52 empty] | 1.53 | Sub-Total | item no.53
1.54 | FINISHING | item no.54 | [52 empty] | 1.54 | FINISHING | item no.54
1.55 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.55 | [52 empty] | 1.55 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.55
1.56 | 1:6 (1 cement: 6 coarse sand) | item no.56 | 3522 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.56 | 1:6 (1 cement: 6 coarse sand) | item no.56 | 3522 | sqm
1.57 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | item no.57 | [52 empty] | 1.57 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | item no.57
1.58 | 1:4 (1 cement: 4 fine sand) | item no.58 | 3.5 | sqm | 316.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.58 | 1:4 (1 cement: 4 fine sand) | item no.58 | 3.5 | sqm
1.59 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.59 | [52 empty] | 1.59 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.59
1.6 | Two or more coats on new work | item no.60 | 210 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.6 | Two or more coats on new work | item no.60 | 210 | sqm
1.61 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.61 | [52 empty] | 1.61 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.61
1.62 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.62 | 3522 | sqm | 146.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.62 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.62 | 3522 | sqm
1.63 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.63 | [52 empty] | 1.63 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.63
1.64 | Two or more coats on new work | item no.64 | 8.5 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.64 | Two or more coats on new work | item no.64 | 8.5 | sqm
1.65 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.65 | 3732 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.65 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.65 | 3732 | sqm
1.66 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.66 | [52 empty] | 1.66 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.66
1.67 | Old work (one or more coats) | item no.67 | 100 | sqm | 49.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.67 | Old work (one or more coats) | item no.67 | 100 | sqm
1.68 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.68 | 417 | sqm | 18.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.68 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.68 | 417 | sqm
1.69 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.69 | [52 empty] | 1.69 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.69
1.7 | One or more coats on old work | item no.70 | 15 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.7 | One or more coats on old work | item no.70 | 15 | sqm
1.71 | REPAIRS TO BUILDING | item no.71 | [52 empty] | 1.71 | REPAIRS TO BUILDING | item no.71
1.72 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.72 | [52 empty] | 1.72 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.72
1.73 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.73 | 25 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.73 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.73 | 25 | sqm
1.74 | DISMANTLING AND DEMOLISHING | item no.74 | [52 empty] | 1.74 | DISMANTLING AND DEMOLISHING | item no.74
1.75 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.75 | [52 empty] | 1.75 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.75
1.76 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.76 | 5 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.76 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.76 | 5 | cum
1.77 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.77 | 4.5 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.77 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.77 | 4.5 | cum
1.78 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.78 | 0.3 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.78 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.78 | 0.3 | cum
1.79 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.79 | [52 empty] | 1.79 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.79
1.8 | In cement mortar | item no.80 | 0.5 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.8 | In cement mortar | item no.80 | 0.5 | cum
1.81 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.81 | [52 empty] | 1.81 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.81
1.82 | Of area 3 sq. metres and below | item no.82 | 9 | each | 103.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.82 | Of area 3 sq. metres and below | item no.82 | 9 | each
1.83 | Dismantling tile work in wall cladding floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.83 | [52 empty] | 1.83 | Dismantling tile work in wall cladding floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.83
1.84 | For thickness of tiles 10 mm to 25 mm | item no.84 | 530 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.84 | For thickness of tiles 10 mm to 25 mm | item no.84 | 530 | sqm
1.85 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead : | item no.85 | [52 empty] | 1.85 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead : | item no.85
1.86 | 100 mm dia pipe | item no.86 | 3.5 | metre | 56.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.86 | 100 mm dia pipe | item no.86 | 3.5 | metre
1.87 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.87 | 3762 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.87 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.87 | 3762 | sqm
1.88 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.88 | 65 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.88 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.88 | 65 | cum
1.89 | SANITARY INSTALLATIONS | item no.89 | [52 empty] | 1.89 | SANITARY INSTALLATIONS | item no.89
1.9 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.90 | [52 empty] | 1.9 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.90
1.91 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.91 | 3 | each | 5069.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.91 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.91 | 3 | each
1.92 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : | item no.92 | [52 empty] | 1.92 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : | item no.92
1.93 | Kitchen sink with drain board | item no.93 | [52 empty] | 1.93 | Kitchen sink with drain board | item no.93
1.94 | 510x1040 mm bowl depth 250 mm | item no.94 | 1 | each | 5268.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.94 | 510x1040 mm bowl depth 250 mm | item no.94 | 1 | each
1.95 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.95 | 15 | each | 777.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.95 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.95 | 15 | each
1.96 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.96 | 1 | each | 1237.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.96 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.96 | 1 | each
1.97 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | item no.97 | [52 empty] | 1.97 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | item no.97
1.98 | Rectangular shape 1500x450 mm | item no.98 | 3 | each | 1593.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.98 | Rectangular shape 1500x450 mm | item no.98 | 3 | each
1.99 | Providing and fixing toilet paper holder : | item no.99 | [52 empty] | 1.99 | Providing and fixing toilet paper holder : | item no.99
2 | C.P. brass | item no.100 | 3 | each | 596.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | C.P. brass | item no.100 | 3 | each
2.01 | Providing and fixing soil, waste and vent pipes : | item no.101 | [52 empty] | 2.01 | Providing and fixing soil, waste and vent pipes : | item no.101
2.02 | 100 mm dia | item no.102 | [52 empty] | 2.02 | 100 mm dia | item no.102
2.03 | Sand cast iron S&S pipe as per IS: 1729 | item no.103 | 42 | metre | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.03 | Sand cast iron S&S pipe as per IS: 1729 | item no.103 | 42 | metre
2.04 | 75 mm diameter : | item no.104 | [52 empty] | 2.04 | 75 mm diameter : | item no.104
2.05 | Sand cast iron S&S pipe as per IS: 1729 | item no.105 | 9 | metre | 816.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.05 | Sand cast iron S&S pipe as per IS: 1729 | item no.105 | 9 | metre
2.06 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.106 | [52 empty] | 2.06 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.106
2.07 | 100 mm dia | item no.107 | [52 empty] | 2.07 | 100 mm dia | item no.107
2.08 | Sand cast iron S&S as per IS - 1729 | item no.108 | 8 | each | 465.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.08 | Sand cast iron S&S as per IS - 1729 | item no.108 | 8 | each
2.09 | Providing and fixing plain bend of required degree. | item no.109 | [52 empty] | 2.09 | Providing and fixing plain bend of required degree. | item no.109
2.1 | 100 mm dia | item no.110 | [52 empty] | 2.1 | 100 mm dia | item no.110
2.11 | Sand cast iron S&S as per IS - 1729 | item no.111 | 8 | each | 362.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.11 | Sand cast iron S&S as per IS - 1729 | item no.111 | 8 | each
2.12 | Providing and fixing collar : | item no.112 | [52 empty] | 2.12 | Providing and fixing collar : | item no.112
2.13 | 100 mm | item no.113 | [52 empty] | 2.13 | 100 mm | item no.113
2.14 | Sand cast iron S&S as per IS - 1729 | item no.114 | 9 | each | 350.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.14 | Sand cast iron S&S as per IS - 1729 | item no.114 | 9 | each
2.15 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.115 | [52 empty] | 2.15 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.115
2.16 | 100 mm | item no.116 | 58 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.16 | 100 mm | item no.116 | 58 | each
2.17 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.117 | [52 empty] | 2.17 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.117
2.18 | 100 mm inlet and 100 mm outlet | item no.118 | [52 empty] | 2.18 | 100 mm inlet and 100 mm outlet | item no.118
2.19 | Sand cast iron S&S as per IS: 3989 | item no.119 | 9 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.19 | Sand cast iron S&S as per IS: 3989 | item no.119 | 9 | each
2.2 | 100 mm inlet and 75 mm outlet | item no.120 | [52 empty] | 2.2 | 100 mm inlet and 75 mm outlet | item no.120
2.21 | Sand cast iron S&S as per IS - 3989 | item no.121 | 4 | each | 1465.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.21 | Sand cast iron S&S as per IS - 3989 | item no.121 | 4 | each
2.22 | WATER SUPPLY | item no.122 | [52 empty] | 2.22 | WATER SUPPLY | item no.122
2.23 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.123 | [52 empty] | 2.23 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.123
2.24 | 20 mm dia nominal bore | item no.124 | 6 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.24 | 20 mm dia nominal bore | item no.124 | 6 | metre
2.25 | 32 mm dia nominal bore | item no.125 | 12 | metre | 494.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.25 | 32 mm dia nominal bore | item no.125 | 12 | metre
2.26 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.126 | [52 empty] | 2.26 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.126
2.27 | 15 mm dia nominal bore | item no.127 | 30 | metre | 425.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.27 | 15 mm dia nominal bore | item no.127 | 30 | metre
2.28 | 20 mm dia nominal bore | item no.128 | 14 | metre | 474.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.28 | 20 mm dia nominal bore | item no.128 | 14 | metre
2.29 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.129 | [52 empty] | 2.29 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.129
2.3 | 20 mm dia nominal bore | item no.130 | 46 | metre | 276.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.3 | 20 mm dia nominal bore | item no.130 | 46 | metre
2.31 | 25 mm dia nominal bore | item no.131 | 30 | metre | 366.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.31 | 25 mm dia nominal bore | item no.131 | 30 | metre
2.32 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.132 | [52 empty] | 2.32 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.132
2.33 | 25 to 40 mm nominal bore | item no.133 | 2 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.33 | 25 to 40 mm nominal bore | item no.133 | 2 | each
2.34 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.134 | [52 empty] | 2.34 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.134
2.35 | 25 mm nominal bore | item no.135 | 2 | each | 466.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.35 | 25 mm nominal bore | item no.135 | 2 | each
2.36 | 20 mm nominal bore | item no.136 | 2 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.36 | 20 mm nominal bore | item no.136 | 2 | each
2.37 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.137 | [52 empty] | 2.37 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.137
2.38 | 45 cm length | item no.138 | [52 empty] | 2.38 | 45 cm length | item no.138
2.39 | 15 mm nominal bore | item no.139 | 14 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.39 | 15 mm nominal bore | item no.139 | 14 | each
2.4 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.140 | [52 empty] | 2.4 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.140
2.41 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.141 | 4 | each | 1501.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.41 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.141 | 4 | each
2.42 | Repainting G.I. pipes and fittings with synthetic enamel white paint with one coat of approved quality : | item no.142 | [52 empty] | 2.42 | Repainting G.I. pipes and fittings with synthetic enamel white paint with one coat of approved quality : | item no.142
2.43 | 20 mm diameter pipe | item no.143 | 6 | metre | 8.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.43 | 20 mm diameter pipe | item no.143 | 6 | metre
2.44 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | item no.144 | [52 empty] | 2.44 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | item no.144
2.45 | 20 mm diameter pipe | item no.145 | 46 | metre | 10.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.45 | 20 mm diameter pipe | item no.145 | 46 | metre
2.46 | 25 mm diameter pipe | item no.146 | 30 | metre | 13.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.46 | 25 mm diameter pipe | item no.146 | 30 | metre
2.47 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : | item no.147 | [52 empty] | 2.47 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : | item no.147
2.48 | 20 mm diameter pipe | item no.148 | 46 | metre | 140.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.48 | 20 mm diameter pipe | item no.148 | 46 | metre
2.49 | 25 mm diameter pipe | item no.149 | 30 | metre | 143.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.49 | 25 mm diameter pipe | item no.149 | 30 | metre
2.5 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.150 | [52 empty] | 2.5 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.150
2.51 | 20 mm nominal bore | item no.151 | 3 | each | 622.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.51 | 20 mm nominal bore | item no.151 | 3 | each
2.52 | 25 mm nominal bore | item no.152 | 3 | each | 692.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.52 | 25 mm nominal bore | item no.152 | 3 | each
2.53 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.153 | [52 empty] | 2.53 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.153
2.54 | 15 mm nominal bore | item no.154 | 1 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.54 | 15 mm nominal bore | item no.154 | 1 | each
2.55 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.155 | [52 empty] | 2.55 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.155
2.56 | 15 mm nominal bore | item no.156 | 7 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.56 | 15 mm nominal bore | item no.156 | 7 | each
2.57 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.157 | [52 empty] | 2.57 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.157
2.58 | 15mm nominal bore | item no.158 | 17 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.58 | 15mm nominal bore | item no.158 | 17 | each
2.59 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.159 | 25 | each | 54.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.59 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.159 | 25 | each
2.6 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.160 | 12 | metre | 150.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.6 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.160 | 12 | metre
2.61 | Making hole up to 20x20 cm and embedding pipes up to 150 mm diameter in masonry and filling with cement concrete 1:3:6 (1 cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) including disposal of malba. | item no.161 | 6 | metre | 173.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.61 | Making hole up to 20x20 cm and embedding pipes up to 150 mm diameter in masonry and filling with cement concrete 1:3:6 (1 cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) including disposal of malba. | item no.161 | 6 | metre
2.62 | Providing and fixing in position 125x125 mm stainless steel grating for floor trap/floor drain including fix to floor with cement mortar. | item no.162 | 13 | Each | 151.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.62 | Providing and fixing in position 125x125 mm stainless steel grating for floor trap/floor drain including fix to floor with cement mortar. | item no.162 | 13 | Each
2.63 | DRAINAGE | item no.163 | [52 empty] | 2.63 | DRAINAGE | item no.163
2.64 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | item no.164 | [52 empty] | 2.64 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | item no.164
2.65 | 100 mm diameter | item no.165 | 9 | metre | 329.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.65 | 100 mm diameter | item no.165 | 9 | metre
2.66 | 150 mm diameter | item no.166 | 6 | metre | 518.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.66 | 150 mm diameter | item no.166 | 6 | metre
2.67 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | item no.167 | [52 empty] | 2.67 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | item no.167
2.68 | 100 mm diameter S.W. pipe | item no.168 | 9 | metre | 785.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.68 | 100 mm diameter S.W. pipe | item no.168 | 9 | metre
2.69 | 150 mm diameter S.W. pipe | item no.169 | 6 | metre | 960.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.69 | 150 mm diameter S.W. pipe | item no.169 | 6 | metre
2.7 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item no.170 | [52 empty] | 2.7 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item no.170
2.71 | 100x100 mm size P type | item no.171 | [52 empty] | 2.71 | 100x100 mm size P type | item no.171
2.72 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.172 | 3 | each | 2151.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.72 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.172 | 3 | each
2.73 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality | item no.173 | [52 empty] | 2.73 | Providing and fixing in position pre-cast R.C.C. manhole cover and frame of required shape and approved quality | item no.173
2.74 | H D - 20 | item no.174 | [52 empty] | 2.74 | H D - 20 | item no.174
2.75 | Circular shape 560 mm internal diameter | item no.175 | 2 | each | 1310.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.75 | Circular shape 560 mm internal diameter | item no.175 | 2 | each
2.76 | Raising manhole cover and frame slab to required level including dismantling existing slab and making good the damage as required (Raising depth of manhole to be paid separately) : | item no.176 | [52 empty] | 2.76 | Raising manhole cover and frame slab to required level including dismantling existing slab and making good the damage as required (Raising depth of manhole to be paid separately) : | item no.176
2.77 | Rectangular manhole 90x80 cm with rectangular cover 600 x 450 mm of grade LD - 2.5 | item no.177 | 2 | each | 2388.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.77 | Rectangular manhole 90x80 cm with rectangular cover 600 x 450 mm of grade LD - 2.5 | item no.177 | 2 | each
2.78 | Sub-Total | item no.178 | [52 empty] | 2.78 | Sub-Total | item no.178
2.79 | ALUMINIUM WORK | item no.179 | [52 empty] | 2.79 | ALUMINIUM WORK | item no.179
2.8 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. | item no.180 | [52 empty] | 2.8 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. | item no.180
2.81 | Upto 5mm depth and 5 mm width | item no.181 | 365 | metre | 74.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.81 | Upto 5mm depth and 5 mm width | item no.181 | 365 | metre
2.82 | NEW TECHNOLOGIES AND MATERIALS | item no.182 | [52 empty] | 2.82 | NEW TECHNOLOGIES AND MATERIALS | item no.182
2.83 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.183 | [52 empty] | 2.83 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.183
2.84 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.184 | 3 | sqm | 103.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.84 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.184 | 3 | sqm
2.85 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. | item no.185 | [52 empty] | 2.85 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. | item no.185
2.86 | 12 mm average thickness. | item no.186 | 3 | sqm | 291.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.86 | 12 mm average thickness. | item no.186 | 3 | sqm
2.87 | MINOR CIVIL MAINTENANCE WORK: | item no.187 | [52 empty] | 2.87 | MINOR CIVIL MAINTENANCE WORK: | item no.187
2.88 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.188 | 4.5 | Cum | 5225.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.88 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.188 | 4.5 | Cum
2.89 | Rebaring of reinforcement steel in slab/beam/lintel including bonding material, drilling holes and labour etc all complete, 10 mm dia of bars. | item no.189 | 30 | Each | 516.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.89 | Rebaring of reinforcement steel in slab/beam/lintel including bonding material, drilling holes and labour etc all complete, 10 mm dia of bars. | item no.189 | 30 | Each
2.9 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.190 | 25 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.9 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.190 | 25 | Each
2.91 | Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. | item no.191 | 7 | Each | 1396.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.91 | Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. | item no.191 | 7 | Each
2.92 | Providing and fixing of white vitreous china under counter oval wash basin 560x450 mm , Hindware cat no. 10017 or approved equivalent with CP brass waste assembly, wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer in charge. | item no.192 | 7 | Each | 2358.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.92 | Providing and fixing of white vitreous china under counter oval wash basin 560x450 mm , Hindware cat no. 10017 or approved equivalent with CP brass waste assembly, wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer in charge. | item no.192 | 7 | Each
2.93 | Providing and Fixing white vitreous china flat back half stall urinal of size 580x 380 x 350 mm with fittings standard size, C.P. Brass domical waste 32 mm , C.P. Brass spreders 15 mm , C.P. Connection pipe with Brass union & clamp and C.P Brass Push Cock 15 mm including cutting & making good the wall. | item no.193 | 7 | Each | 6911.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.93 | Providing and Fixing white vitreous china flat back half stall urinal of size 580x 380 x 350 mm with fittings standard size, C.P. Brass domical waste 32 mm , C.P. Brass spreders 15 mm , C.P. Connection pipe with Brass union & clamp and C.P Brass Push Cock 15 mm including cutting & making good the wall. | item no.193 | 7 | Each
2.94 | Providing and Fixing C.P. Towel Rod 600 mm etc complete of Approved quality | item no.194 | 1 | Each | 422.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.94 | Providing and Fixing C.P. Towel Rod 600 mm etc complete of Approved quality | item no.194 | 1 | Each
2.95 | Providing and fixing CP health faucet (hand shower) of approved quality for European type WC/ IWC of standard make fixed on existing angle valve etc. Complete. | item no.195 | 3 | Each | 850.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.95 | Providing and fixing CP health faucet (hand shower) of approved quality for European type WC/ IWC of standard make fixed on existing angle valve etc. Complete. | item no.195 | 3 | Each
2.96 | Providing and fixing CP Liquid soap Dispenser (Container) of standared mark fix on the wall with screw etc. Complete. | item no.196 | 6 | Each | 1213.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.96 | Providing and fixing CP Liquid soap Dispenser (Container) of standared mark fix on the wall with screw etc. Complete. | item no.196 | 6 | Each
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K179: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K194: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information