## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Setting right of various Type II and Type IV houses in IIT Kanpur
NIT No: Civil/21/03/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | item no.1 | [52 empty] | 1 | EARTH WORK | item no.1
2 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | item no.2 | [52 empty] | 2 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | item no.2
3 | All kinds of soil | item no.3 | 60 | sqm | 93.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | All kinds of soil |  | 60 | sqm
4 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.4 | [52 empty] | 4 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, for all lift, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
5 | All kinds of soil. | item no.5 | 3 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 5 | All kinds of soil. |  | 3 | cum
6 | CEMENT CONCRETE (CAST IN SITU) | item no.6 | [52 empty] | 6 | CEMENT CONCRETE (CAST IN SITU)
7 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.7 | [52 empty] | 7 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
8 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.8 | 1 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 8 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 1 | cum
9 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.9 | [52 empty] | 9 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing:
10 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.10 | 3.4 | cum | 8220.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 10 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 3.4 | cum
11 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.11 | 50 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 11 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 50 | sqm
12 | REINFORCED CEMENT CONCRETE | item no.12 | [52 empty] | 12 | REINFORCED CEMENT CONCRETE
13 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fllets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement: | item no.13 | [52 empty] | 13 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fllets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement:
14 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.14 | 0.5 | cum | 8930.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 14 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 0.5 | cum
15 | Reinforced cement concrete work in beams, suspended foors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.15 | 9 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 15 | Reinforced cement concrete work in beams, suspended foors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 9 | cum
16 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.16 | [52 empty] | 16 | Centering and shuttering including strutting, propping etc. and removal of form for
17 | Foundations, footings, bases of columns, etc. for mass concrete. | item no.17 | 2 | sqm | 270.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 17 | Foundations, footings, bases of columns, etc. for mass concrete. |  | 2 | sqm
18 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.18 | 2 | sqm | 587.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 18 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. |  | 2 | sqm
19 | Suspended floors, roofs, landings, balconies and access platform | item no.19 | 4 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 19 | Suspended floors, roofs, landings, balconies and access platform |  | 4 | sqm
20 | Shelves (Cast in situ) | item no.20 | 10 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 20 | Shelves (Cast in situ) |  | 10 | sqm
21 | Stairs, (excluding landings) except spiral-staircases | item no.21 | 14 | sqm | 576.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 21 | Stairs, (excluding landings) except spiral-staircases |  | 14 | sqm
22 | Edges of slabs and breaks in floors and walls | item no.22 | [52 empty] | 22 | Edges of slabs and breaks in floors and walls
23 | Under 20 cm wide | item no.23 | 60 | metre | 159.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 23 | Under 20 cm wide |  | 60 | metre
24 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.24 | [52 empty] | 24 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
25 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.25 | 860 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 25 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 860 | kg
26 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.26 | 100 | metre | 56.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 26 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. |  | 100 | metre
27 | MASONRY WORK | item no.27 | [52 empty] | 27 | MASONRY WORK
28 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | item no.28 | [52 empty] | 28 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in:
29 | Cement Mortar 1:6 (1 cement : 6 coarse sand). | item no.29 | 1 | cum | 4866.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 29 | Cement Mortar 1:6 (1 cement : 6 coarse sand). |  | 1 | cum
30 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.30 | [52 empty] | 30 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
31 | Cement mortar 1:6(1 cement: 6 coarse sand) | item no.31 | 16 | cum | 7267.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 31 | Cement mortar 1:6(1 cement: 6 coarse sand) |  | 16 | cum
32 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.32 | [52 empty] | 32 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
33 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.33 | 9.08 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 33 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 9.08 | sqm
34 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.34 | 50 | metre | 48.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 34 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). |  | 50 | metre
35 | CLADDING WORK | item no.35 | [52 empty] | 35 | CLADDING WORK
36 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | item no.36 | [52 empty] | 36 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.
37 | Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble | item no.37 | [52 empty] | 37 | Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble
38 | Area of slab over 0.50 sqm | item no.38 | 5.5 | sqm | 2314.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 38 | Area of slab over 0.50 sqm |  | 5.5 | sqm
39 | Granite stone slab of colour black, Cherry/Ruby red | item no.39 | [52 empty] | 39 | Granite stone slab of colour black, Cherry/Ruby red
40 | Area of slab upto 0.50 sqm | item no.40 | 5 | sqm | 4102.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 40 | Area of slab upto 0.50 sqm |  | 5 | sqm
41 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.41 | [52 empty] | 41 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.
42 | Marble work | item no.42 | 10 | metre | 214.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 42 | Marble work |  | 10 | metre
43 | Granite work | item no.43 | 10 | metre | 367.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 43 | Granite work |  | 10 | metre
44 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.44 | 1 | each | 708.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 44 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. |  | 1 | each
45 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.45 | 90 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 45 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 90 | sqm
46 | WOOD AND P. V. C. WORK | item no.46 | [52 empty] | 46 | WOOD AND P. V. C. WORK
47 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.47 | [52 empty] | 47 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).
48 | Sal wood | item no.48 | 0.3 | cum | 93573.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 48 | Sal wood |  | 0.3 | cum
49 | Providing and fixing panelled or panelled and glazed shutters for doors, windows and clerestory windows, fixing with butt hinges of required size with necessary screws, excluding panelling which will be paid for separately, all complete as per direction of Engineer-in-charge. (Note:- Butt hinges and necessary screws shall be paid separately) | item no.49 | [52 empty] | 49 | Providing and fixing panelled or panelled and glazed shutters for doors, windows and clerestory windows, fixing with butt hinges of required size with necessary screws, excluding panelling which will be paid for separately, all complete as per direction of Engineer-in-charge. (Note:- Butt hinges and necessary screws shall be paid separately)
50 | Second class teak wood | item no.50 | [52 empty] | 50 | Second class teak wood
51 | 35 mm thick shutters | item no.51 | 6 | sqm | 3248.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 51 | 35 mm thick shutters |  | 6 | sqm
52 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, (weight not less than 10 kg per sqm) fixing with ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.52 | [52 empty] | 52 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, (weight not less than 10 kg per sqm) fixing with ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws.
53 | Second class teak wood | item no.53 | [52 empty] | 53 | Second class teak wood
54 | 35 mm thick | item no.54 | 7 | sqm | 3909.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 54 | 35 mm thick |  | 7 | sqm
55 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | item no.55 | [52 empty] | 55 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.
56 | Fixed to openings /wooden frames with rawl plugs screws etc. | item no.56 | 50 | kg | 173.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 56 | Fixed to openings /wooden frames with rawl plugs screws etc. |  | 50 | kg
57 | Providing 40x5 mm flat iron hold fast 400 mm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 300x100x150 mm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | item no.57 | 8 | each | 170.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 57 | Providing 40x5 mm flat iron hold fast 400 mm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 300x100x150 mm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). |  | 8 | each
58 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : (copper oxidized as per IS: 1378) | item no.58 | [52 empty] | 58 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : (copper oxidized as per IS: 1378)
59 | 250x16 mm | item no.59 | 2 | each | 145.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 59 | 250x16 mm |  | 2 | each
60 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : (copper oxidized as per IS: 1378) | item no.60 | [52 empty] | 60 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : (copper oxidized as per IS: 1378)
61 | 200x10 mm | item no.61 | 6 | each | 53.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 61 | 200x10 mm |  | 6 | each
62 | 150x10 mm | item no.62 | 6 | each | 46.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 62 | 150x10 mm |  | 6 | each
63 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : (copper oxidized as per IS: 1378) | item no.63 | [52 empty] | 63 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : (copper oxidized as per IS: 1378)
64 | 125 mm | item no.64 | 12 | each | 30.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 64 | 125 mm |  | 12 | each
65 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.65 | [52 empty] | 65 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
66 | 250x16 mm | item no.66 | 10 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 66 | 250x16 mm |  | 10 | each
67 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.67 | [52 empty] | 67 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
68 | 200x10 mm | item no.68 | 8 | each | 79.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 68 | 200x10 mm |  | 8 | each
69 | 150x10 mm | item no.69 | 44 | each | 66.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 69 | 150x10 mm |  | 44 | each
70 | 100x10 mm | item no.70 | 40 | each | 51.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 70 | 100x10 mm |  | 40 | each
71 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.71 | [52 empty] | 71 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
72 | 125 mm | item no.72 | 24 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 72 | 125 mm |  | 24 | each
73 | 100 mm | item no.73 | 40 | each | 46.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 73 | 100 mm |  | 40 | each
74 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.74 | [52 empty] | 74 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
75 | Twin rubber stopper | item no.75 | 50 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 75 | Twin rubber stopper |  | 50 | each
76 | Providing and fixing aluminium casement stays, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.76 | 40 | each | 56.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 76 | Providing and fixing aluminium casement stays, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. |  | 40 | each
77 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer-in-charge | item no.77 | [52 empty] | 77 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer-in-charge
78 | Extruded section profile size 48x40 mm | item no.78 | 30 | metre | 203.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 78 | Extruded section profile size 48x40 mm |  | 30 | metre
79 | Providing and fixing to existing door frames. | item no.79 | [52 empty] | 79 | Providing and fixing to existing door frames.
80 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | item no.80 | 9.5 | sqm | 1570.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 80 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). |  | 9.5 | sqm
81 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws | item no.81 | [52 empty] | 81 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws
82 | 35 mm thick shutters | item no.82 | [52 empty] | 82 | 35 mm thick shutters
83 | with ISI marked M.S. pressed butt hinges bright finished of required size | item no.83 | [52 empty] | 83 | with ISI marked M.S. pressed butt hinges bright finished of required size
84 | Second class teak wood | item no.84 | 10 | sqm | 3932.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 84 | Second class teak wood |  | 10 | sqm
85 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.85 | [52 empty] | 85 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete.
86 | With 2nd class teak wood beading 62X19 mm | item no.86 | 35 | sqm | 1231.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 86 | With 2nd class teak wood beading 62X19 mm |  | 35 | sqm
87 | STEEL WORK | item no.87 | [52 empty] | 87 | STEEL WORK
88 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.88 | [52 empty] | 88 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
89 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.89 | 1380 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 89 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works |  | 1380 | kg
90 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | item no.90 | [52 empty] | 90 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer.
91 | M.S. tube | item no.91 | 470 | kg | 137.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 91 | M.S. tube |  | 470 | kg
92 | FLOORING | item no.92 | [52 empty] | 92 | FLOORING
93 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks: | item no.93 | [52 empty] | 93 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks:
94 | 1:6 (1cement : 6 coarse sand) | item no.94 | 5 | sqm | 787.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 94 | 1:6 (1cement : 6 coarse sand) |  | 5 | sqm
95 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.95 | [52 empty] | 95 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
96 | 40 mm thick with 20 mm nominal size stone aggregate | item no.96 | 80 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 96 | 40 mm thick with 20 mm nominal size stone aggregate |  | 80 | sqm
97 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.97 | [52 empty] | 97 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement.
98 | 18 mm thick | item no.98 | 2 | sqm | 500.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 98 | 18 mm thick |  | 2 | sqm
99 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.99 | [52 empty] | 99 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors.
100 | 40 mm wide and 4 mm thick | item no.100 | 40 | metre | 69.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 100 | 40 mm wide and 4 mm thick |  | 40 | metre
101 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.101 | 14 | sqm | 820.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 101 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. |  | 14 | sqm
102 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | item no.102 | [52 empty] | 102 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.
103 | Double charge vitrified tile polished finish of size | item no.103 | [52 empty] | 103 | Double charge vitrified tile polished finish of size
104 | Size of Tile 600 x 600 mm | item no.104 | 138 | sqm | 1128.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 104 | Size of Tile 600 x 600 mm |  | 138 | sqm
105 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.105 | [52 empty] | 105 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.
106 | Size of Tile 600x600 mm | item no.106 | 17 | sqm | 1285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 106 | Size of Tile 600x600 mm |  | 17 | sqm
107 | ROOFING | item no.107 | [52 empty] | 107 | ROOFING
108 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.108 | [52 empty] | 108 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required.
109 | 0.63 mm thick with zinc coating not less than 275 gm/ m² | item no.109 | 15 | sqm | 857.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 109 | 0.63 mm thick with zinc coating not less than 275 gm/ m² |  | 15 | sqm
110 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section. | item no.110 | 12.3 | metre | 143.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 110 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section. |  | 12.3 | metre
111 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : | item no.111 | [52 empty] | 111 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design :
112 | In 75x75 mm deep chase | item no.112 | 60 | metre | 228.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 112 | In 75x75 mm deep chase |  | 60 | metre
113 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.113 | 6 | each | 233.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 113 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. |  | 6 | each
114 | Providing and fixing M.S. holder bat clamps of approved design to C.I. or S.C.I. rain water pipes embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and cost of cutting holes and making good the walls etc. : | item no.114 | [52 empty] | 114 | Providing and fixing M.S. holder bat clamps of approved design to C.I. or S.C.I. rain water pipes embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and cost of cutting holes and making good the walls etc. :
115 | 100 mm diameter | item no.115 | 8 | each | 270.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 115 | 100 mm diameter |  | 8 | each
116 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.116 | [52 empty] | 116 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.
117 | 110 mm diameter | item no.117 | 8 | metre | 280.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 117 | 110 mm diameter |  | 8 | metre
118 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.118 | [52 empty] | 118 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.
119 | Bend 87.5° | item no.119 | [52 empty] | 119 | Bend 87.5°
120 | 110 mm bend | item no.120 | 3 | each | 115.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 120 | 110 mm bend |  | 3 | each
121 | Shoe (Plain) | item no.121 | [52 empty] | 121 | Shoe (Plain)
122 | 110 mm Shoe | item no.122 | 3 | each | 101.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 122 | 110 mm Shoe |  | 3 | each
123 | FINISHING | item no.123 | [52 empty] | 123 | FINISHING
124 | 12 mm cement plaster of mix : | item no.124 | [52 empty] | 124 | 12 mm cement plaster of mix :
125 | 1:6 (1 cement: 6 coarse sand) | item no.125 | 140 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 125 | 1:6 (1 cement: 6 coarse sand) |  | 140 | sqm
126 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.126 | [52 empty] | 126 | 15 mm cement plaster on rough side of single or half brick wall of mix:
127 | 1:6 (1 cement: 6 coarse sand) | item no.127 | 130 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 127 | 1:6 (1 cement: 6 coarse sand) |  | 130 | sqm
128 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | item no.128 | [52 empty] | 128 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
129 | 1:4 (1 cement: 4 fine sand) | item no.129 | 70 | sqm | 316.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 129 | 1:4 (1 cement: 4 fine sand) |  | 70 | sqm
130 | 6 mm cement plaster of mix : | item no.130 | [52 empty] | 130 | 6 mm cement plaster of mix :
131 | 1:3 (1 cement : 3 fine sand) | item no.131 | 20 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 131 | 1:3 (1 cement : 3 fine sand) |  | 20 | sqm
132 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.132 | [52 empty] | 132 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
133 | Two or more coats on new work | item no.133 | 1750 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 133 | Two or more coats on new work |  | 1750 | sqm
134 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.134 | [52 empty] | 134 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
135 | New work (Two or more coats applied @ 1.43 Itr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | item no.135 | 700 | sqm | 142.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 135 | New work (Two or more coats applied @ 1.43 Itr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) |  | 700 | sqm
136 | White washing with lime to give an even shade : | item no.136 | [52 empty] | 136 | White washing with lime to give an even shade :
137 | Old work (two or more coats) | item no.137 | 1100 | sqm | 16.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 137 | Old work (two or more coats) |  | 1100 | sqm
138 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.138 | 1750 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 138 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 1750 | sqm
139 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.139 | [52 empty] | 139 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
140 | One or more coats on old work | item no.140 | 970 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 140 | One or more coats on old work |  | 970 | sqm
141 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.141 | [52 empty] | 141 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
142 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | item no.142 | 810 | sqm | 95.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 142 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface |  | 810 | sqm
143 | REPAIRS TO BUILDING | item no.143 | [52 empty] | 143 | REPAIRS TO BUILDING
144 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.144 | [52 empty] | 144 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
145 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.145 | 50 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 145 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 50 | sqm
146 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.146 | [52 empty] | 146 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
147 | Door chowkhats | item no.147 | 4 | each | 1319.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 147 | Door chowkhats |  | 4 | each
148 | Window chowkhats | item no.148 | 9 | each | 831.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 148 | Window chowkhats |  | 9 | each
149 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.149 | 132 | sqm | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 149 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. |  | 132 | sqm
150 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.150 | 21 | each | 285.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 150 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. |  | 21 | each
151 | Dismantling and Demolishing | item no.151 | [52 empty] | 151 | Dismantling and Demolishing
152 | Demolishing lime concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of Engineer-in-charge. | item no.152 | 35 | cum | 615.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 152 | Demolishing lime concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of Engineer-in-charge. |  | 35 | cum
153 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.153 | [52 empty] | 153 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
154 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.154 | 20.5 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 154 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 20.5 | cum
155 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.155 | 12 | cum | 1086.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 155 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 12 | cum
156 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.156 | [52 empty] | 156 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
157 | In cement mortar | item no.157 | 4.5 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 157 | In cement mortar |  | 4.5 | cum
158 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.158 | [52 empty] | 158 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
159 | Of area 3 sq. metres and below | item no.159 | 8 | each | 265.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 159 | Of area 3 sq. metres and below |  | 8 | each
160 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.160 | [52 empty] | 160 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
161 | Of area 3 sq. metres and below | item no.161 | 6 | each | 103.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 161 | Of area 3 sq. metres and below |  | 6 | each
162 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.162 | [52 empty] | 162 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
163 | For thickness of tiles 10 mm to 25 mm | item no.163 | 90 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 163 | For thickness of tiles 10 mm to 25 mm |  | 90 | sqm
164 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.164 | 80 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 164 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 80 | sqm
165 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.165 | 80 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 165 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 80 | cum
166 | SANITARY INSTALLATIONS | item no.166 | [52 empty] | 166 | SANITARY INSTALLATIONS
167 | Providing and fixing white vitreous china pedestal type water closet(European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.167 | [52 empty] | 167 | Providing and fixing white vitreous china pedestal type water closet(European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :
168 | W.C. pan with ISI marked black solid plastic seat and lid | item no.168 | 7 | each | 4758.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 168 | W.C. pan with ISI marked black solid plastic seat and lid |  | 7 | each
169 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | item no.169 | [52 empty] | 169 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
170 | White Vitreous China Flat back wash basin size 550x400 mm with single 15 mm C.P. brass pillar tap | item no.170 | 7 | each | 2394.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 170 | White Vitreous China Flat back wash basin size 550x400 mm with single 15 mm C.P. brass pillar tap |  | 7 | each
171 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm,including painting of fittings and brackets, cutting and making good the walls wherever required : | item no.171 | [52 empty] | 171 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm,including painting of fittings and brackets, cutting and making good the walls wherever required :
172 | Kitchen sink with drain board | item no.172 | [52 empty] | 172 | Kitchen sink with drain board
173 | 510x1040 mm bowl depth 225 mm | item no.173 | 3 | each | 5854.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 173 | 510x1040 mm bowl depth 225 mm |  | 3 | each
174 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | item no.174 | 10 | each | 262.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 174 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. |  | 10 | each
175 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.175 | 7 | each | 777.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 175 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. |  | 7 | each
176 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.176 | 7 | each | 5365.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 176 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia |  | 7 | each
177 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.177 | [52 empty] | 177 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
178 | Flexible pipe | item no.178 | [52 empty] | 178 | Flexible pipe
179 | 32 mm dia | item no.179 | 22 | each | 91.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 179 | 32 mm dia |  | 22 | each
180 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard boardground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.180 | 10 | each | 1237.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 180 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard boardground fixed to wooden cleats with C.P. brass screws and washers complete. |  | 10 | each
181 | Providing and fixing soil, waste and vent pipes : | item no.181 | [52 empty] | 181 | Providing and fixing soil, waste and vent pipes :
182 | 100 mm dia | item no.182 | [52 empty] | 182 | 100 mm dia
183 | Centrifugally cast (spun) iron socket &spigot (S&S) pipe as per IS: 3989 | item no.183 | 31 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 183 | Centrifugally cast (spun) iron socket &spigot (S&S) pipe as per IS: 3989 |  | 31 | metre
184 | 75 mm diameter : | item no.184 | [52 empty] | 184 | 75 mm diameter :
185 | Centrifugally cast (spun) iron socketed pipeas per IS: 3989 | item no.185 | 17 | metre | 913.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 185 | Centrifugally cast (spun) iron socketed pipeas per IS: 3989 |  | 17 | metre
186 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.186 | [52 empty] | 186 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
187 | 100 mm dia | item no.187 | [52 empty] | 187 | 100 mm dia
188 | Sand cast iron S&S as per IS - 3989 | item no.188 | 4 | each | 523.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 188 | Sand cast iron S&S as per IS - 3989 |  | 4 | each
189 | Providing and fixing plain bend of required degree. | item no.189 | [52 empty] | 189 | Providing and fixing plain bend of required degree.
190 | 100 mm dia | item no.190 | [52 empty] | 190 | 100 mm dia
191 | Sand cast iron S&S as per IS : 3989 | item no.191 | 9 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 191 | Sand cast iron S&S as per IS : 3989 |  | 9 | each
192 | Providing and fixing collar : | item no.192 | [52 empty] | 192 | Providing and fixing collar :
193 | 100 mm | item no.193 | [52 empty] | 193 | 100 mm
194 | Sand cast iron S&S as per IS - 3989 | item no.194 | 10 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 194 | Sand cast iron S&S as per IS - 3989 |  | 10 | each
195 | 75 mm | item no.195 | [52 empty] | 195 | 75 mm
196 | Sand cast iron S&S as per IS - 3989 | item no.196 | 6 | each | 238.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 196 | Sand cast iron S&S as per IS - 3989 |  | 6 | each
197 | Providing lead caulked joints to sand cast iron/centrifugally cast(spun) iron pipes and fittings of diameter : | item no.197 | [52 empty] | 197 | Providing lead caulked joints to sand cast iron/centrifugally cast(spun) iron pipes and fittings of diameter :
198 | 100 mm | item no.198 | 34 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 198 | 100 mm |  | 34 | each
199 | 75 mm | item no.199 | 14 | each | 408.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 199 | 75 mm |  | 14 | each
200 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.200 | [52 empty] | 200 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
201 | 100 mm inlet and 100 mm outlet | item no.201 | [52 empty] | 201 | 100 mm inlet and 100 mm outlet
202 | Sand cast iron S&S as per IS: 3989 | item no.202 | 8 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 202 | Sand cast iron S&S as per IS: 3989 |  | 8 | each
203 | 100 mm inlet and 75 mm outlet | item no.203 | [52 empty] | 203 | 100 mm inlet and 75 mm outlet
204 | Sand cast iron S&S as per IS - 3989 | item no.204 | 5 | each | 1465.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 204 | Sand cast iron S&S as per IS - 3989 |  | 5 | each
205 | WATER SUPPLY | item no.205 | [52 empty] | 205 | WATER SUPPLY
206 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.206 | [52 empty] | 206 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
207 | 15 mm dia nominal bore | item no.207 | 20 | metre | 266.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 207 | 15 mm dia nominal bore |  | 20 | metre
208 | 20 mm dia nominal bore | item no.208 | 100 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 208 | 20 mm dia nominal bore |  | 100 | metre
209 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.209 | [52 empty] | 209 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall :
210 | 15 mm dia nominal bore | item no.210 | 40 | metre | 425.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 210 | 15 mm dia nominal bore |  | 40 | metre
211 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.211 | [52 empty] | 211 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
212 | 15 mm dia nominal bore | item no.212 | 15 | metre | 234.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 212 | 15 mm dia nominal bore |  | 15 | metre
213 | 20 mm dia nominal bore | item no.213 | 30 | metre | 276.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 213 | 20 mm dia nominal bore |  | 30 | metre
214 | 25 mm dia nominal bore | item no.214 | 10 | metre | 366.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 214 | 25 mm dia nominal bore |  | 10 | metre
215 | 32 mm dia nominal bore | item no.215 | 5 | metre | 401.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 215 | 32 mm dia nominal bore |  | 5 | metre
216 | Making connection of G.I. distribution branch with G.I main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete: | item no.216 | [52 empty] | 216 | Making connection of G.I. distribution branch with G.I main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete:
217 | 25 to 40 mm nominal bore | item no.217 | 1 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 217 | 25 to 40 mm nominal bore |  | 1 | each
218 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.218 | [52 empty] | 218 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
219 | 25 mm nominal bore | item no.219 | 1 | each | 466.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 219 | 25 mm nominal bore |  | 1 | each
220 | 20 mm nominal bore | item no.220 | 6 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 220 | 20 mm nominal bore |  | 6 | each
221 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | item no.221 | [52 empty] | 221 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :
222 | 20 mm nominal bore | item no.222 | 2 | each | 348.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 222 | 20 mm nominal bore |  | 2 | each
223 | Providing and fixing brass ferrule with C.I. mouth cover including boring and tapping the main : | item no.223 | [52 empty] | 223 | Providing and fixing brass ferrule with C.I. mouth cover including boring and tapping the main :
224 | 20 mm nominal bore | item no.224 | 1 | each | 305.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 224 | 20 mm nominal bore |  | 1 | each
225 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.225 | [52 empty] | 225 | Providing and fixing uplasticised PVC connection pipe with brass unions :
226 | 45 cm length | item no.226 | [52 empty] | 226 | 45 cm length
227 | 15 mm nominal bore | item no.227 | 22 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 227 | 15 mm nominal bore |  | 22 | each
228 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in reinforced cement concrete slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10) 1 cement :5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.228 | [52 empty] | 228 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in reinforced cement concrete slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10) 1 cement :5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
229 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.229 | 6 | each | 1501.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 229 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 6 | each
230 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | item no.230 | [52 empty] | 230 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality :
231 | 15 mm diameter pipe | item no.231 | 15 | metre | 8.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 231 | 15 mm diameter pipe |  | 15 | metre
232 | 20 mm diameter pipe | item no.232 | 30 | metre | 10.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 232 | 20 mm diameter pipe |  | 30 | metre
233 | 25 mm diameter pipe | item no.233 | 10 | metre | 13.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 233 | 25 mm diameter pipe |  | 10 | metre
234 | 32 mm diameter pipe | item no.234 | 5 | metre | 16.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 234 | 32 mm diameter pipe |  | 5 | metre
235 | Providing and filling sand of grading zone V or coarser grade, all round the G.I. pipes in external work : | item no.235 | [52 empty] | 235 | Providing and filling sand of grading zone V or coarser grade, all round the G.I. pipes in external work :
236 | 15 mm diameter pipe | item no.236 | 15 | metre | 138.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 236 | 15 mm diameter pipe |  | 15 | metre
237 | 20 mm diameter pipe | item no.237 | 30 | metre | 140.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 237 | 20 mm diameter pipe |  | 30 | metre
238 | 25 mm diameter pipe | item no.238 | 15 | metre | 143.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 238 | 25 mm diameter pipe |  | 15 | metre
239 | 32 mm diameter pipe | item no.239 | 5 | metre | 147.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 239 | 32 mm diameter pipe |  | 5 | metre
240 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.240 | [52 empty] | 240 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
241 | 15 mm nominal bore | item no.241 | 4 | each | 229.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 241 | 15 mm nominal bore |  | 4 | each
242 | 20 mm nominal bore | item no.242 | 8 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 242 | 20 mm nominal bore |  | 8 | each
243 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | item no.243 | 2250 | per litre | 8.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 243 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. |  | 2250 | per litre
244 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.244 | [52 empty] | 244 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :
245 | 15 mm nominal bore | item no.245 | 8 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 245 | 15 mm nominal bore |  | 8 | each
246 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.246 | [52 empty] | 246 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
247 | 15 mm nominal bore | item no.247 | 15 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 247 | 15 mm nominal bore |  | 15 | each
248 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.248 | [52 empty] | 248 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.
249 | 15 mm nominal bore | item no.249 | 7 | each | 521.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 249 | 15 mm nominal bore |  | 7 | each
250 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.250 | [52 empty] | 250 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
251 | 15mm nominal bore | item no.251 | 37 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 251 | 15mm nominal bore |  | 37 | each
252 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.252 | 40 | each | 54.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 252 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. |  | 40 | each
253 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.253 | [52 empty] | 253 | Cutting holes up to 30x30 cm in walls including making good the same:
254 | With common burnt clay F.P.S. (non modular) bricks | item no.254 | 12 | each | 317.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 254 | With common burnt clay F.P.S. (non modular) bricks |  | 12 | each
255 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing GI pipe etc. | item no.255 | 50 | metre | 150.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 255 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing GI pipe etc. |  | 50 | metre
256 | DRAINAGE | item no.256 | [52 empty] | 256 | DRAINAGE
257 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | item no.257 | [52 empty] | 257 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
258 | 100 mm diameter S.W. pipe | item no.258 | 10 | metre | 785.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 258 | 100 mm diameter S.W. pipe |  | 10 | metre
259 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.259 | [52 empty] | 259 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
260 | For pipes 100 to 250 mm diameter | item no.260 | 4 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 260 | For pipes 100 to 250 mm diameter |  | 4 | each
261 | ALUMINIUM WORK | item no.261 | [52 empty] | 261 | ALUMINIUM WORK
262 | Providing and fxing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing I paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.262 | [52 empty] | 262 | Providing and fxing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing I paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
263 | For fixed portion | item no.263 | [52 empty] | 263 | For fixed portion
264 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.264 | 245 | kg | 380.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 264 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) |  | 245 | kg
265 | For shutters of doors, windows & ventilators including providing and fxing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.265 | [52 empty] | 265 | For shutters of doors, windows & ventilators including providing and fxing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
266 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.266 | 340 | kg | 466.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 266 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) |  | 340 | kg
267 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.267 | [52 empty] | 267 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
268 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | item no.268 | 20 | sqm | 894.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 268 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) |  | 20 | sqm
269 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. | item no.269 | [52 empty] | 269 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete.
270 | Upto 5mm depth and 5 mm width | item no.270 | 60 | metre | 74.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 270 | Upto 5mm depth and 5 mm width |  | 60 | metre
271 | Providing and fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete. | item no.271 | [52 empty] | 271 | Providing and fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete.
272 | Powder coated minimum thickness 50 micron aluminium | item no.272 | 50 | each | 69.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 272 | Powder coated minimum thickness 50 micron aluminium |  | 50 | each
273 | WATER PROOFING | item no.273 | [52 empty] | 273 | WATER PROOFING
274 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.274 | [52 empty] | 274 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge :
275 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.275 | 230 | sqm | 1335.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 275 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. |  | 230 | sqm
276 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | item no.276 | 400 | sqm | 291.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 276 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. |  | 400 | sqm
277 | NEW TECHNOLOGIES AND MATERIALS | item no.277 | [52 empty] | 277 | NEW TECHNOLOGIES AND MATERIALS
278 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.278 | [52 empty] | 278 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
279 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.279 | 25 | sqm | 342.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 279 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make |  | 25 | sqm
280 | MINOR CIVIL MAINTENANCE WORK: | item no.280 | [52 empty] | 280 | MINOR CIVIL MAINTENANCE WORK:
281 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.281 | 20 | Cum | 4985.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 281 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 20 | Cum
282 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.282 | 10 | Each | 457.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 282 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. |  | 10 | Each
283 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.283 | 20 | Each | 51.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 283 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 20 | Each
284 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.284 | 40 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 284 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. |  | 40 | Each
285 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.285 | 10 | Each | 586.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 285 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. |  | 10 | Each
286 | Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | item no.286 | 6.5 | Sqm | 1954.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 286 | Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. |  | 6.5 | Sqm
287 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make etc. complete | item no.287 | 7 | Each | 2522.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 287 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make etc. complete |  | 7 | Each
288 | Providing & fixing modular kitchen in Type-V Base Unit Drawer Basket 450 mm 380*485*100 mm Drawer Basket 380*485*140 mm Base Unit Meta Drawer 600 mm 530*500*86 mm Grain Trolly Basket with porter 520*485*190 mm Base Unit Drawer Basket 450 mm 380*485*140 mm Base Unit Blank 900 mm Base Unit Perforated Cutlery 600 mm 520*485*100 mm Drawer Basket 520*485*100 mm Plates Basket 520*485*140 mm Base Unit Drawer Basket 600 mm 520*485*140 mm Base Unit Blank 900 mm Base Unit Rack 990 mm 100*485*420 mm Base Unit Drawer Basket 600 mm 520*485*140 mm Base Unit Blank 900 mm Base Unit Bottle Pull Out 2 Shelf 240 mm 200*485*533 mm Base Unit Perforated Cutlery 600 mm 520*485*100 mm Drawer Basket 520*485*100 mm Plates Basket 520*485*140 mm Base Unit Drawer Basket 600 mm 520*485*140 mm Base Unit Tall Ladder Unit 600 mm 520*500*2150 mm Wall Unit Glass & Plate Rack including Drip Tray 900*310*600 862*230*25/65 mm Marble As per site Marble for Tall As per site Full extention ball bearing sliding telescopic Solid Shutters Glass Shutters Auto Closing Concealed Hinges Handles Hardware (Screws counter sunk, Connect Fastners, Tags) As per site requirement Fixing & Installation of the complete modular kitchen. | item no.288 | 1 | Per Job | 234877.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 288 | Providing & fixing modular kitchen in Type-V Base Unit Drawer Basket 450 mm 380*485*100 mm Drawer Basket 380*485*140 mm Base Unit Meta Drawer 600 mm 530*500*86 mm Grain Trolly Basket with porter 520*485*190 mm Base Unit Drawer Basket 450 mm 380*485*140 mm Base Unit Blank 900 mm Base Unit Perforated Cutlery 600 mm 520*485*100 mm Drawer Basket 520*485*100 mm Plates Basket 520*485*140 mm Base Unit Drawer Basket 600 mm 520*485*140 mm Base Unit Blank 900 mm Base Unit Rack 990 mm 100*485*420 mm Base Unit Drawer Basket 600 mm 520*485*140 mm Base Unit Blank 900 mm Base Unit Bottle Pull Out 2 Shelf 240 mm 200*485*533 mm Base Unit Perforated Cutlery 600 mm 520*485*100 mm Drawer Basket 520*485*100 mm Plates Basket 520*485*140 mm Base Unit Drawer Basket 600 mm 520*485*140 mm Base Unit Tall Ladder Unit 600 mm 520*500*2150 mm Wall Unit Glass & Plate Rack including Drip Tray 900*310*600 862*230*25/65 mm Marble As per site Marble for Tall As per site Full extention ball bearing sliding telescopic Solid Shutters Glass Shutters Auto Closing Concealed Hinges Handles Hardware (Screws counter sunk, Connect Fastners, Tags) As per site requirement Fixing & Installation of the complete modular kitchen. |  | 1 | Per Job
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE! | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words |  | #VALUE! | [52 empty] | Quoted Rate in Words |  | INR Zero Only
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information