## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Providing and fixing additional MCCB with associated works in existing LT panel of Substation No. 8 for connection Studio Apartment of GSMST, IIT Kanpur
NIT No: Electrical/01/04/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supplying, connecting and commissioning of following size aluminium bus bar including busbar support, bending to suitable shape, making hole for nut-bolts, providing and slivering, nut-bolts in existing panel/box for connections etc. as required complete. | item no.1 | [52 empty] | 1.01 | Supplying, connecting and commissioning of following size aluminium bus bar including busbar support, bending to suitable shape, making hole for nut-bolts, providing and slivering, nut-bolts in existing panel/box for connections etc. as required complete. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 1x50x10mm | item no.2 | 10 | Mtr | 1432 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | 1x50x10mm | item no.2 | 10 | Mtr | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | 1x100x10mm | item no.3 | 10 | Mtr | 1999 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.03 | 1x100x10mm | item no.3 | 10 | Mtr
1.04 | Supplying and drawing of following sizes of FR PVC insulated unarmoured copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.4 | [52 empty] | 1.04 | Supplying and drawing of following sizes of FR PVC insulated unarmoured copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.4
1.05 | 240sqmm | item no.5 | 25 | Mtr | 3373 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.05 | 240sqmm | item no.5 | 25 | Mtr
1.06 | S/F, copper cable lug suitable for following size of conductor. | item no.6 | [52 empty] | 1.06 | S/F, copper cable lug suitable for following size of conductor. | item no.6
1.07 | 240sqmm | item no.7 | 25 | Nos | 711 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.07 | 240sqmm | item no.7 | 25 | Nos
1.08 | Providing and fixing following rating and breaking capacity and pole MCCB with microprocessor released beased release and front handle rotary drive kit complete with handle terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | item no.8 | [52 empty] | 1.08 | Providing and fixing following rating and breaking capacity and pole MCCB with microprocessor released beased release and front handle rotary drive kit complete with handle terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | item no.8
1.09 | 400 A, 50 KA,FPMCCB | item no.9 | 1 | Nos | 57087 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.09 | 400 A, 50 KA,FPMCCB | item no.9 | 1 | Nos
1.1 | 1250 A, 50 KA,FPMCCB | item no.10 | 1 | Nos | 152539 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.1 | 1250 A, 50 KA,FPMCCB | item no.10 | 1 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information