## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Miscellaneous civil renovation works at various Halls, IIT Kanpur
NIT No: Civil/21/05/2024-2
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | item no.1 | [52 empty] | 1 | Component | item no.1
1.01 | EARTH WORK | item no.2 | [52 empty] | 1.01 | EARTH WORK | item no.2
1.02 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, by mechinical / manual means ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: | item no.3 | [52 empty] | 1.02 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, by mechinical / manual means ramming of bottoms, for all depth, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m: | item no.3
1.03 | All kinds of soil | item no.5 | [52 empty] | 1.03 | All kinds of soil | item no.5
1.04 | Pipes, cables etc, not exceeding 80 mm dia. But not exceeding 300mm dia | item no.6 | 11.8 | metre | 365.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.04 | Pipes, cables etc, not exceeding 80 mm dia. But not exceeding 300mm dia | item no.6 | 11.8 | metre
1.05 | Surface dressing of the ground including removing vegetation and in- equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | item no.7 | [52 empty] | 1.05 | Surface dressing of the ground including removing vegetation and in- equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | item no.7
1.06 | All kinds of soil | item no.8 | 12.5 | sqm | 24.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.06 | All kinds of soil | item no.8 | 12.5 | sqm
1.07 | CEMENT CONCRETE (CAST IN SITU) | item no.9 | [52 empty] | 1.07 | CEMENT CONCRETE (CAST IN SITU) | item no.9
1.08 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.10 | [52 empty] | 1.08 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.10
1.09 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.11 | 7.65 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.09 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.11 | 7.65 | cum
1.1 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.12 | [52 empty] | 1.1 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.12
1.11 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.13 | 3.8 | cum | 8220.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.11 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.13 | 3.8 | cum
1.12 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.14 | 15.75 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.12 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.14 | 15.75 | sqm
1.13 | REINFORCED CEMENT CONCRETE | item no.15 | [52 empty] | 1.13 | REINFORCED CEMENT CONCRETE | item no.15
1.14 | Reinforced cement concrete work in beams, suspended foors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.16 | 0.55 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.14 | Reinforced cement concrete work in beams, suspended foors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.16 | 0.55 | cum
1.15 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.17 | [52 empty] | 1.15 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.17
1.16 | Foundations, footings, bases of columns, etc. for mass concrete. | item no.18 | 48 | sqm | 270.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.16 | Foundations, footings, bases of columns, etc. for mass concrete. | item no.18 | 48 | sqm
1.17 | Shelves (Cast in situ) | item no.19 | 6.6 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.17 | Shelves (Cast in situ) | item no.19 | 6.6 | sqm
1.18 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.20 | [52 empty] | 1.18 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.20
1.19 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.21 | 28 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.19 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.21 | 28 | kg
1.2 | MASONRY WORK | item no.22 | [52 empty] | 1.2 | MASONRY WORK | item no.22
1.21 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | item no.23 | [52 empty] | 1.21 | Brick work with common burnt clay modular bricks of class designation 7.5 in foundation and plinth in: | item no.23
1.22 | Cement Mortar 1:6 (1 cement : 6 coarse sand). | item no.24 | 1.6 | cum | 4866.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.22 | Cement Mortar 1:6 (1 cement : 6 coarse sand). | item no.24 | 1.6 | cum
1.23 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.25 | [52 empty] | 1.23 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.25
1.24 | Cement mortar 1:6(1 cement: 6 coarse sand) | item no.26 | 3.5 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.24 | Cement mortar 1:6(1 cement: 6 coarse sand) | item no.26 | 3.5 | cum
1.25 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. | item no.27 | 46 | sqm | 718.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.25 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. | item no.27 | 46 | sqm
1.26 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.28 | [52 empty] | 1.26 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.28
1.27 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.29 | 50 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.27 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.29 | 50 | sqm
1.28 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.30 | 27.9 | metre | 48.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.28 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.30 | 27.9 | metre
1.29 | CLADDING WORK | item no.31 | [52 empty] | 1.29 | CLADDING WORK | item no.31
1.3 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | item no.32 | [52 empty] | 1.3 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | item no.32
1.31 | Granite stone slab of colour black, Cherry/Ruby red | item no.33 | [52 empty] | 1.31 | Granite stone slab of colour black, Cherry/Ruby red | item no.33
1.32 | Area of slab over 0.50 sqm | item no.34 | 6.6 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.32 | Area of slab over 0.50 sqm | item no.34 | 6.6 | sqm
1.33 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.35 | [52 empty] | 1.33 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.35
1.34 | Granite work | item no.36 | 7.2 | metre | 367.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.34 | Granite work | item no.36 | 7.2 | metre
1.35 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.37 | 6 | each | 708.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.35 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.37 | 6 | each
1.36 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | item no.38 | 100 | sqm | 366.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.36 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | item no.38 | 100 | sqm
1.37 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.39 | 323.25 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.37 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.39 | 323.25 | sqm
1.38 | WOOD AND P. V. C. WORK | item no.40 | [52 empty] | 1.38 | WOOD AND P. V. C. WORK | item no.40
1.39 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled ur panelled and glazed shutters 25 mm to 40 mm thick: | item no.41 | [52 empty] | 1.39 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled ur panelled and glazed shutters 25 mm to 40 mm thick: | item no.41
1.4 | Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture with matching wood beading | item no.42 | 1.21 | sqm | 1334.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.4 | Fly proof stainless steel grade 304 wire gauge with 0.5 mm dia. wire and 1.4mm wide aperture with matching wood beading | item no.42 | 1.21 | sqm
1.41 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.43 | [52 empty] | 1.41 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.43
1.42 | 150x10 mm | item no.44 | 20 | each | 66.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.42 | 150x10 mm | item no.44 | 20 | each
1.43 | Providing and fixing to existing door frames. | item no.45 | [52 empty] | 1.43 | Providing and fixing to existing door frames. | item no.45
1.44 | 25 mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762 mm X 25 mm or less as per requirement with an average wall thickness of 1 mm (± 0.3 mm). PVC foam end cap of size 23x10 mm are provided on both vertical edges to ensure the overall thickness of 25 mm. M.S. tube having dimensions 19 mm x 19 mm and 1.0 mm (± 0.1 mm) is inserted along the hinge side of the door. Core of the door shutter should be filled with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25 mm X 11 mm. Door shutter shall be reinforced with special polymeric reinforcements as per manufacturer’s specification and direction of Engineer-in-charge to take up necessary hardware and fixtures. Stickers indicating the locations of hardware will be pasted at appropriate places | item no.46 | 25 | sqm | 2290.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.44 | 25 mm thick PVC flush door shutters made out of a one piece Multi chamber extruded PVC section of the size of 762 mm X 25 mm or less as per requirement with an average wall thickness of 1 mm (± 0.3 mm). PVC foam end cap of size 23x10 mm are provided on both vertical edges to ensure the overall thickness of 25 mm. M.S. tube having dimensions 19 mm x 19 mm and 1.0 mm (± 0.1 mm) is inserted along the hinge side of the door. Core of the door shutter should be filled with High Density Polyurethane foam. The Top & Bottom edges of the shutter are covered with an end-cap of the size 25 mm X 11 mm. Door shutter shall be reinforced with special polymeric reinforcements as per manufacturer’s specification and direction of Engineer-in-charge to take up necessary hardware and fixtures. Stickers indicating the locations of hardware will be pasted at appropriate places | item no.46 | 25 | sqm
1.45 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.47 | [52 empty] | 1.45 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.47
1.46 | With 12 mm mild steel U beading | item no.48 | 43 | sqm | 922.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.46 | With 12 mm mild steel U beading | item no.48 | 43 | sqm
1.47 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. | item no.49 | [52 empty] | 1.47 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. | item no.49
1.48 | 125 mm | item no.50 | 40 | each | 88.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.48 | 125 mm | item no.50 | 40 | each
1.49 | FLOORING | item no.51 | [52 empty] | 1.49 | FLOORING | item no.51
1.5 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.52 | [52 empty] | 1.5 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.52
1.51 | 25 mm thick | item no.53 | 84.9 | sqm | 1496.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.51 | 25 mm thick | item no.53 | 84.9 | sqm
1.52 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.54 | 20 | sqm | 1787.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.52 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.54 | 20 | sqm
1.53 | ROOFING | item no.55 | [52 empty] | 1.53 | ROOFING | item no.55
1.54 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.56 | 1 | each | 233.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.54 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.56 | 1 | each
1.55 | FINISHING | item no.57 | [52 empty] | 1.55 | FINISHING | item no.57
1.56 | 12 mm cement plaster of mix : | item no.58 | [52 empty] | 1.56 | 12 mm cement plaster of mix : | item no.58
1.57 | 1:6 (1 cement: 6 coarse sand) | item no.59 | 23.5 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.57 | 1:6 (1 cement: 6 coarse sand) | item no.59 | 23.5 | sqm
1.58 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.60 | [52 empty] | 1.58 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.60
1.59 | 1:4 (1 cement: 4 coarse sand) | item no.61 | 45 | sqm | 310.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.59 | 1:4 (1 cement: 4 coarse sand) | item no.61 | 45 | sqm
1.6 | 1:6 (1 cement: 6 coarse sand) | item no.62 | 128 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.6 | 1:6 (1 cement: 6 coarse sand) | item no.62 | 128 | sqm
1.61 | 6 mm cement plaster of mix : | item no.63 | [52 empty] | 1.61 | 6 mm cement plaster of mix : | item no.63
1.62 | 1:3 (1 cement : 3 fine sand) | item no.64 | 4.5 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.62 | 1:3 (1 cement : 3 fine sand) | item no.64 | 4.5 | sqm
1.63 | Neat cement punning. | item no.65 | 2 | sqm | 59.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.63 | Neat cement punning. | item no.65 | 2 | sqm
1.64 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.66 | [52 empty] | 1.64 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.66
1.65 | Two or more coats on new work | item no.67 | 241 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.65 | Two or more coats on new work | item no.67 | 241 | sqm
1.66 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.68 | 241 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.66 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.68 | 241 | sqm
1.67 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.69 | [52 empty] | 1.67 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.69
1.68 | Old work (one or more coats applied @0.83 Itr/10 sqm). | item no.70 | 61 | sqm | 64.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.68 | Old work (one or more coats applied @0.83 Itr/10 sqm). | item no.70 | 61 | sqm
1.69 | REPAIRS TO BUILDING | item no.71 | [52 empty] | 1.69 | REPAIRS TO BUILDING | item no.71
1.7 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface i/c disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. | item no.72 | [52 empty] | 1.7 | Making the opening in brick masonry including dismantling in floor or walls by cutting masonry and making good the damages to walls, flooring and jambs complete, to match existing surface i/c disposal of mulba/ rubbish to the nearest municipal dumping ground, all complete as per direction of Engineer-in-Charge. | item no.72
1.71 | For door/ window/ clerestory window | item no.73 | 48 | sqm | 917.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.71 | For door/ window/ clerestory window | item no.73 | 48 | sqm
1.72 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer- in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | item no.74 | 284 | sqm | 249.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.72 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer- in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | item no.74 | 284 | sqm
1.73 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in-charge. | item no.75 | 4 | each | 213.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.73 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in-charge. | item no.75 | 4 | each
1.74 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. | item no.76 | 8 | each | 97.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.74 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. | item no.76 | 8 | each
1.75 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. (a) Internal Work- Exposed on wall | item no.77 | 560 | metre | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.75 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer-in-Charge. (a) Internal Work- Exposed on wall | item no.77 | 560 | metre
1.76 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.78 | 8 | each | 285.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.76 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.78 | 8 | each
1.77 | Dismantling and Demolishing | item no.79 | [52 empty] | 1.77 | Dismantling and Demolishing | item no.79
1.78 | Demolishing lime concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of Engineer-in-charge. | item no.80 | 24.8 | cum | 615.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.78 | Demolishing lime concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of Engineer-in-charge. | item no.80 | 24.8 | cum
1.79 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.81 | [52 empty] | 1.79 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.81
1.8 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.82 | 19.62 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.8 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.82 | 19.62 | cum
1.81 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.83 | 0.13 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.81 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.83 | 0.13 | cum
1.82 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.84 | 0.9 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.82 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.84 | 0.9 | cum
1.83 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.85 | [52 empty] | 1.83 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.85
1.84 | In cement mortar | item no.86 | 15.77 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.84 | In cement mortar | item no.86 | 15.77 | cum
1.85 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.87 | [52 empty] | 1.85 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.87
1.86 | Of area 3 sq. metres and below | item no.88 | 72 | each | 265.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.86 | Of area 3 sq. metres and below | item no.88 | 72 | each
1.87 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.89 | [52 empty] | 1.87 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.89
1.88 | For thickness of tiles 10 mm to 25 mm | item no.90 | 320 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.88 | For thickness of tiles 10 mm to 25 mm | item no.90 | 320 | sqm
1.89 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.91 | 103.9 | sqm | 192.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.89 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.91 | 103.9 | sqm
1.9 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : | item no.92 | [52 empty] | 1.9 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : | item no.92
1.91 | 15 mm to 40 mm nominal bore | item no.93 | 297 | metre | 108.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.91 | 15 mm to 40 mm nominal bore | item no.93 | 297 | metre
1.92 | Dismantling of flushing cistern of all types (C.I /PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | item no.94 | 8 | each | 652.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.92 | Dismantling of flushing cistern of all types (C.I /PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | item no.94 | 8 | each
1.93 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.95 | 198 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.93 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.95 | 198 | sqm
1.94 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.96 | 84 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.94 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.96 | 84 | cum
1.95 | SANITARY INSTALLATIONS | item no.97 | [52 empty] | 1.95 | SANITARY INSTALLATIONS | item no.97
1.96 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlle ddevice (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.98 | [52 empty] | 1.96 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlle ddevice (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.98
1.97 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.99 | 4 | each | 5069.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.97 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.99 | 4 | each
1.98 | Providing and fixing white vitreous china pedestal type water closet(European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.100 | [52 empty] | 1.98 | Providing and fixing white vitreous china pedestal type water closet(European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.100
1.99 | W.C. pan with ISI marked white solid plastic seat and lid | item no.101 | 4 | each | 4858 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.99 | W.C. pan with ISI marked white solid plastic seat and lid | item no.101 | 4 | each
2 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | item no.102 | 4 | each | 262.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | item no.102 | 4 | each
2.01 | Providing and fixing solid plastic seat with lid for pedestal type W.C.pan complete : | item no.103 | [52 empty] | 2.01 | Providing and fixing solid plastic seat with lid for pedestal type W.C.pan complete : | item no.103
2.02 | White solid plastic seat with lid | item no.104 | 4 | each | 514.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.02 | White solid plastic seat with lid | item no.104 | 4 | each
2.03 | Providing and fixing G.I. inlet connection for flush pipe connecting with W.C. pan. | item no.105 | 4 | each | 115.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.03 | Providing and fixing G.I. inlet connection for flush pipe connecting with W.C. pan. | item no.105 | 4 | each
2.04 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.106 | 21 | each | 777.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.04 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.106 | 21 | each
2.05 | Providing and fixing soil, waste and vent pipes : | item no.107 | [52 empty] | 2.05 | Providing and fixing soil, waste and vent pipes : | item no.107
2.06 | 100 mm dia | item no.108 | [52 empty] | 2.06 | 100 mm dia | item no.108
2.07 | Centrifugally cast (spun) iron socket &spigot (S&S) pipe as per IS: 3989 | item no.109 | 302 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.07 | Centrifugally cast (spun) iron socket &spigot (S&S) pipe as per IS: 3989 | item no.109 | 302 | metre
2.08 | 75 mm diameter : | item no.110 | [52 empty] | 2.08 | 75 mm diameter : | item no.110
2.09 | Centrifugally cast (spun) iron socketed pipeas per IS: 3989 | item no.111 | 3.6 | metre | 913.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.09 | Centrifugally cast (spun) iron socketed pipeas per IS: 3989 | item no.111 | 3.6 | metre
2.1 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size),including cost of cutting holes and making good the walls etc. : | item no.112 | [52 empty] | 2.1 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size),including cost of cutting holes and making good the walls etc. : | item no.112
2.11 | For 100 mm dia pipe | item no.113 | 58 | each | 270.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.11 | For 100 mm dia pipe | item no.113 | 58 | each
2.12 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.114 | [52 empty] | 2.12 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.114
2.13 | 100 mm dia | item no.115 | [52 empty] | 2.13 | 100 mm dia | item no.115
2.14 | Sand cast iron S&S as per IS - 3989 | item no.116 | 3 | each | 523.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.14 | Sand cast iron S&S as per IS - 3989 | item no.116 | 3 | each
2.15 | Providing and fixing plain bend of required degree. | item no.117 | [52 empty] | 2.15 | Providing and fixing plain bend of required degree. | item no.117
2.16 | 100 mm dia | item no.118 | [52 empty] | 2.16 | 100 mm dia | item no.118
2.17 | Sand cast iron S&S as per IS : 3989 | item no.119 | 24 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.17 | Sand cast iron S&S as per IS : 3989 | item no.119 | 24 | each
2.18 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts andnuts complete. | item no.120 | [52 empty] | 2.18 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts andnuts complete. | item no.120
2.19 | 100x100x100 mm | item no.121 | [52 empty] | 2.19 | 100x100x100 mm | item no.121
2.2 | Sand cast iron S&S as per IS - 3989 | item no.122 | 35 | each | 641.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.2 | Sand cast iron S&S as per IS - 3989 | item no.122 | 35 | each
2.21 | Providing and fixing single equal plain junction of required degree | item no.123 | [52 empty] | 2.21 | Providing and fixing single equal plain junction of required degree | item no.123
2.22 | 100x100x 100 mm | item no.124 | [52 empty] | 2.22 | 100x100x 100 mm | item no.124
2.23 | Sand cast iron S&S as per IS - 3989 | item no.125 | 9 | each | 620.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.23 | Sand cast iron S&S as per IS - 3989 | item no.125 | 9 | each
2.24 | Providing and fixing terminal guard : | item no.126 | [52 empty] | 2.24 | Providing and fixing terminal guard : | item no.126
2.25 | 100 mm | item no.127 | [52 empty] | 2.25 | 100 mm | item no.127
2.26 | Sand cast iron S&S as per IS - 3989 | item no.128 | 13 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.26 | Sand cast iron S&S as per IS - 3989 | item no.128 | 13 | each
2.27 | Providing and fixing collar : | item no.129 | [52 empty] | 2.27 | Providing and fixing collar : | item no.129
2.28 | 100 mm | item no.130 | [52 empty] | 2.28 | 100 mm | item no.130
2.29 | Sand cast iron S&S as per IS - 3989 | item no.131 | 69 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.29 | Sand cast iron S&S as per IS - 3989 | item no.131 | 69 | each
2.3 | 75 mm | item no.132 | [52 empty] | 2.3 | 75 mm | item no.132
2.31 | Sand cast iron S&S as per IS - 3989 | item no.133 | 4 | each | 238.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.31 | Sand cast iron S&S as per IS - 3989 | item no.133 | 4 | each
2.32 | Providing lead caulked joints to sand cast iron/centrifugally cast(spun) iron pipes and fittings of diameter : | item no.134 | [52 empty] | 2.32 | Providing lead caulked joints to sand cast iron/centrifugally cast(spun) iron pipes and fittings of diameter : | item no.134
2.33 | 100 mm | item no.135 | 375 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.33 | 100 mm | item no.135 | 375 | each
2.34 | 75 mm | item no.136 | 8 | each | 408.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.34 | 75 mm | item no.136 | 8 | each
2.35 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.137 | [52 empty] | 2.35 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.137
2.36 | 100 mm inlet and 100 mm outlet | item no.138 | [52 empty] | 2.36 | 100 mm inlet and 100 mm outlet | item no.138
2.37 | Sand cast iron S&S as per IS: 3989 | item no.139 | 37 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.37 | Sand cast iron S&S as per IS: 3989 | item no.139 | 37 | each
2.38 | Cutting chases in brick masonry walls for following diameter sand cast iron/centrifugally cast (spun) iron pipes and making good the same with cement concrete 1:3:6 ( 1 cement : 3 coarse sand :6 graded stone aggregate 17.5 mm nominal size), including necessary plaster and pointing in cement mortar 1:4 (1 cement :4 coarse sand) : | item no.140 | [52 empty] | 2.38 | Cutting chases in brick masonry walls for following diameter sand cast iron/centrifugally cast (spun) iron pipes and making good the same with cement concrete 1:3:6 ( 1 cement : 3 coarse sand :6 graded stone aggregate 17.5 mm nominal size), including necessary plaster and pointing in cement mortar 1:4 (1 cement :4 coarse sand) : | item no.140
2.39 | 50 mm dia | item no.141 | 28 | metre | 252.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.39 | 50 mm dia | item no.141 | 28 | metre
2.4 | WATER SUPPLY | item no.142 | [52 empty] | 2.4 | WATER SUPPLY | item no.142
2.41 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.143 | [52 empty] | 2.41 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.143
2.42 | 15 mm dia nominal bore | item no.144 | 2 | metre | 266.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.42 | 15 mm dia nominal bore | item no.144 | 2 | metre
2.43 | 20 mm dia nominal bore | item no.145 | 2 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.43 | 20 mm dia nominal bore | item no.145 | 2 | metre
2.44 | 25 mm dia nominal bore | item no.146 | 70.4 | metre | 430.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.44 | 25 mm dia nominal bore | item no.146 | 70.4 | metre
2.45 | 32 mm dia nominal bore | item no.147 | 42 | metre | 494.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.45 | 32 mm dia nominal bore | item no.147 | 42 | metre
2.46 | 40 mm dia nominal bore | item no.148 | 134.5 | metre | 635.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.46 | 40 mm dia nominal bore | item no.148 | 134.5 | metre
2.47 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.149 | [52 empty] | 2.47 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.149
2.48 | 15 mm dia nominal bore | item no.150 | 154 | metre | 425.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.48 | 15 mm dia nominal bore | item no.150 | 154 | metre
2.49 | 20 mm dia nominal bore | item no.151 | 160 | metre | 474.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.49 | 20 mm dia nominal bore | item no.151 | 160 | metre
2.5 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.152 | [52 empty] | 2.5 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.152
2.51 | 20 mm dia nominal bore | item no.153 | 2 | metre | 276.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.51 | 20 mm dia nominal bore | item no.153 | 2 | metre
2.52 | 32 mm dia nominal bore | item no.154 | 253.5 | metre | 401.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.52 | 32 mm dia nominal bore | item no.154 | 253.5 | metre
2.53 | 40 mm dia nominal bore | item no.155 | 57 | metre | 489.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.53 | 40 mm dia nominal bore | item no.155 | 57 | metre
2.54 | Making connection of G.I. distribution branch with G.I main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete: | item no.156 | [52 empty] | 2.54 | Making connection of G.I. distribution branch with G.I main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete: | item no.156
2.55 | 25 to 40 mm nominal bore | item no.157 | 15 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.55 | 25 to 40 mm nominal bore | item no.157 | 15 | each
2.56 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.158 | [52 empty] | 2.56 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.158
2.57 | 25 mm nominal bore | item no.159 | 16 | each | 466.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.57 | 25 mm nominal bore | item no.159 | 16 | each
2.58 | 20 mm nominal bore | item no.160 | 8 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.58 | 20 mm nominal bore | item no.160 | 8 | each
2.59 | 32 mm nominal bore. | item no.161 | 8 | each | 517.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.59 | 32 mm nominal bore. | item no.161 | 8 | each
2.6 | 40 mm nominal bore | item no.162 | 11 | each | 620.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.6 | 40 mm nominal bore | item no.162 | 11 | each
2.61 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.163 | [52 empty] | 2.61 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.163
2.62 | 30 cm length | item no.164 | [52 empty] | 2.62 | 30 cm length | item no.164
2.63 | 15 mm nominal bore | item no.165 | 20 | each | 65.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.63 | 15 mm nominal bore | item no.165 | 20 | each
2.64 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in reinforced cement concrete slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10) 1 cement :5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.166 | [52 empty] | 2.64 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in reinforced cement concrete slab 1:1.5:3 mix (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10) 1 cement :5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.166
2.65 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.167 | 12 | each | 1501.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.65 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.167 | 12 | each
2.66 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : | item no.168 | [52 empty] | 2.66 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : | item no.168
2.67 | 25 mm diameter pipe | item no.169 | 3.4 | metre | 22.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.67 | 25 mm diameter pipe | item no.169 | 3.4 | metre
2.68 | 32 mm diameter pipe | item no.170 | 28 | metre | 26.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.68 | 32 mm diameter pipe | item no.170 | 28 | metre
2.69 | 40 mm diameter pipe | item no.171 | 55 | metre | 31.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.69 | 40 mm diameter pipe | item no.171 | 55 | metre
2.7 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.172 | [52 empty] | 2.7 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.172
2.71 | 15 mm nominal bore | item no.173 | 8 | each | 229.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.71 | 15 mm nominal bore | item no.173 | 8 | each
2.72 | 20 mm nominal bore | item no.174 | 8 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.72 | 20 mm nominal bore | item no.174 | 8 | each
2.73 | 25 mm nominal bore | item no.175 | 23 | each | 323.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.73 | 25 mm nominal bore | item no.175 | 23 | each
2.74 | 32 mm nominal bore | item no.176 | 21 | each | 359.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.74 | 32 mm nominal bore | item no.176 | 21 | each
2.75 | 40 mm nominal bore | item no.177 | 12 | each | 458.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.75 | 40 mm nominal bore | item no.177 | 12 | each
2.76 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.178 | [52 empty] | 2.76 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.178
2.77 | 15 mm nominal bore | item no.179 | 8 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.77 | 15 mm nominal bore | item no.179 | 8 | each
2.78 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.180 | [52 empty] | 2.78 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.180
2.79 | 15 mm nominal bore | item no.181 | 20 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.79 | 15 mm nominal bore | item no.181 | 20 | each
2.8 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.182 | [52 empty] | 2.8 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.182
2.81 | 15 mm nominal bore | item no.183 | 16 | each | 521.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.81 | 15 mm nominal bore | item no.183 | 16 | each
2.82 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.184 | [52 empty] | 2.82 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.184
2.83 | 15mm nominal bore | item no.185 | 20 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.83 | 15mm nominal bore | item no.185 | 20 | each
2.84 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.186 | 44 | each | 54.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.84 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.186 | 44 | each
2.85 | Providing and fixing PTMT grating of approved quality and colour. | item no.187 | [52 empty] | 2.85 | Providing and fixing PTMT grating of approved quality and colour. | item no.187
2.86 | Circular type | item no.188 | [52 empty] | 2.86 | Circular type | item no.188
2.87 | 125 mm nominal dia with 25 mm waste hole | item no.189 | 20 | each | 39.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.87 | 125 mm nominal dia with 25 mm waste hole | item no.189 | 20 | each
2.88 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | item no.190 | 15 | each | 330.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.88 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | item no.190 | 15 | each
2.89 | Making hole up to 20x20 cm and embedding pipes up to 150 mm diameter in masonry and filling with cement concrete 1:3:6 (1 cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) including disposal of malba. | item no.191 | 4 | metre | 173.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.89 | Making hole up to 20x20 cm and embedding pipes up to 150 mm diameter in masonry and filling with cement concrete 1:3:6 (1 cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) including disposal of malba. | item no.191 | 4 | metre
2.9 | DRAINAGE | item no.192 | [52 empty] | 2.9 | DRAINAGE | item no.192
2.91 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | item no.193 | [52 empty] | 2.91 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | item no.193
2.92 | 100 mm diameter | item no.194 | 7 | metre | 329.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.92 | 100 mm diameter | item no.194 | 7 | metre
2.93 | 150 mm diameter | item no.195 | 4 | metre | 518.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.93 | 150 mm diameter | item no.195 | 4 | metre
2.94 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | item no.196 | [52 empty] | 2.94 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | item no.196
2.95 | 100 mm diameter S.W. pipe | item no.197 | 7 | metre | 785.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.95 | 100 mm diameter S.W. pipe | item no.197 | 7 | metre
2.96 | 150 mm diameter S.W. pipe | item no.198 | 4 | metre | 960.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.96 | 150 mm diameter S.W. pipe | item no.198 | 4 | metre
2.97 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item no.199 | [52 empty] | 2.97 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item no.199
2.98 | 100x100 mm size P type | item no.200 | [52 empty] | 2.98 | 100x100 mm size P type | item no.200
2.99 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.201 | 6 | each | 2151.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2.99 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.201 | 6 | each
3 | 150x 100 mm size P type | item no.202 | [52 empty] | 3 | 150x 100 mm size P type | item no.202
3.01 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.203 | 2 | each | 2169.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.01 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.203 | 2 | each
3.02 | Dismantling of old S.W. pipes including breaking of joints and bed concrete stacking of useful materials near the site within 50 m lead and disposal of unserviceable materials into municipal dumps | item no.204 | [52 empty] | 3.02 | Dismantling of old S.W. pipes including breaking of joints and bed concrete stacking of useful materials near the site within 50 m lead and disposal of unserviceable materials into municipal dumps | item no.204
3.03 | 150 mm diameter | item no.205 | 4 | metre | 71.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.03 | 150 mm diameter | item no.205 | 4 | metre
3.04 | Providing orange colour safety foot rest of minimum 6 mm thick plastic encapsulated as per IS : 10910, on 12 mm dia steel bar conforming to IS: 1786, having minimum cross section as 23 rnmx25 mm and over all minimum length 263 mm and width as 165 mm with minimum 112 mm space between protruded legs having 2 mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufacture's permanent identification mark to be visible even after fixing, including fixing in manholes with 30x20x15 cm cement concrete block 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) complete as per design. | item no.206 | 72 | each | 427.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.04 | Providing orange colour safety foot rest of minimum 6 mm thick plastic encapsulated as per IS : 10910, on 12 mm dia steel bar conforming to IS: 1786, having minimum cross section as 23 rnmx25 mm and over all minimum length 263 mm and width as 165 mm with minimum 112 mm space between protruded legs having 2 mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufacture's permanent identification mark to be visible even after fixing, including fixing in manholes with 30x20x15 cm cement concrete block 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) complete as per design. | item no.206 | 72 | each
3.05 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.207 | [52 empty] | 3.05 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.207
3.06 | For pipes 100 to 250 mm diameter | item no.208 | 5 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.06 | For pipes 100 to 250 mm diameter | item no.208 | 5 | each
3.07 | ALUMINIUM WORK | item no.209 | [52 empty] | 3.07 | ALUMINIUM WORK | item no.209
3.08 | Providing and fxing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing I paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.210 | [52 empty] | 3.08 | Providing and fxing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing I paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.210
3.09 | For fixed portion | item no.211 | [52 empty] | 3.09 | For fixed portion | item no.211
3.1 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.212 | 325 | kg | 408.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.1 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.212 | 325 | kg
3.11 | For shutters of doors, windows & ventilators including providing and fxing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.213 | [52 empty] | 3.11 | For shutters of doors, windows & ventilators including providing and fxing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.213
3.12 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.214 | 5 | kg | 495.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.12 | Powder coated aluminium (minimum thickness of powder coating 50 micron) | item no.214 | 5 | kg
3.13 | WATER PROOFING | item no.215 | [52 empty] | 3.13 | WATER PROOFING | item no.215
3.14 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). | item no.216 | 86 | sqm | 678.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.14 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/sqm). | item no.216 | 86 | sqm
3.15 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | item no.217 | 11 | sqm | 452.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.15 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | item no.217 | 11 | sqm
3.16 | MINOR CIVIL MAINTENANCE WORK: | item no.218 | [52 empty] | 3.16 | MINOR CIVIL MAINTENANCE WORK: | item no.218
3.17 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.219 | 11.5 | Cum | 5268.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.17 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.219 | 11.5 | Cum
3.18 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.220 | 9 | Each | 58.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.18 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.220 | 9 | Each
3.19 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.221 | 56 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.19 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.221 | 56 | Each
3.2 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.222 | 8 | Each | 610.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.2 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.222 | 8 | Each
3.21 | "Providing and fixing white vitreous china oval type wash basin of size 550 x 480 with 15mm C.P brass pillar tap, 32mm C.P brass waste of standard pattern. | item no.223 | 8 | Each | 4461.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.21 | "Providing and fixing white vitreous china oval type wash basin of size 550 x 480 with 15mm C.P brass pillar tap, 32mm C.P brass waste of standard pattern. | item no.223 | 8 | Each
3.22 | "Providing and Fixing white vitreous china flat back half stall urinal of size 580x 380 x 350 mm with fittings standard size, C.P. Brass domical waste 32 mm , C.P. Brass spreders 15 mm , C.P. Connection pipe with Brass union & clamp and C.P Brass Push Cock 15 mm including cutting & making good the wall. | item no.224 | 4 | Each | 6541.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.22 | "Providing and Fixing white vitreous china flat back half stall urinal of size 580x 380 x 350 mm with fittings standard size, C.P. Brass domical waste 32 mm , C.P. Brass spreders 15 mm , C.P. Connection pipe with Brass union & clamp and C.P Brass Push Cock 15 mm including cutting & making good the wall. | item no.224 | 4 | Each
3.23 | Providing & fixing C.P Coat Pin hanger of approved make with necessary screws etc. complete | item no.225 | 20 | Each | 222.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.23 | Providing & fixing C.P Coat Pin hanger of approved make with necessary screws etc. complete | item no.225 | 20 | Each
3.24 | Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. | item no.226 | 4 | Each | 1730.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.24 | Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. | item no.226 | 4 | Each
3.25 | Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. | item no.227 | 8 | Each | 1396.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.25 | Providing and fixing 15 mm nominal bore C.P. swan neck pillar cock of L&K or approved equivalent make. | item no.227 | 8 | Each
3.26 | Dismantling of CI pipe with fittings and clamps i/c disposal of unserviceable material upto 50 mtr lead. upto 150 mm DIA | item no.228 | 132 | Mtr. | 8.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.26 | Dismantling of CI pipe with fittings and clamps i/c disposal of unserviceable material upto 50 mtr lead. upto 150 mm DIA | item no.228 | 132 | Mtr.
3.27 | P/F CP brass pipe 32 mm for bottle trap | item no.229 | 12 | Each | 186.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.27 | P/F CP brass pipe 32 mm for bottle trap | item no.229 | 12 | Each
3.28 | P/F looking mirror of 5.5 mm thick superior glass of approved quality complete with 12 mm thick of water type ply wood sheet ground 40 mm widex 12 mm thick 1st class teak wood beeding frame of half round fixed to wooden cleats with CP brass screw and washer complete teak wood beading finished with sprits polishing complete. | item no.230 | 5 | Sqm. | 4029.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.28 | P/F looking mirror of 5.5 mm thick superior glass of approved quality complete with 12 mm thick of water type ply wood sheet ground 40 mm widex 12 mm thick 1st class teak wood beeding frame of half round fixed to wooden cleats with CP brass screw and washer complete teak wood beading finished with sprits polishing complete. | item no.230 | 5 | Sqm.
3.29 | Providind and fixing Soliriod valve for urinal flushing sensor set electricity oprated. | item no.231 | 4 | each | 1747.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.29 | Providind and fixing Soliriod valve for urinal flushing sensor set electricity oprated. | item no.231 | 4 | each
3.3 | "Providing and fixing sensor circuit for urinal icluding removal of old worn out sensor etc complete electricity oprated. | item no.232 | 4 | each | 3812.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.3 | "Providing and fixing sensor circuit for urinal icluding removal of old worn out sensor etc complete electricity oprated. | item no.232 | 4 | each
3.31 | Dismentling broken wash basin /kitchen sink with old worn out bracket and cleaning of waste water pipe up to trap. | item no.233 | 8 | each | 39.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.31 | Dismentling broken wash basin /kitchen sink with old worn out bracket and cleaning of waste water pipe up to trap. | item no.233 | 8 | each
3.32 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.234 | 310 | sqm | 136.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.32 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.234 | 310 | sqm
3.33 | Providing and fixing c.p. brass Urinal flush valve Auto closing System with Built-in Control cock & wall flange 15 mm nominal bor | item no.235 | 9 | each | 2288.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.33 | Providing and fixing c.p. brass Urinal flush valve Auto closing System with Built-in Control cock & wall flange 15 mm nominal bor | item no.235 | 9 | each
3.34 | 1.S & F of Nitrile pipe section 9 mm thickness with SR 900 Adhesive and joints cover with Nitrile ECO Tapes, of pipe size ( A)09X35 mm for 25 mm GI pipe. | item no.236 | 25 | Meter | 118.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.34 | 1.S & F of Nitrile pipe section 9 mm thickness with SR 900 Adhesive and joints cover with Nitrile ECO Tapes, of pipe size ( A)09X35 mm for 25 mm GI pipe. | item no.236 | 25 | Meter
3.35 | 2 S & F of Nitrile pipe section 9 mm thickness with SR 900 Adhesive and joints cover with Nitrile ECO Tapes, of pipe size. ( B )09X42 mm for 32 mm GI pipe. | item no.237 | 247 | Meter | 137.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.35 | 2 S & F of Nitrile pipe section 9 mm thickness with SR 900 Adhesive and joints cover with Nitrile ECO Tapes, of pipe size. ( B )09X42 mm for 32 mm GI pipe. | item no.237 | 247 | Meter
3.36 | 4 S & F of Nitrile pipe section 9 mm thickness with SR 900 Adhesive and joints cover with Nitrile ECO Tapes, of pipe size. ( D) 09X 60 mm for 50 mm GI pipe. | item no.238 | 642 | Meter | 306.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.36 | 4 S & F of Nitrile pipe section 9 mm thickness with SR 900 Adhesive and joints cover with Nitrile ECO Tapes, of pipe size. ( D) 09X 60 mm for 50 mm GI pipe. | item no.238 | 642 | Meter
3.37 | 5 S & F of two coat of Paramount Thermal protecting layer over Nitrile pipe section with glass cloth for pipe Sizes. ( A) 09X35 mm for 25 mm GI pipe. | item no.239 | 25 | Meter | 127.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.37 | 5 S & F of two coat of Paramount Thermal protecting layer over Nitrile pipe section with glass cloth for pipe Sizes. ( A) 09X35 mm for 25 mm GI pipe. | item no.239 | 25 | Meter
3.38 | 6 S & F of two coat of Paramount Thermal protecting layer over Nitrile pipe section with glass cloth for pipe Sizes. (B) 09X42 mm for 32 mm GI pipe. | item no.240 | 247 | Meter | 145.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.38 | 6 S & F of two coat of Paramount Thermal protecting layer over Nitrile pipe section with glass cloth for pipe Sizes. (B) 09X42 mm for 32 mm GI pipe. | item no.240 | 247 | Meter
3.39 | 8 S & F of two coat of Paramount Thermal protecting layer over Nitrile pipe section with glass cloth for pipe Sizes. ( D ) 09X 60 mm for 50 mm GI pipe. | item no.241 | 642 | Meter | 185.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3.39 | 8 S & F of two coat of Paramount Thermal protecting layer over Nitrile pipe section with glass cloth for pipe Sizes. ( D ) 09X 60 mm for 50 mm GI pipe. | item no.241 | 642 | Meter
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information